## Slide 1
Project 2020-04 Update Modifications to CIP-012
May 11, 2022
Notes: This update was prepared for industry discussion and represents a work in progress.

## Slide 2: NERC Antitrust
It is NERC’s policy and practice to obey the antitrust laws and to
avoid all conduct that unreasonably restrains competition. This
policy requires the avoidance of any conduct that violates, or
that might appear to violate, the antitrust laws. Among other
things, the antitrust laws forbid any agreement between or
among competitors regarding prices, availability of service,
product design, terms of sale, division of markets, allocation of
customers or any other activity that unreasonably restrains
competition. It is the responsibility of every NERC participant
and employee who may in any way affect NERC’s compliance
with the antitrust laws to carry out this commitment.

## Slide 3: Second Posting “Comment Themes”
Split the previously proposed R1.1 into R1.1 and a new R1.2
  R1.1 to address “Security Protections” while the new R1.2 will address “Availability Controls”.
  Splitting protections from controls allows the Measures to better reflect how entities can demonstrate compliance.
Rethink how Measures are incorporated
  What is a Measure? “A Measure provides identification of the evidence or types of evidence that may demonstrate compliance with the associated requirement.“1
  There were regulatory certainty concerns within the industry.
  The use of the Measures within the Standard helps guide both entities and auditors toward common evidence.
Defining “Availability”
  The SDT is still working on how to implement this within the Standard, the Implementation Guidance, and / or the Technical Rationale.
  Using the NIST definitions allows flexibility in how Responsible Entities provide for availability.
  Using a standard common definition with examples that reflect its use in context will help guide entities while still allowing flexibility.
  1 Drafting Team Reference Manual, Version 3

## Slide 4: Where we are…
Actively reworking the Standard subparts based on comments.
How to handle the definition of availability is still being actively discussed.
Remember – this is a CIP Standard. Cyber remains the focus:
  CIP-012 implementation should demonstrate cyber protections and controls (the CIA triad).
Revising draft language:
  Splitting R1.1 into a separate R1.1 and new R1.2.
  Address “Security Protections” in R1.1 and “Availability Controls” into R1.2 with more descriptive Measures for each.
Updating Supplemental Documentation:
  Updating Technical Rationale
  Updating Implementation Guidance
  Providing a response to comments
Implementation Plan should stay the same (24 months)

## Slide 5: Modified Requirement R1
Proposed* R1
CIP-012 revisions
Availability incorporated into already approved R1 language
R1. The Responsible Entity shall implement, except under CIP Exceptional Circumstances, one or more documented plan(s) to mitigate the risks posed by unauthorized disclosure, unauthorized modification, and loss of availability of data used for Real-time Assessment and Real-time monitoring while such data is being transmitted between any applicable Control Centers. The Responsible Entity is not required to include oral communications in its plan. The plan shall include: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]
* Proposed as of 05/10/2022 – Subject to change
Note: Unchanged from previous drafts
Notes: No change in the R1 text from previous posting

## Slide 6: Modified Requirement R1
Proposed* R1 Subparts
CIP-012-2 revisions
“A move to METHODS”
R1.1 Identification of methods used to mitigate the risks posed by unauthorized disclosure and unauthorized modification of data used for Real-time Assessment and Real-time monitoring while such data is being transmitted between Control Centers;
R1.2 Identification of method(s) used to mitigate the risk posed by loss of Real-time Assessment and Real-time monitoring data while such data is being transmitted between Control Centers;
  R1.3 Identification of methods to be used for the recovery of communication links used to transmit Real-time Assessment and Real-time monitoring data between Control Centers;
R1.4 Identification of where the Responsible Entity implemented method(s) as required in Parts 1.1 and 1.2; and
R1.5 If the Control Centers are owned or operated by different Responsible Entities, identification of the responsibilities of each Responsible Entity for implementing method(s) as required in Parts 1.1 and 1.2.
  * Proposed as of 05/10/2022 – Subject to change
Existing R1 Subparts
CIP-012-1
1.1. Identification of security protection used to mitigate the risks posed by unauthorized disclosure and unauthorized modification of Real-time Assessment and Real-time monitoring data while being transmitted between Control Centers;
1.2. Identification of where the Responsible Entity applied security protection for transmitting Real-time Assessment and Real-time monitoring data between Control Centers; and
1.3. If the Control Centers are owned or operated by different Responsible Entities, identification of the responsibilities of each Responsible Entity for applying security protection to the transmission of Real-time Assessment and Real-time monitoring data between those Control Centers.

## Slide 7: Expanded Measures
Proposed* Measures
“M1. Evidence that may be included in a documented plan(s) that meets the mitigation objective of Requirement R1 and documentation demonstrating the implementation of the plan(s) includes, but is not limited to:” ...
  What is a Measure? “A Measure provides identification of the evidence or types of evidence that may demonstrate compliance with the associated requirement.“
  Achieving the measure should be a necessary and sufficient indicator that the requirement was met.
  In previous drafts, concerns about regulatory uncertainty were expressed.
  The use of the Measures within the Standard helps guide both entities and auditors toward common evidence.
* Proposed as of 05/10/2022 – Subject to change

## Slide 8: What is the goal?
The CIA Triad
CIP - A Cyber Focus
Confidentiality
Integrity
Availability
Notes: The Cyber Focus – the data is what we are protecting. Cyber, not operations.

## Slide 9: Technical Rationale and Implementation Guidance
Proposed* Technical Rationale
and Implementation Guidance
Updated Technical Rationale and Implementation Guidance
  Technical Rationale (TR) represents an expansion upon the technical thoughts and logic that make up the foundation of the Standard and Requirements
  Implementation Guidance (IG) provides examples or approaches to illustrate how registered entities may comply with a Reliability Standard
    Vetted by industry and endorsed by the ERO Enterprise
  Revised TR and IG is being developed for CIP-012-2.
    Current focus is Technical Rationale
    The SDT will look at Implementation Guidance as time permits
* Proposed as of 05/10/2022– Subject to change

## Slide 10: Future Posting
Third Draft of CIP-012-2
Will have clean and redline versions
Wrapping up Drafting Team meetings this month
Next posting “Coming Soon”
Dependent upon Virtualization balloting.
Implementation Plan (remains 24 months)
Updated Technical Rationale for CIP-012
Updated to reflect the current draft
Updated Implementation Guidance
Needs work to reflect current state
Examples based on the Measures
Project 2020-04 Project Page

## Slide 11
Questions and Answers

## Slide 12: Technical Rationale and Implementation Guidance
Proposed* Technical Rationale
and Implementation Guidance
What is “Availability”?
Availability is defined as, “Ensuring timely and reliable access to and use of information” - from: NIST SP 800-59 under “Availability” from 44 U.S.C., Sec. 3542 (b)(1)(C)
Scoping is important – CIP-012-2 is scoped to further refine the term availability to “timely and reliable transmission of” RTA and RTM data as it is transmitted between applicable Control Centers.
    RTA and RTM data “at rest” is already protected via other CIP Standards.
    In here, “timely” is largely defined via the Responsible Entity’s implementation of the TOP and IRO Standards.
    The timeliness (timeframes) and the use of the data is well established in the O&P Standards.
* Proposed as of 05/10/2022 – Subject to change
Notes: Left in, but hidden intentionally, for discussion if needed.