# ELECTRICAL RISK ASSESSMENT FORM

| - GENERAL |  |  |
| --- | --- | --- |
| Date: Company: Qualified Personnel: | Equipment: Location: Normal operating conditions exist per NFPA 70E 130.1(A)(4)? Y N | System Voltage: Movable circuit part Fixed Circuit Part Arc Flash label present on equipment? Y N Date on Label: __________ |

- TASK

Reading a panel meter while operating a meter switch Normal operation of a circuit breaker (CB), switch, contactor, or starter Work on energized electrical conductors and circuit parts, including voltage testing Voltage testing on individual battery cells or individual multi-cell units Removal or installation of CBs or switches Removal or installation of covers for equipment such as wireways, junction boxes, and cable trays that does not expose bare energized electrical conductors and circuit parts Removal of bolted covers (to expose bare energized electrical conductors and circuit parts). Removal of battery intercell connector covers Opening hinged door(s) or cover(s) (to expose bare energized electrical conductors and circuit parts) Perform infrared thermography and other noncontact inspections outside the restricted approach boundary. This activity does not include opening of doors or covers. Application of temporary protective grounding equipment after voltage test Work on control circuits with exposed energized electrical conductors and circuit parts, 120 volts or below without any other exposed energized equipment over 120 V including opening of hinged covers to gain access Work on control circuits with exposed energized electrical conductors and circuit parts, greater than 120 V Insertion or removal of individual starter buckets from motor control center Insertion or removal (racking) of CBs or starters from cubicles, doors open or closed Insertion or removal of plug-in devices into or from busways Insulated cable examination with no manipulation of cable Insulated cable examination with manipulation of cable Work on exposed energized electrical conductors and circuit parts of equipment directly supplied by a panel board or motor control center Insertion and removal of revenue meters For dc systems, insertion or removal of individual cells or multi-cell units of a battery system in an enclosure or open rack. For dc systems, maintenance on a single cell of a battery system or multi-cell units in an open rack For dc systems, work on exposed energized electrical conductors and circuit parts of utilization equipment directly supplied by a dc source Insertion or removal (racking) of CBs from cubicles Insertion or removal (racking) of ground and test device Insertion or removal (racking) of voltage transformers on or off the bus Opening voltage transformer or control power transformer compartments Outdoor disconnect switch operation (hook stick operated) at 1 kV through 15 kV Outdoor disconnect switch operation (gang-operated, from grade) at 1 kV through 15 Kv EXPLAIN TASK / ADDITIONAL DETAIL:

| - POTENTAL ELECTRICAL HAZARDS |  |
| --- | --- |
| Shock hazard Yes No Likelihood of an arc flash incident per NFPA 70E Table 130.5 (C) Yes No Potential for an arc blast Yes No |  |
| - POTENTIAL RISKS |  |
| Potential Severity of Injury or Damage to Health |  |
| Irreversible — trauma, death Permanent — skeletal damage, blindness, hearing loss, third degree burns Reversible — minor impact, hearing damage, minor laceration, bruises, first/second degree burns |  |
| Likelihood of Hazardous Event | Likelihood of Avoiding Injury |
| Very high Likely Possible | Impossible Probable |
| Protective Measures |  |
| Physical barrier at _____ feet (based on boundary information below) Signage SOPs | Training PPE (see below) Other Controls, Explain |

| - SHOCK APPROACH BOUNDARIES From NFPA 70E Table 130.4(D)(a) or (b) |  |
| --- | --- |
| Restricted Approach Boundary (feet) = | Limited Approach Boundary (feet) = |

| - ARC FLASH BOUNDARY |  |
| --- | --- |
| Method for determining Arch Flash Boundary: Arc Flash PPE Categories Method (from NFPA 70E Table 130.7(C)(15)(a) or (b)) Incident Energy Analysis Method Incident energy= __________ cal/cm2 | Arc Flash Boundary (feet) = |

| - ARC FLASH PPE REQUIREMENTS From NFPA 70E Table 130.7(C)(15)(c) or 130.5(G) |  |
| --- | --- |
| PPE Category = __________ and/or PPE Calorie Rating = __________ Arc flash PPE conforms to NFPA 70E 130.7(14)? Yes No |  |
| Protective Clothing and PPE: | Protective Equipment: |

- REQUEST PERMIT

Is incident energy > 40 cal/cm2 Yes No Is system voltage > 480V? Yes No Does work include more than voltage verification, troubleshooting, or thermal imaging? Yes No Is equipment operating condition abnormal? Yes No If any answer is yes, then work must be completed under an approved Energized Electrical Work Permit

Note:  The ERA must be completed by a Qualified Person per NFPA 70E.

Workers must review this ERA prior to starting work.

The ERA must be available at the job site during work activities.