## Slide 1: Genesis Decarbonization Plan
Murray Rosenthal

## Slide 2: A2 Climate Teach-in
226 Attendees!!

## Slide 3: Genesis has a decarbonization plan!

## Slide 4: What is a decarbonization plan?
Building decarbonization is achieved by switching to energy sources or materials that emit less carbon, from high carbon-emitting fossil fuels, and by counteracting any carbon that is emitted. The goal of our decarbonization plan for is to eliminate carbon dioxide emissions related to the energy use by our building.

## Slide 5: Why?
Do our part to prevent climate volatility by reducing the use of fossil fuel to power our building.
City of Ann Arbor will require it.

## Slide 6: A2 Zero
Adopted on Ju​ne 1, 2020, A2ZERO​​ is the City of Ann Arbor's plan for achieving a ju​​st transition to community-wide carbon neutrality by 2030.

## Slide 7: A2 Zero
Eliminate the use of natural gas and substitute electricity

## Slide 8: A2 Zero
Generate / purchase electricity only from renewable sources

## Slide 9: How?
Cost: $7800
Minus: -$5000 (grant from 2030 District)

## Slide 10: Obsolete, redundant, broken systems
Stove and oven is 29 years old
Makeup air unit is broken

## Slide 11: Obsolete, redundant, broken systems
Abandoned roof louver on Social Hall – light can be seen, which likely means we have holes in our roof
Four other smaller holes were found (e.g., non working fans)

## Slide 12: Obsolete, redundant, broken systems
Electrical panels need updating

## Slide 13: Obsolete, redundant, broken systems
No air is exhausted
from the basement classrooms

## Slide 14: Obsolete, redundant, broken systems
Two different systems may lead to simultaneous heating and cooling
Adult Lounge and TBE Chapel are served by both RTUs and mini-splits

## Slide 15: What is in the plan?

## Slide 16: What is in the plan?
Fixing existing deficiencies, sealing holes, updating electrical systems.

## Slide 17: Replacement of current HVAC, Kitchen and Hot Water Equipment
What is in the plan?

## Slide 18
Expected obsolescence (basis of the plan)

## Slide 19
Replacement Example - DOAS
Replacement Example – Dedicated Outside Air System

## Slide 20
Replacement Example - Geothermal
Estimated savings in operation utility costs are 43%
Replacement Example – Bonus: Switch from natural gas to electricity

## Slide 21: Geothermal System #1

## Slide 22: Geothermal System #1
Lower-level DOAS will be linked to the circulating water system, along with RTUs

## Slide 23: Hot water
Consolidate to single tank in boiler room

## Slide 24: Geothermal System #2
Connects to main boiler

## Slide 25: Funding

## Slide 26: 30% Federal Investment Tax Credit for energy improvements – now directly available to non-profits.

## Slide 27: 30% Federal Investment Tax Credit + up to an extra 10% for using domestic parts and union labor.

## Slide 28: Grants are available for energy improvements

## Slide 29: City Funds are available for energy efficiency improvements

## Slide 30: BlocPower – Project Management?
https://www.blocpower.io/home-building-upgrades

## Slide 31: Decarbonization Report
15 Ledger pages (17 x 11”)

## Slide 32: We are the leaders!

## Slide 33: The way to get started is to quit talking and begin doing.
Walt Disney

## Slide 35: Thank you!
Murray Rosenthal
scibridge0@gmail.com
Genesis Home | Genesis Of Ann Arbor (genesisa2.org)