## Sheet1
Humidity Control Room Data sheet
Please fill up all yellow cells. Current values as example only. Please override them with actual data
Project Name : | Eg: Pfizer Pharma at Tuas
Project Location: | xxx, xxx ( eg , Tuas West Road 1 , or Woodlands Industrial Park A)
Date : | 2021-12-04
Enquirer name : | Mr XX Tan
Enquirer contact: | Hp: 9xxxxxxx / email : xxx@yyy.com
Room dimension ( Please provide actual room layout if possible)
Length | 10 | Meters
Width | 10 | Meters
Height | 3 | Meters
Outdoor Condition : | 33 | Deg C | 65 | %RH | ( leave this data alone if this is Singapore)
Dry room designed Condition : | 23 | Deg C | 40 | %RH
Which floor is this : | 2nd floor | ( indicate Basement / ground floor / upper floor)
Number walls facing outdoor | 3 | sides | ( there are 4 walls, so max is 4 )
Ceiling facing outdoor | yes | ( yes or no)
Number of People: | 10 | people |  |  |  |  | C
Is there any exhaust air ? | yes | ( yes or no)
If yes, Exhaust air flow : | 400 | CMH | ( exhaust through fume hoods, machine exhaust etc) |  |  |  | C
g/kg
Is there any fresh air ? | yes | ( yes or no)
if Yes, indicate air flow : | 300 | CMH | ( Fresh air through FA duct)
Is there a Pre-Cool AHU or MAU : | yes | ( yes or no)
If Yes, indicate Fresh air dew point : | 25 | deg C | ( data from precool air, if no data given, please write “25” ) |  |  |  | %RH
C
Any big doors like roller shutter ? | yes | ( yes or no) |  |  |  |  | g/kg
If yes, what is W x H of the door | 3.5 x 4 | meters
How often this door is opened ? | Once every hour, each time 4 minutes | [5 empty] | CMH
|  |  | ( please change the information from the example to actual values ) |  |  |  | CMH
kg/Hr