## Sheet1
M25Lab, Inc. 638 Spartanburg Highway, Suite 70-317, Hendersonville, NC 28792 Phone (828) 567-8890
EPA Method-25 Chain of Custody
Testing Company / Job Number:
Facility / Location Tested:
Source(s) Tested:
Test Date:
Measure tank absolute pressure with a calibrated absolute pressure gauge. If a differential pressure gauge or Mercury manometer is used (not recommended), record the tank vacuum level and the local station pressure (barometric pressure adjusted for elevation above sea level).
IMPORTANT: | Before measuring a tank's pressure and temperature put the tank in the shade away from any heat source and let its temperature equilibrate.
Tape a thermocouple to the tank and record the tank temperature each time the pressure is recorded.
Sample Location or ID | Run No. | Tank No. | Trap No. | Tank Initial Pressure Units: _____ | Tank Initial Temp. Units:_____ | Initial Station Pressure Units:_____ | Tank Final Pressure Units:_____ | Tank Final Temp. Units:_____ | Final Station Pressure Units:_____ | M25Lab use only mbar oF
In the space below, fill in the approximate concentration of water, CO2, and VOC for each source.
Source | ~%H2O | ~%CO2 | ~ppmC VOC |  | Source | ~%H2O | ~%CO2 | ~ppmC VOC
Ship to: M25Lab, Inc., 638 Spartanburg Highway, Suite 70-317, Hendersonville, NC 28792
Relinquished by: |  |  |  |  | Date: |  |  | All seals intact?
Received by: |  |  |  |  | Date: |  |  | Dry ice okay?
M25Lab, Inc. Job No.: |  |  |  |  | Comments: