## Sheet2
POWER PLANT |  | CAPACITY, MW |  | LOCATION | REGION | OPERATOR | OWNER / IPPA | DATE COMMISSIONED/ COMMERCIAL OPERATION
FACILITY NAME | SUBTYPE | INSTALLED | DEPENDABLE | MUNICIPALITY/ PROVINCE
FDC MISAMIS U1 | Circulating Fluidized Bed (CFB) Coal | 135 | 123 | PHIVIDEC,Villanueva,Misamis Oriental | 10 | Filinvest Development Corporation (FDC) Utilities, Inc. | Filinvest Development Corporation (FDC) Utilities, Inc. | Oct-2016
FDC MISAMIS U2 | Circulating Fluidized Bed (CFB) Coal | 135 | 123 | PHIVIDEC,Villanueva,Misamis Oriental | 10
FDC MISAMIS U3 | Circulating Fluidized Bed (CFB) Coal | 135 | 123 | PHIVIDEC,Villanueva,Misamis Oriental | 10
MINDANAO COAL U1 | Pulvurized Sub Critical Coal | 116 | 105 | PHIVIDEC,Villanueva,Misamis Orriental | 10 | STEAG State Power Inc. (SPI) | Power Sector Assets and Liabilities Management Corporation (PSALM) | Sep-2006
MINDANAO COAL U2 | Pulvurized Sub Critical Coal | 116 | 105 | PHIVIDEC,Villanueva,Misamis Orriental | 10
MPC - Iligan DPP | Bunker/Diesel Internal Combustion Engine | 114.4 | 103 | Dalipuga, Iligan City, Lanao del Norte | 10 | Mapalad Power Corporation (MPC) | Mapalad Power Corporation (MPC) | May-2013
AGUS 4 | Dam-type HEPP | 158.1 | 150 | Baloi, Lanao del Norte | 10 | National Power Corporation-Mindanao Generation (NPC-MinGen) | Power Sector Assets and Liabilities Management Corporation (PSALM) | Mar-1985 / Apr-1985
AGUS 5 | Dam-type HEPP | 55 | 52 | Buru-un, Iligan City, Lanao del Norte | 10 | National Power Corporation-Mindanao Generation (NPC-MinGen) | Power Sector Assets and Liabilities Management Corporation (PSALM) | Feb-1985 / Mar-1985
AGUS 6 | Dam-type HEPP | 219 | 175 | Buru-un, Iligan City, Lanao del Norte | 10 | National Power Corporation-Mindanao Generation (NPC-MinGen) | Power Sector Assets and Liabilities Management Corporation (PSALM) | Jul-1953 / Apr-1971
AGUS 7 | Dam-type HEPP | 54 | 52 | Buru-un, Iligan City, Lanao del Norte | 10 | National Power Corporation-Mindanao Generation (NPC-MinGen) | Power Sector Assets and Liabilities Management Corporation (PSALM) | Mar-1983 / Dec-1983
PULANGI 4 | Run-of-River type HEPP | 255 | 225 | Maramag, Bukidnon | 10 | National Power Corporation-Mindanao Generation (NPC-MinGen) | Power Sector Assets and Liabilities Management Corporation (PSALM) | Dec-1985 / Jun-1986
MANOLO FORTICH U1 | Run-of-River type HEPP | 45.936 | 45.936 | Santiago, Manolo Fortich, Bukidnon | 10 | Hydro Electric Development Corporation (HEDCOR) Bukidnon, Inc. | Hydro Electric Development Corporation (HEDCOR) Bukidnon, Inc. | 2018-07-02
MANOLO FORTICH U2 | Run-of-River type HEPP | 27.387 | 27.387 | Santiago, Manolo Fortich, Bukidnon | 10 | Hydro Electric Development Corporation (HEDCOR) Bukidnon, Inc. | Hydro Electric Development Corporation (HEDCOR) Bukidnon, Inc. | 2018-11-23
KIBAWE | Ground Mounted Solar Photovoltaic System | 10.49 | 8.392 | Brgy. Labuagon, Kibawe, Bukidnon | 10 | Asian Greenergy Corporation | Asian Greenergy Corporation | Mar-2016
MPC Balingasag Power Station U1 | Circulating Fluidized Bed (CFB) Coal | 55 | 50 | Brgy. Mandangoa, Balingasag, Misamis Oriental | 10 | Minergy Power Corporation | Minergy Power Corporation | Sep-2017
PSPE | Circulating Fluidized Bed (CFB) Coal | 25 | 20 | Brgy. Kiwalan, Iligan City, Lanao Del Norte | 10 | Powersource Philippines Energy Inc. (PSPE) | Powersource Philippines Energy Inc. (PSPE) | Jul-2020
BPC DPP | Bunker/Diesel Internal Combustion Engine | 7.3 | 6.4 | National Highway, Barangay Barandias, Municipality of Pangantucan, Province of Bukidnon | 10 | Bukidnon Power Corporation (BPC) | Bukidnon Power Corporation (BPC) | Feb-2016
KEGI - BUKIDNON | Bunker/Diesel Internal Combustion Engine | 3.2 | 3 | Valencia City, Bukidnon | 10 | King Energy Generation Inc. (KEGI) | King Energy Generation Inc. (KEGI) | Aug-2012
KEGI - CAMIGUIN | Bunker/Diesel Internal Combustion Engine | 4.1 | 4 | Brgy. Maubog, Balbagon, Mambajao, Camiguin | 10 | King Energy Generation Inc. (KEGI) | King Energy Generation Inc. (KEGI) | Feb-2016
KEGI - JIMENEZ | Bunker/Diesel Internal Combustion Engine | 7.8 | 7.5 | Brgy. San Isidro, Jimenez | 10 | King Energy Generation Inc. (KEGI) | King Energy Generation Inc. (KEGI) | Oct-2017
KEGI - MARAMAG | Bunker/Diesel Internal Combustion Engine | 7.84 | 7.5 | Maramag , Bukidnon | 10 | King Energy Generation Inc. (KEGI) | King Energy Generation Inc. (KEGI) | Jul-2015
KEGI - MISAMIS OR. | Bunker/Diesel Internal Combustion Engine | 10.6 | 10 | Gingoong, Misamis Oriental | 10 | King Energy Generation Inc. (KEGI) | King Energy Generation Inc. (KEGI) | Sep-2013
KEGI - PANAON | Bunker/Diesel Internal Combustion Engine | 15.68 | 15 | Panaon, Ozamis City, Misamis Occ. | 10 | King Energy Generation Inc. (KEGI) | King Energy Generation Inc. (KEGI) | May-2014
MEGC | Bunker/Diesel Internal Combustion Engine | 15 | 12.75 | Iligan City, Lanao del Norte | 10 | Mapalad Energy Generation Corp. (MEGC) | Mapalad Energy Generation Corp. (MEGC) | Dec-2014
MINERGY DPP 1 | Bunker/Diesel Internal Combustion Engine | 18.9 | 18 | Cagayan de Oro City, Misamis Oriental | 10 | Mindanao Energy Systems, Inc. (MINERGY) | Mindanao Energy Systems, Inc. (MINERGY) | Aug-1995
MINERGY DPP 2 | Bunker/Diesel Internal Combustion Engine | 27.4 | 26 | Cagayan de Oro City, Misamis Oriental | 10 | Mindanao Energy Systems, Inc. (MINERGY) | Mindanao Energy Systems, Inc. (MINERGY) | Mar-2012
NBPC DPP | Bunker/Diesel Internal Combustion Engine | 6.2 | 5 | Barangay Bugcaon, Lantapan, Bukidnon | 10 | North Bukidnon Power Corporation (NBPC) | North Bukidnon Power Corporation (NBPC) | Nov-2018
PACERM-1 | Bunker/Diesel Internal Combustion Engine | 10.5 | 10.5 | El Salvador City, Misamis Oriental | 10 | PACERM-1 Energy Corporation | PACERM-1 Energy Corporation | Dec-2016
PBI | Bunker/Diesel Internal Combustion Engine | 10.4 | 10.4 | Bukidnon | 10 | Peak Power Bukidnon. Inc. (PBI) | Peak Power Bukidnon. Inc. (PBI) | Mar-2018
PSC | Waste Heat Recovery System | 37.1 | 18.4 | PHIVIDEC,Villanueva,Misamis Orriental | 10 | Philippine Sinter Corporation (PSC) | Philippine Sinter Corporation (PSC) | 2008
TPI DPP | Bunker/Diesel Internal Combustion Engine | 4.4 | 3 | Sagadan, Poblacion, Tubod, Lanao del Norte | 10 | Bussbarr Corporation | Total Power, Inc. | Dec-2016
BUBUNAWAN | Run-of-River type HEPP | 6.57 | 6.5 | Baungon,Bukidnon | 10 | Bubunawan Power Company, Inc. (BPC) | Bubunawan Power Company, Inc. (BPC) | Sep-2001
CABULIG HEP | Run-of-River type HEPP | 9.21 | 8.5 | Claveria, Misamis Oriental | 10 | Mindanao Energy Systems (MINERGY) | Mindanao Energy Systems (MINERGY) | Sep-2012
AGUSAN | Run-of-River type HEPP | 1.6 | 1.6 | M. Fortich, Bukidnon | 10 | First Gen Bukidnon Power Corporation (FGBPC) | First Gen Bukidnon Power Corporation (FGBPC) | Dec-1957
CSCI | Bagasse-fired Cogeneration Plant | 35.9 | 0 | Maramag, Bukidnon | 10 | Crystal Sugar Company, Inc. | Crystal Sugar Company, Inc. | 2010-06-01
CEPALCO | Ground Mounted Solar PVs | 0.96 | 0.768 | Sitio Lomboy,Cagayan de Oro, Misamis Oriental | 10 | Cagayan Electric Power and Light Company (CEPALCO) | Cagayan Electric Power and Light Company (CEPALCO) | Sep-2004
KIRAHON | Ground Mounted Solar PVs | 12.5 | 10 | Villanueva, Misamis Oriental | 10 | Kirahon Solar Energy Corporation (KSEC) | Kirahon Solar Energy Corporation (KSEC) | Oct-2015
| TOTAL | 1909.473 | 1672.533
Note:
Excluding off-grid generators
Released as of 28 March 2021
FIT Approved Plants based on RE Projects under FIT System as of Dec 2020
Installed Capacity - nameplate capacity; full-load continuous gross capacity of a unit under specified conditions, as calculated from the electric generator nameplate based on the rated power factor.
Dependable Capacity - maximum capacity when modified for ambient limitations for a specified period of time, such as a month or a season.
Legend:
in GREEN - NEW ENTRY
in BLACK - NON-NPC/IPP
in RED - NPC
in BLUE - NPC-IPP
| TOTAL CAPACITY (REGION 10) | CAPACITY, MW
|  | INSTALLED | DEPENDABLE
| Coal | 717 | 649
| Oil Based | 300.82 | 260.45
| Natural Gas | 0 | 0
| Renewable Energy | 891.653 | 763.083
| Geothermal | 0 | 0
| Hydro | 831.803 | 743.923
| Biomass | 35.9 | 0
| Solar | 23.95 | 19.16
| Wind | 0 | 0
| TOTAL CAPACITY (REGION 10) | 1909.473 | 1672.533
Note on D20: BG: MOR
Note on D21: BG: MOR
Note on A24: PPDD: KEGI Bukidnon 2 DPP
Note on D27: BG: MOR
Note on D35: BG: MOR
Note on C36: BG: based on MOR