| Title: Indoor Air Quality |  |  |
| --- | --- | --- |
| Revision # B | Prepared By: James Stubbs | Date Prepared: 01.2017 |
| Effective Date: | Reviewed By: | Date Reviewed: |
| Standard: | Approved By: | Date Approved: |
| Revision History: | Revision A – Inception Revision B – Update to new format, update of information | 03.2009 01.2017 |

# Procedure

- Purpose

To provide a safe and healthy working environment by identifying and mitigating, to the greatest extent possible, conditions which negatively impact indoor environmental quality.

- Rule

- Roles and Responsibilities:

- OEHS

  - Act as the indoor air quality coordinator for the University.

  - Provide Indoor Air Quality monitoring services utilizing direct reading instrumentation, sample collection

  - Provide advice and counsel related to indoor air quality for indoor environmental quality investigations, renovation/remodeling plan reviews, and new construction plan reviews

  - Engage outside consultant services as needed

  - Provide oversight and report analysis/interpretation of outside consultant services

- Procedure

- Reporting of Indoor Air Quality (IAQ) concerns

  - Non-Acute (no severe acute symptoms)

    - Information is to be submitted via the online IEQ report form found of the OEHS website

    - OEHS personnel will contact the complainant and conduct an initial IAQ assessment using direct reading instrumentation

    - A report of the findings of the initial assessment are to be provided to the complainant and the supervisor of the area in question, no later than 15 days following the last day of monitoring

    - OEHS will conduct an IAQ investigation as needed and will provide a scope of work statement if the situation requires the services of an outside contractor.

    - Costs associated with the services provided by outside contractors are the responsibility of the requesting department

    - Costs associated with any sample collected as part of the OEHS investigation are the responsibility of the requesting department

  - Acute (severe acute symptoms – watering eyes, severe respiratory irritation, etc.)

    - Call OEHS at 801-581-6590 during normal business hours, after hours contact University Police at 801-585-2677 and request OEHS response.

    - OEHS personnel respond directly to acutely irritating odor complaints.

  - Natural Gas Odor

    - Facility Operations personnel respond to reports of natural gas odors.

  - Smoking

    - Smoking (including e-cigarettes) is not allowed in any University building in accordance with the Utah Indoor Clean Air Act

- University of Utah Contacts:

James Stubbs, Associate Director, OEHS, 801-585-5788