## Cogen Raw Data
| On-Campus Cogeneration Plant (s) | [5 empty] | Need to verify accuracy and in correct units
| Distillate Oil | Natural Gas | Electric Output | Steam Output | Electric Efficiency | Steam Efficiency
| Gallons | Cubic Feet | kWh | klbs | % | %
2007 | 76672.2278 | 1694305013.9469 | 112391903 | 241651
2008 | 31052.2 | 1728439324.5121 | 185685228.38 | 234545.15
2009 | 91688.9 | 1626869077.09 | 129221000 | 688337
2010 | 77151.77 | 1557355480.73 | 126106777 | 722407.9907
2011 | 94664 | 1503981465.08 | 121929300 | 720819.3069
2012 | 2738.18 | 1493283361.7 | 122855200 | 679508.3468
2013 | 101756.6551 | 1456080051.9498 | 120800100 | 755403.6461
2014 | 502320.0922 | 1359730126.0571 | 123269481 | 749185.8869
2015 | 777510.313 | 1303153069.9975 | 120757816.3113 | 759695.7601
2016 | 175773.7518 | 1418072574.9365 | 122070995.5186 | 699497.2111

## Other Raw Data
| Other On-Campus Stationary Sources | [9 empty] | Totals |  |  | Need to verify accuracy and in correct units
| CUP Boilers |  | Minor Boilers |  | Depot Campus Boilers |  | Emergency Generators |  |  | Chiller Engines
| Distillate Oil | Natural Gas | Distillate Oil | Natural Gas | Distillate Oil | Natural Gas | Diesel | Natural Gas | LPG | Natural Gas | Distillate Oil | Natural Gas | LPG
| Gallons | Cubic Feet | Gallons | Cubic Feet | Gallons | Cubic Feet | Gallons | Cubic Feet | Cubic Feet | Cubic Feet | Gallons | Cubic Feet | Cubic Feet
2007 | 273955 | 92727593 | 53158 | 118721800 | 4798.1 | 33497400 | 26782.453 | 420137.5 | 256987 | 8375626 | 358693.553 | 253742556.5 | 256987
2008 | 65032 | 107601318 | 57109 | 118785300 | 5340.9 | 33946800 | 22313.462 | 434184 | 322894.1 | 6075441 | 149795.362 | 266843043 | 322894.1
2009 | 120567 | 131714704 | 57109 | 116672800 | 0 | 31285160 | 30560.623 | 476850 | 342988.7 | 4936605 | 208236.623 | 285086119 | 342988.7
2010 | 52573 | 132572908 | 50173 | 116379900 | 4410 | 32238700 | 22003.09 | 415587.5 | 326223.8 | 4523960 | 129159.09 | 286131055.5 | 326223.8
2011 | 87015 | 125129850 | 33334 | 120887900 | 4156 | 33404400 | 38495.25 | 890557.1 | 284656.5 | 8039579 | 163000.25 | 288352286.1 | 284656.5
2012 | 9274 | 110241762 | 26123.3 | 106709500 | 0 | 27533500 | 28969 | 760669.5 | 210603.2 | 1587221 | 64366.3 | 246832652.5 | 210603.2
2013 | 85022 | 150473090.9091 | 40447 | 123776700 | 0 | 29777100 | 25350.96 | 546546.7 | 205122.1 | 5662048.5 | 150819.96 | 310235486.1091 | 205122.1
2014 | 288541 | 140725435.3392 | 58162.8 | 130632700 | 0 | 31876700 | 22355.42 | 357601 | 167223 | 7208000 | 369059.22 | 310800436.3392 | 167223
2015 | 614110 | 114148000 | 47863.3 | 126030000 | 0 | 32557300 | 21620.53 | 456533.1 | 148379.1 | 8689916 | 683593.83 | 281881749.1 | 148379.1
2016 | 165523 | 137799366 | 20169.4 | 109779900 | 0 | 26173700 | 37917.36 | 495042.5 | 133863.9 | 6966990 | 223609.76 | 281214998.5 | 133863.9
Note on E6: UITS: Assumed same as 2006 data
Note on E7: UITS: Assumed same as 2009 data

## CCC Input
| On-Campus Cogeneration Plant (s) | [5 empty] | Other On-Campus Stationary Sources
| Distillate Oil (#1-4) | Natural Gas | Electric Output | Steam Output | Electric Efficiency | Steam Efficiency | Distillate Oil (#1-4) | Natural Gas | LPG (Propane) | Attributable Solar - Electric | Attributable Solar - Thermal
| Gallons | MMBtu | kWh | MMBtu | % | % | Gallons | MMBtu | Gallons | kWh | MMBtu
2007 | 76672.2278 | 1694305.0139 | 112391903 | 290464.502 |  |  | 358693.553 | 253742.5565 | 7249.2807
2008 | 31052.2 | 1728439.3245 | 185685228.38 | 281923.2703 |  |  | 149795.362 | 266843.043 | 9108.4372
2009 | 91688.9 | 1626869.0771 | 129221000 | 827381.074 |  |  | 208236.623 | 285086.119 | 9675.2807
2010 | 77151.77 | 1557355.4807 | 126106777 | 868334.4048 |  |  | 129159.09 | 286131.0555 | 9202.3639
2011 | 94664 | 1503981.4651 | 121929300 | 866424.8069 |  |  | 163000.25 | 288352.2861 | 8029.8025
2012 | 2738.18 | 1493283.3617 | 122855200 | 816769.0328 |  |  | 64366.3 | 246832.6525 | 5940.8519
2013 | 101756.6551 | 1456080.0519 | 120800100 | 907995.1827 |  |  | 150819.96 | 310235.4861 | 5786.237
2014 | 502320.0922 | 1359730.1261 | 123269481 | 900521.4361 |  |  | 369059.22 | 310800.4363 | 4717.1509
2015 | 777510.313 | 1303153.07 | 120757816.3113 | 913154.3036 |  |  | 683593.83 | 281881.7491 | 4185.5882
2016 | 175773.7518 | 1418072.5749 | 122070995.5186 | 840795.6477 |  |  | 223609.76 | 281214.9985 | 3776.1326
Note on F3: University of Connecticut: Includes CUP Boilers, consider removing for future years

## STARS Input
| Total Fuel Consumption by Source |  |  | Total
| Distillate Oil (#1-4) | Natural Gas | LPG (Propane)
| MMBtu | MMBtu | MMBtu | MMBtu
2007 | 60381.0875 | 1948047.5704 | 613.5998 | 2009042.2577
2008 | 25081.8345 | 1995282.3675 | 770.9642 | 2021135.1662
2009 | 41596.8136 | 1911955.1961 | 818.9434 | 1954370.9531
2010 | 28613.3514 | 1843486.5362 | 778.9144 | 1872878.802
2011 | 35735.5775 | 1792333.7512 | 679.6654 | 1828748.9941
2012 | 9306.7523 | 1740116.0142 | 502.8507 | 1749925.6172
2013 | 35029.971 | 1766315.5381 | 489.7636 | 1801835.2727
2014 | 120852.0117 | 1670530.5624 | 399.2731 | 1791781.8473
2015 | 202641.2294 | 1585034.8191 | 354.2801 | 1788030.3286
2016 | 55390.6894 | 1699287.5734 | 319.6227 | 1754997.8855
Notes:
Total column for OP-5: Building Energy Consumption

## Conversion Factors
Btu's per lb of steam | 1202
Btu's per cubic foot of natural gas | 1000
Btu's per MMBtu | 1000000
Cubic feet per gallon of LPG | 35.45
Gallons of distillate oil per MMBtu | 7.2103
Gallons of LPG per MMBtu | 11.8143
Note:
Sources for these factors are Mark Bolduc (mark.bolduc@uconn.edu)
Factors were also found to be exactly equal to or in very close agreement to campus_energy_consumption_converter_v1.0.xls (Under Resources in OP-5)