## Usage Summary (hidden)
Physical Plant - Facilities Energy Usage
Purchased | Ton | Gal | Gal | kWh | Therm | Gal |  |  |  | Conversion Factors
FY | Coal Purchased | Propane | Fuel Oil | Electricity | Nat. Gas | Water |  |  |  | Fuel | Fuel Unit | x MMBtu/Fuel Unit
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | Coal | ton | 22.6
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | LPG | gal | 0.091333
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | Fuel Oil | gal | 0.13869
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | Electricity | kWh | 0.0034121
2005 | 50998.1689 | 11112.1 | 4560 | 112171274 | 1122885 | 356809528 |  |  |  | Nat. Gas | therm | 0.1
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | Gasoline | gal | 0.12262
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | E-85 | gal | 0.073499
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | Diesel | gal | 0.13869
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | B-20 | gal | 0.13647
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | Other | gal | 0.12262 | *Estimated same as gasoline
Travel Service - Vehicles Energy Usage (Gallons)
FY | Gasoline (E-10) |  |  | Bio-Diesel (B-20) |  |  | Ethanol (E-85) |  |  | Other |  | Grand Total
| On-Campus | Off-Campus | Total | On-Campus | Off-Campus | Total | On-Campus | Off-Campus | Total | Off-Campus | Total
2005 | 157012.06 | 67674.68 | 224686.74 | 21166.8 | 1670.53 | 22837.33 | 8588.1 | 167.22 | 8755.32 | 756.33 | 756.33 | 257035.72
2019 | 86843.42 | 56695.59 | 143539.01 | 29503.1 | 4205.77 | 33708.87 | 21715.1 | 881.24 | 22596.34 | 1616.63 | 1616.63 | 201460.85
Grand Total | 243855.48 | 124370.27 | 368225.75 | 50669.9 | 5876.3 | 56546.2 | 30303.2 | 1048.46 | 31351.66 | 2372.96 | 2372.96 | 458496.57
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
Agriculture - Farm Vehicle Usage (Gallons)
FY | Gasoline | Diesel
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
Note on K10: justinh: Motor gasoline, reformulated/oxygenated: 5.15 MMBtu/Barrel (EIA) 42 gal/barrel

## Utility Data
SIUC Utilities : Usage, Energy, and CO2 Emissions by Utility and Fiscal Year | [6 empty] | Note: Fiscal Year XX runs 7/1/(XX-1) - 6/30/XX
Note: data is taken from the PSO Accounting Util Recon Spreadsheets
Purchased | Gal | kWh | Ton | Therm | Gal | Gal
FY | Water | Electricity | Coal Purchased | Nat. Gas | Propane | Fuel Oil
2005 | 356809528 | 112171274 | 50998.1689 | 1122885 | 11112.1 | 4560
2019 | 207877794 | 90025550 | 42774.13 | 1567189 | 7128.6 | 3980
2019/2015: | 58.26% | 80.26% | 83.87% | 139.6% | 64.15% | 87.28%
Usage |  | kBtu/kWh | kBtu/ton | kBtu/Therm | kBtu/Gal | kBtu/Gal
MMBTU |  | 3.4121 | Varies | 100 | 91.4524 | Varies
FY | Water | Electricity | Coal Burned | Nat. Gas | Propane | Fuel Oil | Physical Plant Total | Travel Service Fuel | Total
2005 |  | 382744.0909 | 1087395.2799 | 112288.5 | 1016.228 | 632.4286 | 1584076.5273 | 31182.9139 | 1615259.4412
2019 |  | 307179.7802 | 958905.0896 | 156718.9 | 651.9274 | 546.7762 | 1424002.4734 | 24041.8912 | 1448044.3646
2019/2015: |  | 80.26% | 88.18% | 139.6% | 64.15% | 86.46% | 89.89% | 77.1% | 89.65%
CO2e
MT
FY | Water | Electricity | Coal Burned | Nat. Gas | Propane | Fuel Oil | Physical Plant Total | Travel Service Fuel | Total
2005 |  | 104439.6549 | 102228.2051 | 5964.1475 | 64.1372 | 46.9281 | 212743.0728 | 2204.2765 | 214947.3493
2019 |  | 44292.984 | 90148.5853 | 8324.046 | 41.1451 | 40.5724 | 142847.3328 | 1706.2434 | 144553.5762
Performance/Baseline: |  | 42.41% | 88.18% | 139.6% | 64.15% | 86.46% | 67.15% | 77.41% | 67.25%
Note on D11: Harrell, Justin M: FY2004 is first year with complete coal burned data from daily plant logs. Prior data is based on coal purchased. FY2005 is the first year with complete coal analysis data. Prior years based on heat factors from FY2005 and with stoker/2x0 split based on FY2004. HF(<FY2005) = 22,208 Btu/ton HF(>=FY2005) based measured stoker and 2x0 coal burned and measured Btu/lb from coal analysis. Note last stoker coal analysis year is FY2009. Later fiscal year use the FY2009 heat value.
Note on G11: Harrell, Justin M: See Heat, note 4, about nonroad ULSD phase-in from FY2008 - FY2015.
Note on I11: Justin M. Harrell: Does NOT include Motor Fuels use by SIU Farms.
Note on A18: Harrell, Justin M: MT = metric ton = 1 tonne = 1000 kg = 1.10231 ton = 2204.62 lb
Note on I19: Justin M. Harrell: Does NOT include motor fuels purchased directly by SIU Farms.

## Fleet Fuel
TRVSRV_Fuel Sales.sql | [9 empty] | Note: These data account for fuel use by PSO Travel Services (campus fleet vehicles, on and off-campus purchases, Touch of Nature, and Motorcycle Safety).
SELECT subcode, trans_fy, sum(trans_units), sum(trans_amt) | [9 empty] | Motor fuel used by SIU Farms vehicles is NOT included.
FROM trv_trans | [9 empty] | Diesel fuel used by stationary emergency generators is purchased by Physical Plant. (See Utilities tab.)
WHERE transtype = '040'
group by subcode, trans_fy |  |  | Query Date: | 2019-10-01 | [5 empty] | Note: Fiscal Year XX runs 7/1/(XX-1) - 6/30/XX
order by subcode, trans_fy
paste query results below & update pivot |  |  |  | copy formulas down
subcode | trans_fy | gallons | cost | purch | fuel | subcode | description | fuel | Purch | Sum of gallons | fuel | purch
| 2001 | 4.2 | 5.41 | #N/A | #N/A | 1040 | PROPANE FUEL-OUTSIDE | propane | off-campus |  | gasoline |  | gasoline Total | diesel |  | diesel Total | ethanol |  | ethanol Total | other | other Total | Grand Total
| 2004 | 0 | 0 | #N/A | #N/A | 1041 | DIESEL FUEL AT TRAVL | diesel | on-campus | trans_fy | on-campus | off-campus |  | on-campus | off-campus |  | on-campus | off-campus |  | off-campus
| 2006 | 0 | 0 | #N/A | #N/A | 1042 | UNLEADED AT TRAVEL | gasoline | on-campus | 2005 | 157012.06 | 67674.68 | 224686.74 | 21166.8 | 1670.53 | 22837.33 | 8588.1 | 167.22 | 8755.32 | 756.33 | 756.33 | 257035.72
| 2008 | 0 | 0 | #N/A | #N/A | 1043 | GASOHOL AT TRAVEL |  | on-campus | 2019 | 86843.42 | 56695.59 | 143539.01 | 29503.1 | 4205.77 | 33708.87 | 21715.1 | 881.24 | 22596.34 | 1616.63 | 1616.63 | 201460.85
| 2013 | 5.18 | 20.01 | #N/A | #N/A | 1044 | ETHANOL - 85 | ethanol | on-campus | Grand Total | 243855.48 | 124370.27 | 368225.75 | 50669.9 | 5876.3 | 56546.2 | 30303.2 | 1048.46 | 31351.66 | 2372.96 | 2372.96 | 458496.57
| 2014 | 150 | 510.45 | #N/A | #N/A | 1045 | ETHANOL - OUTSIDE | ethanol | off-campus
| 2017 | 23.1 | 48.14 | #N/A | #N/A | 1046 | UNLEADED - OUTSIDE | gasoline | off-campus
| 2018 | 0 | 15 | #N/A | #N/A | 1047 | BULK DIESEL FUEL | diesel | on-campus | Total Motor Fuel Energy (MMBtu)
1040 | 2000 | 59.3 | 1050.01 | off-campus | propane | 1048 | BULK UNLEADED FUEL | gasoline | on-campus
1040 | 2001 | 0 | 883.58 | off-campus | propane | 1049 | FUEL-FED EXC TAX REB |  |  | FY | Gasoline | Ethanol | Diesel | Total | % Gasoline | % Ethanol | % Diesel
1040 | 2002 | 0 | 544.94 | off-campus | propane | 8203 | OIL PURCH-PERS REM |  |  | 2005 | 27184.9557 | 830.6381 | 3167.3202 | 31182.9139 | 87.18% | 2.664% | 10.16%
1040 | 2003 | 0 | 12.38 | off-campus | propane | 8220 | PARTS PURCH-PERS REM |  |  | 2019 | 17271.5023 | 2139.4322 | 4630.9567 | 24041.8912 | 71.84% | 8.899% | 19.26%
1041 | 1999 | 7.8 | 7.52 | on-campus | diesel | 8241 | DIESEL FUEL-PERS REM | diesel | off-campus
1041 | 2000 | 10142.2 | 11162.32 | on-campus | diesel | 8242 | UNLEAD FUEL-PERS REM | gasoline | off-campus | Notes:
1041 | 2001 | 10496.5 | 14170.94 | on-campus | diesel | 8243 | GASOHOL-PERS REM | gasoline | off-campus | 1. Gasoline = Gasohol = E10 = 10% Ethanol by volume
1041 | 2002 | 10446.3 | 12621.22 | on-campus | diesel | 8244 | LEADED FUEL-PERS REM | gasoline | off-campus | 2. Ethanol = E85 = 74% Ethanol by volume
1041 | 2003 | 9691.2 | 12755.23 | on-campus | diesel | 8250 | LABOR PURCH-PERS REM
1041 | 2004 | 9678.1 | 14444.69 | on-campus | diesel | 8270 | TIRE PURCH-PERS REM
1041 | 2005 | 7469.8 | 14311.37 | on-campus | diesel | 8280 | WASH-PERS REM
1041 | 2006 | 8640.84 | 19465.68 | on-campus | diesel | 8299 | PERS REMB-OTHER
1041 | 2007 | 9568.3 | 24627.01 | on-campus | diesel | 8403 | OIL PURCH-CRED CD
1041 | 2008 | 10583 | 32422.86 | on-campus | diesel | 8420 | PARTS-CRED CD
1041 | 2009 | 13191.3 | 42316.55 | on-campus | diesel | 8441 | DIESEL FUEL-CRED CD | diesel | off-campus
1041 | 2010 | 14193.3 | 36638.26 | on-campus | diesel | 8442 | UNLEAD FUEL-CRED CD | gasoline | off-campus
1041 | 2011 | 12478.9 | 42115.02 | on-campus | diesel | 8443 | GASOHOL-CRED CD | gasoline | off-campus
1041 | 2012 | 13905.9 | 57502.02 | on-campus | diesel | 8444 | LEADED FUEL-CRED CD | gasoline | off-campus
1041 | 2013 | 15117.5 | 58272.12 | on-campus | diesel | 8445 | OTHER FUEL-CRED CD | other | off-campus
1041 | 2014 | 12658.8 | 48541.88 | on-campus | diesel | 8446 | ETHANOL-CRED CD | ethanol | off-campus
1041 | 2015 | 12449.9 | 41966.67 | on-campus | diesel | 8449 | FUEL-CC FED EX TX RB
1041 | 2016 | 13103.4 | 31193.64 | on-campus | diesel | 8450 | LABOR-CRED CD
1041 | 2017 | 9779.6 | 21631.16 | on-campus | diesel | 8470 | TIRE-CRED CD
1041 | 2018 | 10070.5 | 25553.93 | on-campus | diesel | 8480 | WASH-CRED CD
1041 | 2019 | 12534.1 | 37782.81 | on-campus | diesel | 8499 | OTHER PURCH-CRED CD
1041 | 2020 | 3177.1 | 9228.44 | on-campus | diesel
1042 | 1999 | 1425 | 1449.87 | on-campus | gasoline
1042 | 2000 | 162472.18 | 194132.11 | on-campus | gasoline
1042 | 2001 | 159804.9 | 223714.58 | on-campus | gasoline
1042 | 2002 | 157798.18 | 189557.67 | on-campus | gasoline
1042 | 2003 | 150469.24 | 199009.94 | on-campus | gasoline
1042 | 2004 | 147020.9 | 218245.23 | on-campus | gasoline
1042 | 2005 | 150500.06 | 266941.6 | on-campus | gasoline
1042 | 2006 | 148010.27 | 339162.43 | on-campus | gasoline
1042 | 2007 | 139275.93 | 322067.33 | on-campus | gasoline | [17 empty] | .
1042 | 2008 | 132250 | 375645.52 | on-campus | gasoline
1042 | 2009 | 129897.4 | 315513.33 | on-campus | gasoline
1042 | 2010 | 113444.2 | 279944.66 | on-campus | gasoline
1042 | 2011 | 104360.52 | 311232.72 | on-campus | gasoline
1042 | 2012 | 106340.7 | 362772.31 | on-campus | gasoline
1042 | 2013 | 101602.81 | 339999.21 | on-campus | gasoline
1042 | 2014 | 108272.66 | 355993.42 | on-campus | gasoline
1042 | 2015 | 101232.5 | 269297.71 | on-campus | gasoline
1042 | 2016 | 93463.21 | 191210.65 | on-campus | gasoline
1042 | 2017 | 86236.9 | 174477.07 | on-campus | gasoline
1042 | 2018 | 80227.9 | 178347.6 | on-campus | gasoline
1042 | 2019 | 81879.42 | 191129.41 | on-campus | gasoline
1042 | 2020 | 22947.3 | 55462.64 | on-campus | gasoline
1044 | 1999 | 74.6 | 100.72 | on-campus | ethanol
1044 | 2000 | 5249.1 | 7384.51 | on-campus | ethanol
1044 | 2001 | 6268.9 | 10740.19 | on-campus | ethanol
1044 | 2002 | 6522.7 | 11444.99 | on-campus | ethanol
1044 | 2003 | 7849.3 | 9386.06 | on-campus | ethanol
1044 | 2004 | 7953.31 | 13290.71 | on-campus | ethanol
1044 | 2005 | 8588.1 | 16741.21 | on-campus | ethanol
1044 | 2006 | 13061.5 | 33325.79 | on-campus | ethanol
1044 | 2007 | 13467.78 | 39386.77 | on-campus | ethanol
1044 | 2008 | 11902.44 | 34151.23 | on-campus | ethanol
1044 | 2009 | 11866.2 | 29537.47 | on-campus | ethanol
1044 | 2010 | 13699.3 | 33099.97 | on-campus | ethanol
1044 | 2011 | 27733 | 84283.63 | on-campus | ethanol
1044 | 2012 | 29228.3 | 95708.49 | on-campus | ethanol
1044 | 2013 | 29545.73 | 96213.73 | on-campus | ethanol
1044 | 2014 | 24568.3 | 78398.56 | on-campus | ethanol
1044 | 2015 | 20955.9 | 56446.69 | on-campus | ethanol
1044 | 2016 | 20665.16 | 45668.59 | on-campus | ethanol
1044 | 2017 | 17046.6 | 35163.08 | on-campus | ethanol
1044 | 2018 | 18798.91 | 42802.69 | on-campus | ethanol
1044 | 2019 | 21715.1 | 53321.81 | on-campus | ethanol
1044 | 2020 | 6648.9 | 17396.25 | on-campus | ethanol
1045 | 2020 | 0 | 0 | off-campus | ethanol
1046 | 2004 | 1 | 34.38 | off-campus | gasoline
1046 | 2007 | 14.73 | 67.11 | off-campus | gasoline
1046 | 2009 | 2 | 45.4 | off-campus | gasoline
1046 | 2010 | 2.44 | 6 | off-campus | gasoline
1047 | 2000 | 10436 | 10316.69 | on-campus | diesel
1047 | 2001 | 16078 | 20637.77 | on-campus | diesel
1047 | 2002 | 13112 | 13988.29 | on-campus | diesel
1047 | 2003 | 12099 | 13658.52 | on-campus | diesel
1047 | 2004 | 14269 | 19927.96 | on-campus | diesel
1047 | 2005 | 13697 | 27334.8 | on-campus | diesel
1047 | 2006 | 18800 | 53158.15 | on-campus | diesel
1047 | 2007 | 13647 | 38725.1 | on-campus | diesel
1047 | 2008 | 14784 | 56701.11 | on-campus | diesel
1047 | 2009 | 17880 | 56825.7 | on-campus | diesel
1047 | 2010 | 17500 | 49223.73 | on-campus | diesel
1047 | 2011 | 17822 | 67292.98 | on-campus | diesel
1047 | 2012 | 14921 | 74052.33 | on-campus | diesel
1047 | 2013 | 19166 | 80158.21 | on-campus | diesel
1047 | 2014 | 21740 | 88510.99 | on-campus | diesel
1047 | 2015 | 18484.5 | 65607.14 | on-campus | diesel
1047 | 2016 | 21146.8 | 45917.5 | on-campus | diesel
1047 | 2017 | 16869.8 | 36210.82 | on-campus | diesel
1047 | 2018 | 13659.7 | 44936.15 | on-campus | diesel
1047 | 2019 | 16969 | 52702.17 | on-campus | diesel
1047 | 2020 | 7840 | 22500.81 | on-campus | diesel
1048 | 2000 | 4439 | 5850.35 | on-campus | gasoline
1048 | 2001 | 5194 | 8024.79 | on-campus | gasoline
1048 | 2002 | 3467 | 5514.24 | on-campus | gasoline
1048 | 2003 | 3446 | 5109.73 | on-campus | gasoline
1048 | 2004 | 5081 | 8913.91 | on-campus | gasoline
1048 | 2005 | 6512 | 16004.66 | on-campus | gasoline
1048 | 2006 | 13078 | 39160.11 | on-campus | gasoline
1048 | 2007 | -3383 | -10529.27 | on-campus | gasoline
1048 | 2008 | 4468 | 19693.59 | on-campus | gasoline
1048 | 2009 | 5286 | 16900.78 | on-campus | gasoline
1048 | 2010 | 4356 | 13396.04 | on-campus | gasoline
1048 | 2011 | 5455 | 21935.76 | on-campus | gasoline
1048 | 2012 | 3586 | 16318.68 | on-campus | gasoline
1048 | 2013 | 5044 | 20926.84 | on-campus | gasoline
1048 | 2014 | 3620 | 15006.73 | on-campus | gasoline
1048 | 2015 | 3798 | 12962.4 | on-campus | gasoline
1048 | 2016 | 3410.9 | 8511.61 | on-campus | gasoline
1048 | 2017 | 3295.4 | 8198.02 | on-campus | gasoline
1048 | 2018 | 1886.4 | 5601.29 | on-campus | gasoline
1048 | 2019 | 4964 | 13854.25 | on-campus | gasoline
1048 | 2020 | 193 | 581.31 | on-campus | gasoline
1049 | 2008 | 10.5 | 26.35 | 0 | 0
2203 | 2007 | 0 | 0 | #N/A | #N/A
2203 | 2012 | 1 | 3.15 | #N/A | #N/A
2209 | 2000 | 0 | 0 | #N/A | #N/A
2280 | 2005 | 0 | 0 | #N/A | #N/A
2281 | 2010 | 0 | 0 | #N/A | #N/A
2285 | 2014 | 0 | 0 | #N/A | #N/A
2289 | 2010 | 0 | 0 | #N/A | #N/A
2350 | 2002 | 0 | 0 | #N/A | #N/A
8062 | 2004 | 92.82 | 542.3 | #N/A | #N/A
8062 | 2005 | 22.5 | 266.16 | #N/A | #N/A
8120 | 2005 | 3 | 1.8 | #N/A | #N/A
8120 | 2008 | 1 | 19 | #N/A | #N/A
8120 | 2009 | 2 | 38 | #N/A | #N/A
8122 | 2007 | 0 | 0 | #N/A | #N/A
8122 | 2008 | 14.5 | 162.98 | #N/A | #N/A
8122 | 2009 | 6 | 67.44 | #N/A | #N/A
8122 | 2010 | 13.75 | 157.36 | #N/A | #N/A
8122 | 2011 | 0 | 0 | #N/A | #N/A
8122 | 2014 | 0 | 0 | #N/A | #N/A
8203 | 2010 | 5.28 | 17.63 | 0 | 0
8220 | 2004 | 25.02 | 40.34 | 0 | 0
8241 | 2000 | 0 | 70 | off-campus | diesel
8241 | 2001 | 0 | 87.3 | off-campus | diesel
8241 | 2002 | 0 | 157.68 | off-campus | diesel
8241 | 2003 | 0 | 27.44 | off-campus | diesel
8241 | 2009 | 18.74 | 38.77 | off-campus | diesel
8241 | 2011 | 681.86 | 831.69 | off-campus | diesel
8241 | 2012 | 464.91 | 873.08 | off-campus | diesel
8241 | 2014 | 1 | 172 | off-campus | diesel
8241 | 2016 | 0 | 350.14 | off-campus | diesel
8242 | 1999 | 0 | 66.51 | off-campus | gasoline
8242 | 2000 | 0 | 2445.84 | off-campus | gasoline
8242 | 2001 | 0 | 3672.34 | off-campus | gasoline
8242 | 2002 | 0 | 3707.18 | off-campus | gasoline
8242 | 2003 | 0 | 2131.9 | off-campus | gasoline
8242 | 2004 | 898.57 | 2368 | off-campus | gasoline
8242 | 2005 | 637.69 | 2008.38 | off-campus | gasoline
8242 | 2006 | 862.52 | 2767.02 | off-campus | gasoline
8242 | 2007 | 342.95 | 1144.66 | off-campus | gasoline
8242 | 2009 | 324.74 | 1674.15 | off-campus | gasoline
8242 | 2010 | 265.92 | 703.34 | off-campus | gasoline
8242 | 2011 | 339.94 | 1255.5 | off-campus | gasoline
8242 | 2012 | 104.63 | 369.22 | off-campus | gasoline
8242 | 2013 | 1 | 1106.58 | off-campus | gasoline
8242 | 2014 | 1 | 539.91 | off-campus | gasoline
8242 | 2015 | 0 | 566.18 | off-campus | gasoline
8242 | 2016 | 0 | 422.33 | off-campus | gasoline
8242 | 2017 | 0 | 429.92 | off-campus | gasoline
8242 | 2018 | 0 | 430.82 | off-campus | gasoline
8242 | 2019 | 0 | 1308.67 | off-campus | gasoline
8242 | 2020 | 0 | 12.96 | off-campus | gasoline
8243 | 2000 | 0 | 16 | off-campus | gasoline
8243 | 2007 | 39.13 | 415.82 | off-campus | gasoline
8243 | 2008 | 676.88 | 2222.76 | off-campus | gasoline
8243 | 2009 | 91.9 | 415.11 | off-campus | gasoline
8244 | 2003 | 0 | 0 | off-campus | gasoline
8244 | 2004 | 73.18 | 137.06 | off-campus | gasoline
8250 | 2009 | 0 | 44 | 0 | 0
8270 | 2017 | 0 | 95.28 | 0 | 0
8299 | 2004 | 65.06 | 91.87 | 0 | 0
8299 | 2006 | 0 | 8.48 | 0 | 0
8299 | 2007 | 0 | 12.8 | 0 | 0
8299 | 2013 | 0 | 27 | 0 | 0
8299 | 2019 | 0 | 29.93 | 0 | 0
8403 | 2003 | 2 | 4.98 | 0 | 0
8441 | 2000 | 1121.6 | 1745.64 | off-campus | diesel
8441 | 2001 | 1239.6 | 1868.87 | off-campus | diesel
8441 | 2002 | 671.8 | 972.09 | off-campus | diesel
8441 | 2003 | 267.06 | 569.54 | off-campus | diesel
8441 | 2004 | 1297.22 | 2151.73 | off-campus | diesel
8441 | 2005 | 1670.53 | 3621.32 | off-campus | diesel
8441 | 2006 | 2860.95 | 7954.27 | off-campus | diesel
8441 | 2007 | 1467.84 | 3719.22 | off-campus | diesel
8441 | 2008 | 2790.08 | 9692.9 | off-campus | diesel
8441 | 2009 | 2080.79 | 6005.87 | off-campus | diesel
8441 | 2010 | 5394.63 | 14831.55 | off-campus | diesel
8441 | 2011 | 6122.47 | 21091.55 | off-campus | diesel
8441 | 2012 | 6978.56 | 26949.55 | off-campus | diesel
8441 | 2013 | 6327.57 | 25042.95 | off-campus | diesel
8441 | 2014 | 4983.13 | 19343.48 | off-campus | diesel
8441 | 2015 | 4694.03 | 15868.72 | off-campus | diesel
8441 | 2016 | 5250.23 | 12454.37 | off-campus | diesel
8441 | 2017 | 4002.92 | 10242.74 | off-campus | diesel
8441 | 2018 | 3828.05 | 11311.6 | off-campus | diesel
8441 | 2019 | 4205.77 | 13356.29 | off-campus | diesel
8441 | 2020 | 638.11 | 1858.16 | off-campus | diesel
8442 | 1999 | 2934.4 | 3409.93 | off-campus | gasoline
8442 | 2000 | 73650.69 | 100154.64 | off-campus | gasoline
8442 | 2001 | 72237.56 | 112403.43 | off-campus | gasoline
8442 | 2002 | 81139.01 | 112973.33 | off-campus | gasoline
8442 | 2003 | 68703.38 | 99403.32 | off-campus | gasoline
8442 | 2004 | 64585.18 | 98146.2 | off-campus | gasoline
8442 | 2005 | 67036.99 | 123209.55 | off-campus | gasoline
8442 | 2006 | 68057.28 | 166036.43 | off-campus | gasoline
8442 | 2007 | 77774.62 | 198484.31 | off-campus | gasoline
8442 | 2008 | 77579.72 | 246587.15 | off-campus | gasoline
8442 | 2009 | 73585.35 | 199591.36 | off-campus | gasoline
8442 | 2010 | 76203.53 | 202990.13 | off-campus | gasoline
8442 | 2011 | 77941.45 | 246665.7 | off-campus | gasoline
8442 | 2012 | 75009.24 | 274088.48 | off-campus | gasoline
8442 | 2013 | 72565.51 | 265366.33 | off-campus | gasoline
8442 | 2014 | 63640.41 | 225868.6 | off-campus | gasoline
8442 | 2015 | 71536.37 | 204574.64 | off-campus | gasoline
8442 | 2016 | 63315.06 | 143888.94 | off-campus | gasoline
8442 | 2017 | 65674.87 | 159481.37 | off-campus | gasoline
8442 | 2018 | 59014.26 | 161678.54 | off-campus | gasoline
8442 | 2019 | 56695.59 | 158424.23 | off-campus | gasoline
8442 | 2020 | 9772.49 | 26773.59 | off-campus | gasoline
8443 | 2003 | 79.55 | 112.5 | off-campus | gasoline
8443 | 2004 | 591.08 | 944.1 | off-campus | gasoline
8443 | 2018 | 15.07 | 34.63 | off-campus | gasoline
8444 | 2012 | 14.68 | 54.84 | off-campus | gasoline
8444 | 2016 | 6.36 | 8.79 | off-campus | gasoline
8445 | 2003 | 178.84 | 290.56 | off-campus | other
8445 | 2004 | 727.88 | 1138.32 | off-campus | other
8445 | 2005 | 756.33 | 1517.32 | off-campus | other
8445 | 2006 | 1242.03 | 3338.13 | off-campus | other
8445 | 2007 | 1193.31 | 3461.36 | off-campus | other
8445 | 2008 | 1428.6 | 5589.46 | off-campus | other
8445 | 2009 | 1778.66 | 5468.35 | off-campus | other
8445 | 2010 | 1416.95 | 4056.19 | off-campus | other
8445 | 2011 | 1268.22 | 4504.8 | off-campus | other
8445 | 2012 | 941.77 | 3700.53 | off-campus | other
8445 | 2013 | 1950.33 | 8160.31 | off-campus | other
8445 | 2014 | 2618.03 | 10809.05 | off-campus | other
8445 | 2015 | 2273.81 | 8196.37 | off-campus | other
8445 | 2016 | 1486.95 | 3879.06 | off-campus | other
8445 | 2017 | 1634.65 | 4212.38 | off-campus | other
8445 | 2018 | 1423.92 | 4202.18 | off-campus | other
8445 | 2019 | 1616.63 | 5371.66 | off-campus | other
8445 | 2020 | 505.73 | 1621.56 | off-campus | other
8446 | 2003 | 43.48 | 64.33 | off-campus | ethanol
8446 | 2004 | 1105.6 | 1894.1 | off-campus | ethanol
8446 | 2005 | 167.22 | 307.82 | off-campus | ethanol
8446 | 2006 | 89.38 | 239.02 | off-campus | ethanol
8446 | 2007 | 277.75 | 735.69 | off-campus | ethanol
8446 | 2008 | 358.14 | 1069.99 | off-campus | ethanol
8446 | 2009 | 364.06 | 969.75 | off-campus | ethanol
8446 | 2010 | 464.76 | 1304.75 | off-campus | ethanol
8446 | 2011 | 272.69 | 881.96 | off-campus | ethanol
8446 | 2012 | 386.55 | 1253.05 | off-campus | ethanol
8446 | 2013 | 394.15 | 1247.51 | off-campus | ethanol
8446 | 2014 | 525.44 | 1527.82 | off-campus | ethanol
8446 | 2015 | 471.15 | 1177.91 | off-campus | ethanol
8446 | 2016 | 501.79 | 905.07 | off-campus | ethanol
8446 | 2017 | 774.96 | 1514.04 | off-campus | ethanol
8446 | 2018 | 1027.01 | 2255.77 | off-campus | ethanol
8446 | 2019 | 881.24 | 1985.94 | off-campus | ethanol
8446 | 2020 | 201.25 | 509.31 | off-campus | ethanol
8450 | 2001 | 0 | 0 | 0 | 0
8450 | 2005 | 0 | 0 | 0 | 0
8450 | 2006 | 0 | 0 | 0 | 0
8450 | 2007 | 0 | 0 | 0 | 0
8450 | 2008 | 0 | 0 | 0 | 0
8450 | 2009 | 0 | 0 | 0 | 0
8450 | 2010 | 0 | 0 | 0 | 0
8450 | 2011 | 0 | 0 | 0 | 0
8480 | 2002 | -1 | -8.77 | 0 | 0
8480 | 2003 | 4 | 18 | 0 | 0
8480 | 2004 | 25.1 | 37.83 | 0 | 0
8499 | 2003 | 17.8 | 91.19 | 0 | 0
8499 | 2004 | -1 | 405.9 | 0 | 0
Note on N18: Harrell, Justin M: See Heat table. Gasoline for blending HHV drops in 2007.
Note on O18: Harrell, Justin M: See Heat table. Gasoline for blending HHV drops in 2007.
Note on P18: Harrell, Justin M: See Heat, note 4, about onroad ULSD phase-in from FY2007 - FY2011.

## Heat
Approximate Heat Content of Fuels (1,2) | [6 empty] | 2x0 Coal Analysis [3] | [5 empty] | ULSD Phase-in (3,4)
Fuel | HHV | HHV unit | Source | HF | HF Unit | Notes | FY | Average % Moisture | Average % Ash | Average % Sulfur | Average Btu/lb | Samples | FY | OnRoad | NonRoad
Biodiesel | 5.359 | MMBtu/bbl | [1.1] | 127.5952 | kBtu/gal |  | 2005 | 8.0509 | 13.5271 | 3.7777 | 10999.7365 | 353 | 2006 | 0% | 0%
Diesel ULSD | 5.77 | MMBtu/bbl | [1.1] | 137.381 | kBtu/gal | 15 ppm sulfur (1,2) | 2006 | 7.8968 | 11.3016 | 3.2575 | 11778.0369 | 325 | 2007 | 20% | 0%
Diesel LSD | 5.825 | MMBtu/bbl | [1.1] | 138.6905 | kBtu/gal | 500 ppm sulfur (1,2) | 2007 | 8.6305 | 11.6304 | 3.6452 | 11335.0354 | 339 | 2008 | 40% | 12.5%
Ethanol | 3.539 | MMBtu/bbl | [1.2] | 84.2619 | kBtu/gal | undenatured | 2008 | 7.7033 | 11.5946 | 3.3291 | 11408.3835 | 339 | 2009 | 60% | 25%
Gasoline | 5.222 | MMBtu/bbl | [1.1] | 124.3333 | kBtu/gal | unblended. Starting 2007. | 2009 | 9.5028 | 11.8247 | 3.234 | 11343.8869 | 327 | 2010 | 80% | 37.5%
Gasoline (<FY07) | 5.253 | MMBtu/bbl | [1.1] | 125.0714 | kBtu/gal | unblended. Prior to 2007. | 2010 | 9.6217 | 11.4889 | 3.1478 | 11306.8278 | 331 | 2011 | 100% | 50%
E-10 | 5.0537 | MMBtu/bbl |  | 120.3262 | kBtu/gal | calculated using 10% ethanol. Starting FY07. | 2011 | 9.9538 | 10.033 | 3.2067 | 11480.1375 | 349 | 2012 | 100% | 62.5%
E-10 (<FY07) | 5.0816 | MMBtu/bbl |  | 120.9905 | kBtu/gal | calculated using 10% ethanol. Prior to FY07. | 2012 | 10.357 | 11.3624 | 3.1772 | 11180.5227 | 352 | 2013 | 100% | 75%
E-85 | 3.9766 | MMBtu/bbl | [1.1, 5] | 94.6805 | kBtu/gal | calculated using 74% ethanol. Starting FY07. | 2013 | 10.2346 | 11.3137 | 3.2137 | 11177.4236 | 347 | 2014 | 100% | 87.5%
E-85 (<FY07) | 3.9846 | MMBtu/bbl | [1.1, 5] | 94.8724 | kBtu/gal | calculated using 74% ethanol. Prior to FY07. | 2014 | 10.3007 | 10.9049 | 3.421 | 11236.1914 | 350 | 2015 | 100% | 100%
B-20 | 5.6878 | MMBtu/bbl |  | 135.4238 | kBtu/gal | calculated using 20% biodiesel. Starting FY11. | 2015 | 10.3742 | 11.2909 | 3.3223 | 11095.3844 | 346
Propane | 3.841 | MMBtu/bbl | [1.1] | 91.4524 | kBtu/gal |  | 2016 | 9.5882 | 10.6728 | 3.1942 | 11317.61 | 341
Natural Gas | 1038 | Btu/scf | [1.3] | 100 | kBtu/therm | HHV estimate for 2019. HF value is definition of therm. | 2017 | 9.7188 | 10.0454 | 3.2874 | 11341.3211 | 327
Electricity |  |  | [4] | 3.4121 | kBtu/kWh |  | 2018 | 9.7387 | 10.8411 | 3.2509 | 11335.2636 | 349
[7 empty] | 2019 | 9.9242 | 11.1109 | 3.217 | 11243.7246 | 345
[7 empty] | Grand Total | 9.448 | 11.2656 | 3.313 | 11302.3742 | 5120
Notes
(1) | HHV = High Heating Value; includes the latent heat of water vapor | [5 empty] | Stoker Coal Analysis [3]
(2) | HF = Heat Factor; unit conversion from HHV units into kBtu per commodity billing unit | [5 empty] | FY | Average % Moisture | Average % Ash | Average % Sulfur | Average Btu/lb | Samples
(3) | Onroad ULSD phased in from 2006-2010. Starting FY07, assume LSD +20%/y ULSD; 100% ULSD in FY11 on. [2] | [5 empty] | 2005 | 8.0131 | 10.5775 | 3.395 | 11463.4375 | 16
(4) | Nonroad ULSD phased in from 2007-2014. Starting FY08, assume LSD +12.5%/y ULSD; 100% ULSD in FY15 on. [2] | [5 empty] | 2006 | 7.4073 | 9.2118 | 2.9973 | 12320.8182 | 22
[7 empty] | 2007 | 7.8638 | 9.8769 | 3.3485 | 11768.4615 | 13
[7 empty] | 2008 | 8.4464 | 9.715 | 2.9214 | 11587 | 14
Sources | [6 empty] | 2009 | 9.9229 | 9.7236 | 3.0621 | 11641.6429 | 14
[1] | U.S. Energy Information Administration, Monthly Energy Review, Appendix A: British Thermal Unit Conversion Factors. | [5 empty] | Grand Total | 8.2351 | 9.7777 | 3.1337 | 11805.8734 | 79
https://www.eia.gov/totalenergy/data/monthly/pdf/mer_a.pdf
[1.1] | Source [1], Table A1. Approximate Heat Content of Petroleum and Other Liquids. Accessed 11/20/2019.
[1.2] | Source [1], Table A3. Approximate Heat Content of Petroleum Consumption and Fuel Ethanol. Note k. Accessed 11/20/2019.
[1.3] | Source [1]. Table A4. Approximate Heat Content of Natural Gas. Accessed 11/20/2019.
[2] | U.S. Environmental Protection Agency, Diesel Fuel Standards and Rulemakings. Accessed 11/20/2019.
https://www.epa.gov/diesel-fuel-standards/diesel-fuel-standards-and-rulemakings
[3] | Coal sample analysis by Summit Environmental Services, Inc., West Frankfurt, IL.
[4] | ASHRAE Handbook of Fundamentals, 2013, Chapter 38: Units and Conversions
[5] | U.S. EPA, Center for Corporate Climate Leadership, Direct Emissions from Mobile Combustion Sources, pg. 3.

## Plant
SIUC Steam Plant Production | [9 empty] | SIUC Steam Plant Consumption
Fiscal | Year Summary | [8 empty] | Fiscal | Year Summary
FY | #2 STEAM [kLB/YR] | #3 STEAM [kLB/YR] | #4 STEAM [kLB/YR] | #5 STEAM [kLB/YR] | TOTAL STEAM [kLB/YR] | Heating Degree Days [Base 65°F db] | Cooling Degree Days [Base 50°F wb] | Total Degree Days [°F] | Steam klb per Degree Day | FY | Stoker Coal [ton/y] | 2x0 Coal [ton/y] | Limestone [ton/y] | Natural Gas [therm/y] | Make-Up Water [gal/y]
2004 | 0 | 256652.056 | 22804.42 | 610957.84 | 890414.316 | 4147 | 3246.6752 | 7393.6752 | 120.4292 | 2004 | 11263.92 | 38884.86 | 10276.731 | 272412 | 11441528
2005 | 8361.89 | 127407.02 | 24235.629 | 641193.39 | 801197.929 | 4160 | 3023.8768 | 7183.8768 | 111.5272 | 2005 | 7010.26 | 42122.46 | 10828.4385 | 367140 | 11127549
2006 | 23407.262 | 184613.376 | 28502.679 | 596574.05 | 833097.367 | 4167 | 3316.5952 | 7483.5952 | 111.3231 | 2006 | 9999.246 | 38528.91 | 9029.0805 | 356620 | 11025711
2007 | 1321.298 | 92726.527 | 26609.405 | 647707.88 | 768365.11 | 4428 | 3039.9856 | 7467.9856 | 102.8879 | 2007 | 4424.97 | 42258.94 | 10413.34 | 361770 | 11148980
2008 | 62576.01 | 63730.892 | 25420.538 | 637393.036 | 789120.476 | 4505 | 2970.6464 | 7475.6464 | 105.5588 | 2008 | 6449.05 | 41673.97 | 9468.425 | 335340 | 9016790
2009 | 23093.796 | 150911.073 | 24647.64 | 600439.681 | 799092.19 | 4520 | 2987.3184 | 7507.3184 | 106.4418 | 2009 | 8827.28 | 39472.94 | 10025.729 | 317990 | 9266372
2010 | 20822.004 | 153086.031 | 31518.67 | 614085.88 | 819512.585 | 4490 | 3022.4624 | 7512.4624 | 109.0871 | 2010 | 8863.06 | 39958.46 | 9267.85 | 379360 | 10371775
2011 | 0 | 115678.277 | 20433.525 | 674255.31 | 810367.112 | 4643 | 3140.32 | 7783.32 | 104.1159 | 2011 | 5798.47 | 42376.56 | 9752.4 | 286420 | 11243841
2012 | 0 | 79183.799 | 36705.924 | 687531.02 | 803420.743 | 3543 | 3183.072 | 6726.072 | 119.4487 | 2012 | 3924.04 | 44090.74 | 10383.18 | 522601 | 9006349
2013 | 0 | 3490.309 | 92193.951 | 689040.8 | 784725.06 | 4528 | 2891.48 | 7419.48 | 105.7655 | 2013 | 186.17 | 43360.07 | 10344.532 | 1214840 | 9976478
2014 | 0 | 0 | 134962.405 | 705807.86 | 840770.265 | 5236 | 2997.7408 | 8233.7408 | 102.1128 | 2014 | 0 | 43406.43 | 10368.54 | 1766870 | 10639412
2015 | 1178.682 | 493.124 | 107830.047 | 680308.68 | 789810.533 | 4995 | 2874.6448 | 7869.6448 | 100.3616 | 2015 | 74.95 | 41176.45 | 9975.98 | 1444450 | 10466465
2016 | 0 | 465.382 | 85906.605 | 709808.61 | 796180.597 | 3838 | 3118.6544 | 6956.6544 | 114.4488 | 2016 | 24.94 | 42805.11 | 9919.57 | 1158984 | 10122738
2017 | 0 | 0 | 86837.909 | 720554.1 | 807392.009 | 3668.6 | 3566.7728 | 7235.3728 | 111.5896 | 2017 | 0 | 42682.34 | 10672.51 | 1166500 | 9294707
2018 | 0 | 0 | 95434.576 | 738837.68 | 834272.256 | 4649.7 | 3216.2808 | 7865.9808 | 106.0608 | 2018 | 0 | 44124.42 | 10533.24 | 1293310 | 8968949
2019 | 0 | 0 | 67956.297 | 700575.27 | 768531.567 | 4656 | 3123.2144 | 7779.2144 | 98.793 | 2019 | 0 | 42641.79 | 10181.9 | 932990 | 8285987

## Electricity
Electric Use (kWh)
FY | Cogen | Substation - MidAm ES | Substation - Ameren Energy Marketing | Mid-American | Ameren CIPS | Egyptian Electric | Ameren IP | Norris Electric | Tri-County Electric | S. IL. Electric Coop | Total Purchased | Total Use
2005 | 14604682 | 0 | 92517313 | 0 | 7615254 | 8923215 | 1392912 | 1659560 | 62930 | 90 | 112171274 | 126775956
2019 | 15742980 | 70372729 | 0 | 7921628 | 0 | 10719199 | 0 | 941600 | 65595 | 4799 | 90025550 | 105768530
Notes:
1. Cogenerated electricity is produced by the coal-fired steam boiler, not purchased, and so is excluded to avoid double counting.
Electric CO2 (MT)
FY | MidAmerican ES | Ameren CIPS | Ameren IP | SIPC | Norris | Total
2005 | #N/A | 90021.2952 | 844.1048 | 11854.1306 | 1720.1243 | 104439.6549
2019 | 31306.8046 | #N/A | #N/A | 12017.2393 | 968.9401 | 44292.984
Notes:
1. Electric CO2 emissions do not include equivalent emissions from other GHGs as this data is not available.
Note on D3: Harrell, Justin M: From Main Campus Electric spreadsheet. Verified against Laserfiche bill scans located in Annuals>AmerenCIPS. Note AEM billed kWh totals were slightly higher. Reason unknown. CIPS metering should be the primary source data.

## eGRID
USEPA eGRID Data Table Extract
| eGRID2016 Plant file sequence number | Plant state abbreviation | Plant name | DOE/EIA ORIS plant or facility code | Plant operator name | Plant operator ID | Utility service territory name | Utility service territory ID | Balancing Authority Name | Balancing Authority Code | NERC region acronym | eGRID subregion acronym | eGRID subregion name | Plant associated ISO/RTO Territory | Plant FIPS state code | Plant FIPS county code | Plant county name | Plant latitude | Plant longitude | Number of boilers | Number of generators | Plant primary fuel | Plant primary coal/oil/gas/ other fossil fuel category | Flag indicating if the plant burned or generated any amount of coal | Plant capacity factor | Plant nameplate capacity (MW) | Nonbaseload Factor | Biogas/ biomass plant adjustment flag | Combined heat and power (CHP) plant adjustment flag | CHP plant useful thermal output (MMBtu) | CHP plant power to heat ratio | CHP plant electric allocation factor | Plant pumped storage flag | Plant annual heat input from combustion (MMBtu) | Plant ozone season heat input from combustion (MMBtu) | Plant total annual heat input (MMBtu) | Plant total ozone season heat input (MMBtu) | Plant annual net generation (MWh) | Plant ozone season net generation (MWh) | Plant annual NOx emissions (tons) | Plant ozone season NOx emissions (tons) | Plant annual SO2 emissions (tons) | Plant annual CO2 emissions (tons) | Plant annual CH4 emissions (lbs) | Plant annual N2O emissions (lbs) | Plant annual CO2 equivalent emissions (tons) | Plant annual Hg emissions (lbs) | Plant annual NOx total output emission rate (lb/MWh) | Plant ozone season NOx total output emission rate (lb/MWh) | Plant annual SO2 total output emission rate (lb/MWh) | Plant annual CO2 total output emission rate (lb/MWh) | Plant annual CH4 total output emission rate (lb/MWh) | Plant annual N2O total output emission rate (lb/MWh) | Plant annual CO2 equivalent total output emission rate (lb/MWh) | Plant annual Hg total output emission rate (lb/MWh) | Plant annual NOx input emission rate (lb/MMBtu) | Plant ozone season NOx input emission rate (lb/MMBtu) | Plant annual SO2 input emission rate (lb/MMBtu) | Plant annual CO2 input emission rate (lb/MMBtu) | Plant annual Hg input emission rate (lb/MMBtu) | Plant annual NOx combustion output emission rate (lb/MWh) | Plant ozone season NOx combustion output emission rate (lb/MWh) | Plant annual SO2 combustion output emission rate (lb/MWh) | Plant annual CO2 combustion output emission rate (lb/MWh) | Plant annual CH4 combustion output emission rate (lb/MWh) | Plant annual N2O combustion output emission rate (lb/MWh) | Plant annual Hg combustion output emission rate (lb/MWh) | Plant unadjusted annual NOx emissions (tons) | Plant unadjusted ozone season NOx emissions (tons) | Plant unadjusted annual SO2 emissions (tons) | Plant unadjusted annual CO2 emissions (tons) | Plant unadjusted annual CH4 emissions (lbs) | Plant unadjusted annual N2O emissions (lbs) | Plant unadjusted annual Hg emissions (lbs) | Plant unadjusted annual heat input from combustion (MMBtu) | Plant unadjusted ozone season heat input from combustion (MMBtu) | Plant unadjusted total annual heat input (MMBtu) | Plant unadjusted total ozone season heat input (MMBtu) | Plant unadjusted annual NOx emissions source | Plant unadjusted ozone season NOx emissions source | Plant unadjusted annual SO2 emissions source | Plant unadjusted annual CO2 emissions source | Plant unadjusted annual CH4 emissions source | Plant unadjusted annual N2O emissions source | Plant unadjusted annual Hg emissions source | Annual heat input source | Ozone season heat input source | Plant nominal heat rate (Btu/kWh) | Plant annual coal net generation (MWh) | Plant annual oil net generation (MWh) | Plant annual gas net generation (MWh) | Plant annual nuclear net generation (MWh) | Plant annual hydro net generation (MWh) | Plant annual biomass net generation (MWh) | Plant annual wind net generation (MWh) | Plant annual solar net generation (MWh) | Plant annual geothermal net generation (MWh) | Plant annual other fossil net generation (MWh) | Plant annual other unknown/ purchased fuel net generation (MWh) | Plant annual total nonrenewables net generation (MWh) | Plant annual total renewables net generation (MWh) | Plant annual total nonhydro renewables net generation (MWh) | Plant annual total combustion net generation (MWh) | Plant annual total noncombustion net generation (MWh) | Plant coal generation percent (resource mix) | Plant oil generation percent (resource mix) | Plant gas generation percent (resource mix) | Plant nuclear generation percent (resource mix) | Plant hydro generation percent (resource mix) | Plant biomass generation percent (resource mix) | Plant wind generation percent (resource mix) | Plant solar generation percent (resource mix) | Plant geothermal generation percent (resource mix) | Plant other fossil generation percent (resource mix) | Plant other unknown / purchased fuel generation percent (resource mix) | Plant total nonrenewables generation percent (resource mix) | Plant total renewables generation percent (resource mix) | Plant total nonhydro renewables generation percent (resource mix) | Plant total combustion generation percent (resource mix) | Plant total noncombustion generation percent (resource mix)
Year | SEQPLT16 | PSTATABB | PNAME | ORISPL | OPRNAME | OPRCODE | UTLSRVNM | UTLSRVID | BANAME | BACODE | NERC | SUBRGN | SRNAME | ISORTO | FIPSST | FIPSCNTY | CNTYNAME | LAT | LON | NUMBLR | NUMGEN | PLPRMFL | PLFUELCT | COALFLAG | CAPFAC | NAMEPCAP | NBFACTOR | RMBMFLAG | CHPFLAG | USETHRMO | PWRTOHT | ELCALLOC | PSFLAG | PLHTIAN | PLHTIOZ | PLHTIANT | PLHTIOZT | PLNGENAN | PLNGENOZ | PLNOXAN | PLNOXOZ | PLSO2AN | PLCO2AN | PLCH4AN | PLN2OAN | PLCO2EQA | PLHGAN | PLNOXRTA | PLNOXRTO | PLSO2RTA | PLCO2RTA | PLCH4RTA | PLN2ORTA | PLC2ERTA | PLHGRTA | PLNOXRA | PLNOXRO | PLSO2RA | PLCO2RA | PLHGRA | PLNOXCRT | PLNOXCRO | PLSO2CRT | PLCO2CRT | PLCH4CRT | PLN2OCRT | PLHGCRT | UNNOX | UNNOXOZ | UNSO2 | UNCO2 | UNCH4 | UNN2O | UNHG | UNHTI | UNHTIOZ | UNHTIT | UNHTIOZT | UNNOXSRC | UNNOZSRC | UNSO2SRC | UNCO2SRC | UNCH4SRC | UNN2OSRC | UNHGSRC | UNHTISRC | UNHOZSRC | PLHTRT | PLGENACL | PLGENAOL | PLGENAGS | PLGENANC | PLGENAHY | PLGENABM | PLGENAWI | PLGENASO | PLGENAGT | PLGENAOF | PLGENAOP | PLGENATN | PLGENATR | PLGENATH | PLGENACY | PLGENACN | PLCLPR | PLOLPR | PLGSPR | PLNCPR | PLHYPR | PLBMPR | PLWIPR | PLSOPR | PLGTPR | PLOFPR | PLOPPR | PLTNPR | PLTRPR | PLTHPR | PLCYPR | PLCNPR
2019 | 3308 | IL | Marion | 976 | Southeastern IL Elec Coop, Inc | 17585 | Southern Illinois Power Coop | 17632 | Midcontinent Independent Transmission System Operator, Inc.. | MISO | SERC | SRMW | SERC Midwest | MISO | 17 | 199 | Williamson | 37.6197 | -88.9531 | 4 | 4 | BIT | COAL | Yes | 0.44771 | 422 | 0.58715 | [6 empty] | 21839992.593 | 9987203.405 | 21839992.593 | 9987203.405 | 1655061 | 750775 | 915.687 | 406.439 | 3699.366 | 2306651.1 | 463348.829 | 67396.234 | 2321962.679 | -- | 1.107 | 1.083 | 4.47 | 2787.391 | 0.28 | 0.041 | 2805.894 | -- | 0.084 | 0.081 | 0.339 | 211.232 | -- | 1.107 | 1.083 | 4.47 | 2787.391 | 0.28 | 0.041 | -- | 915.687 | 406.439 | 3699.366 | 2306651.1 | 463348.829 | 67396.234 | -- | 21839992.593 | 9987203.405 | 21839992.593 | 9987203.405 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | n/a | EPA/CAMD | EPA/CAMD | 13195.884 | 1650453.7 | 1140.002 | 3467.264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1655060.966 | 0 | 0 | 1655060.966 | 0 | 99.7216 | 0.06888 | 0.20949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 100 | 0
2019 | 3328 | IL | Newton | 6017 | Ameren Illinois Company | 56697 | Illinois Power Generating Co | 520 | Midcontinent Independent Transmission System Operator, Inc.. | MISO | SERC | SRMW | SERC Midwest | MISO | 17 | 079 | Jasper | 38.9361 | -88.2781 | 2 | 2 | RC | COAL | Yes | 0.30788 | 1234.8 | 0.82021 | [6 empty] | 36018004.954 | 18181795.86 | 36018004.954 | 18181795.86 | 3330258 | 1669336 | 1618.483 | 847.128 | 7742.898 | 3777566.554 | 85680.896 | 127534.496 | 3798234.05 | -- | 0.972 | 1.015 | 4.65 | 2268.633 | 0.026 | 0.038 | 2281.045 | -- | 0.09 | 0.093 | 0.43 | 209.76 | -- | 0.972 | 1.015 | 4.65 | 2268.633 | 0.026 | 0.038 | -- | 1618.483 | 847.128 | 7742.898 | 3777566.554 | 85680.896 | 127534.496 | -- | 36018004.954 | 18181795.86 | 36018004.954 | 18181795.86 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | n/a | EPA/CAMD | EPA/CAMD | 10815.3798 | 3320361 | 9896.985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3330257.985 | 0 | 0 | 3330257.985 | 0 | 99.7028 | 0.29718 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 100 | 0
2019 | 3343 | IL | Pioneer Trail Wind Farm, LLC | 57675 | Ameren Illinois Company | 56697 | E ON Climate Renewables N America LLC | 56215 | Midcontinent Independent Transmission System Operator, Inc.. | MISO | SERC | SRMW | SERC Midwest | MISO | 17 | 075 | Iroquois | 40.4641 | -88.0215 | 0 |  | WND | WIND |  | 0.32593 | 150.4 | [9 empty] | 3964313 | 1028888 | 429410 | 111448 |  |  |  | 0 | 0 | 0 | 0 | -- |  |  |  | 0 | 0 | 0 | 0 | -- |  |  |  |  | -- | [6 empty] | -- |  |  |  | 0 | 0 | 0 | -- | 0 | 0 | 3964313 | 1028888 |  |  |  | EIA | EIA | EIA | n/a | EIA | EIA |  | 0 | 0 | 0 | 0 | 0 | 0 | 429410 | 0 | 0 | 0 | 0 | 0 | 429410 | 429410 | 0 | 429410 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 0 | 100
2019 | 3346 | IL | Prairie State Generating Station | 55856 | Ameren Illinois Company | 56697 | Prairie State Generating Co LLC | 15330 | Midcontinent Independent Transmission System Operator, Inc.. | MISO | SERC | SRMW | SERC Midwest | MISO | 17 | 163 | St Clair | 38.2792 | -89.6669 | 2 |  | BIT | COAL | Yes | 0.68643 | 1766 | 0.18929 | [6 empty] | 111772257.275 | 54940979.145 | 111772257.275 | 54940979.145 | 10619157 | 5154691 | 3547.349 | 1729.125 | 8630.585 | 11467828.908 | 2407442.993 | 350143.8 | 11547379.348 | -- | 0.668 | 0.671 | 1.625 | 2159.838 | 0.227 | 0.033 | 2174.82 | -- | 0.063 | 0.063 | 0.154 | 205.2 | -- | 0.668 | 0.671 | 1.625 | 2159.838 | 0.227 | 0.033 | -- | 3547.349 | 1729.125 | 8630.585 | 11467828.908 | 2407442.993 | 350143.8 | -- | 111772257.275 | 54940979.145 | 111772257.275 | 54940979.145 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | n/a | EPA/CAMD | EPA/CAMD | 10525.5305 | 10587579 | 0 | 31577.648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10619156.648 | 0 | 0 | 10619156.648 | 0 | 99.7026 | 0 | 0.29736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 100 | 0
2005 | 1742 | IL | Marion | 976 | Southern Illinois Power Coop | 17632 |  | 0 |  |  | SERC | SRMW | SERC Midwest |  | 17 | 199 | Williamson | 37.6206 | -88.955 | 4 | 6 | BIT | COAL | 1 | 0.4965 | 422 |  | 0 | 0 | 0 | 0 | 0 | 0 | 27431067 | 12562739 |  |  | 1835312 | 821901 | 4480.101 | 505.856 | 7211.294 | 2889570.187 | 63804.661 | 94877.708 |  | 121.4028 | 4.8821 | 1.2309 | 7.8584 | 3148.8599 | 0.034765 | 0.051696 |  | 6.61e-05 | 0.3266 | 0.0805 | 0.5258 | 210.6787 | 0.0044 | 4.8821 | 1.2309 | 7.8584 | 3148.8599 | 34.765 | 51.6957 | 0.0661 | 4480.101 | 505.856 | 7211.294 | 2889570.187 | 63804.661 | 94877.708 | 121.4028 | 27431067 | 12562739 | [11 empty] | 14946.2691 | 1726754 | 89326 | 19232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1835312 | 0 | 0 | 1835312 | 0 | 94.085 | 4.8671 | 1.0479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 100 | 0
2005 | 1754 | IL | Newton | 6017 | AmerenEnergy Resources | -1349 | AmerenCIPS | 3253 |  |  | SERC | SRMW | SERC Midwest |  | 17 | 079 | Jasper | 38.9361 | -88.2778 | 2 | 2 | SUB | COAL | 1 | 0.6746 | 1234.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 81260939 | 35900710 |  |  | 7297242 | 3127603 | 5049.707 | 2200.696 | 21049.62 | 8337375.625 | 189012.944 | 283519.416 |  | 334.392 | 1.384 | 1.4073 | 5.7692 | 2285.0758 | 0.025902 | 0.038853 |  | 4.58e-05 | 0.1243 | 0.1226 | 0.5181 | 205.2001 | 0.0041 | 1.384 | 1.4073 | 5.7692 | 2285.0758 | 25.902 | 38.853 | 0.0458 | 5049.707 | 2200.696 | 21049.62 | 8337375.625 | 189012.944 | 283519.416 | 334.392 | 81260939 | 35900710 | [11 empty] | 11135.8427 | 7290695 | 6547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7297242 | 0 | 0 | 7297242 | 0 | 99.9103 | 0.0897 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 100 | 0
2019 | 3735 | KY | Barkley | 1371 | Tennessee Valley Authority | 18642 | USCE-Nashville District | 19462 | Tennessee Valley Authority | TVA | SERC | SRTV | SERC Tennessee Valley |  | 21 | 143 | Lyon | 37.0217 | -88.2211 | 0 |  | WAT | HYDRO |  | 0.4268 | 130 | [9 empty] | 4487121 | 2111802 | 486040 | 228748 |  |  |  | 0 | 0 | 0 | 0 | -- |  |  |  | 0 | 0 | 0 | 0 | -- |  |  |  |  | -- | [6 empty] | -- |  |  |  | 0 | 0 | 0 | -- | 0 | 0 | 4487121 | 2111802 |  |  |  | EIA | EIA | EIA | n/a | EIA | EIA |  | 0 | 0 | 0 | 0 | 486040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 486040 | 0 | 0 | 486040 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 100
2005 | 1991 | KY | Barkley | 1371 | USCE-Nashville District | 19462 |  | 0 |  |  | SERC | SRTV | SERC Tennessee Valley |  | 21 | 143 | Lyon | 37.0208 | -88.0908 | 0 | 4 | WAT |  | 0 | 0.6192 | 130 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 705109 | 312092 | 0 | 0 | 0 | 0 | 0 | 0 |  | N/A | 0 | 0 | 0 | 0 | 0 | 0 |  | N/A | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 705109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 705109 | 0 | 0 | 705109 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 100
Note: 2016 data, the most recent eGRID data available, is used for FY2019 emissions factor calculation.
SIPC Plant Generation-Share-Weighted Emission Rates & Resource Mix
year | plant | ORIS | Share | MWh | Total MWh | %MWh | CO2 (lb/MWh) | NOx (lb/MWh) | SO2 (lb/MWh) | CH4 (lb/MWh) | Biomass | Coal | Hydro | Natural Gas | Nuclear | Oil | Solar | Wind | Other | Unknown
2019 | Marion | 976 | 100% | 1655061 | 2539936.8208 | 65.16% | 1816.3059 | 0.72134 | 2.9127 | 0.18245 | 0% | 64.98% | 0% | 0.1365% | 0% | 0.04488% | 0% | 0% | 0% | 0%
2019 | Prairie St. | 55856 | 7.078% | 751639.0855 | 2539936.8208 | 29.59% | 639.1571 | 0.19768 | 0.48088 | 0.067176 | 0% | 29.5% | 0% | 0.088% | 0% | 0% | 0% | 0% | 0% | 0%
2019 | Barkley | 1371 | 21.54% | 104685.5385 | 2539936.8208 | 4.122% | 0 | 0 | 0 | 0 | 0% | 0% | 4.122% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2019 | Pioneer | 57675 | 6.649% | 28551.1968 | 2539936.8208 | 1.124% | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.124% | 0% | 0%
2005 | Marion | 976 | 100% | 1835312 | 1987181.6308 | 92.36% | 2908.2094 | 4.509 | 7.2578 | 0.032108 | 0% | 86.89% | 0% | 0.9678% | 0% | 4.495% | 0% | 0% | 0% | 0%
2005 | Barkley | 1371 | 21.54% | 151869.6308 | 1987181.6308 | 7.642% | 0 | 0 | 0 | 0 | 0% | 0% | 7.642% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Notes:
1 | Plant generation share equal to capacity share times plant total generation.
2 | Generation shares are used to weight plant emissions factors.
3 | eGRID 2016 is the most recent data available

## CO2
Default Emission Factors and High Heat Values for Various Types of Fuel [1] | [6 empty] | Electricity Sources (%) and Emissions (lb/MWh) Disclosures
Fuel | HHV (MMBtu/unit) | HHV Unit | CO2 (kg/MMBtu) | CH4 (g/MMBtu) | N2O (g/MMBtu) | CO2e (kg/MMBtu) | FY | Supplier | CO2 | NOx | SO2 | CH4 | Biomass | Coal | Hydro | Natural Gas | Nuclear | Oil | Solar | Wind | Other | Unknown | Check | Source
Bituminous Coal | 24.93 | ton | 93.28 | 11 | 1.6 | 94.012 | 2019 | MidAmerican Energy Services | 881.54 | 0.48 | 0.64 |  | 0% | 28% | 1% | 37% | 26% | 0% | 0% | 7% | 1% | 0% | 100% | [2]
Fuel Oil #2 | 0.138 | gal | 73.96 | 3 | 0.6 | 74.203 | 2018 | MidAmerican Energy Services | 945.1 | 0.61 | 0.74 |  | 0% | 32% | 1% | 33% | 26% | 0% | 0% | 6% | 2% | 0% | 100% | [2]
Biodiesel | 0.128 | gal | 73.84 | 1.1 | 0.11 | 73.9 | 2017 | MidAmerican Energy Services | 990.48 | 0.74 | 1.13 |  | 0% | 35% | 1% | 30% | 28% | 0% | 0% | 5% | 1% | 0% | 100% | [2]
Gasoline | 0.125 | gal | 70.22 | 3 | 0.6 | 70.463 | 2016 | MidAmerican Energy Services | 956.51 | 0.71 | 1.25 |  | 0% | 34% | 1% | 29% | 31% | 0% | 0% | 4% | 1% | 0% | 100% | [2]
Ethanol | 0.084 | gal | 68.44 | 1.1 | 0.11 | 68.4999 | 2015 | MidAmerican Energy Services | 1061.6 | 0.83 | 1.96 |  | 0% | 40% | 1% | 24% | 30% | 0% | 0% | 4% | 1% | 0% | 100% | [2]
Propane | 0.091 | gal | 62.87 | 3 | 0.6 | 63.113 | 2014 | MidAmerican Energy Services | 1130.3 | 0.955 | 2.275 |  | 0% | 43.5% | 1% | 21% | 29.5% | 0% | 0% | 4% | 1% | 0% | 100% | [2]
Natural Gas | 0.001026 | scf | 53.06 | 1 | 0.1 | 53.1145 | 2013 | MidAmerican Energy Services | 1112.8 | 0.98 | 2.28 |  | 0% | 45% | 1% | 20% | 29% | 0% | 0% | 4% | 1% | 0% | 100% | [2]
E-10 | 0.12033 | gal | 70.0954 | 2.8669 | 0.56569 | 70.3255 | 2012 | MidAmerican Energy Services | 1102.3 | 0.98 | 2.81 |  | 0% | 45% | 0% | 21% | 28% | 0% | 0% | 5% | 1% | 0% | 100% | [2]
E-85 | 0.09468 | gal | 69.0477 | 1.7487 | 0.2773 | 69.1702 | 2011 | MidAmerican Energy Services | 1165.9 | 1 | 4.15 |  | 0% | 49% | 1% | 17% | 28% | 1% | 0% | 3% | 1% | 0% | 100% | [2]
[7 empty] | 2010 | MidAmerican Energy Services | 1136.5 | 1.68 | 5.91 |  | 0% | 51% | 2% | 12% | 30% | 1% | 0% | 2% | 1% | 1% | 100% | [2]
Notes: | [6 empty] | 2009 | MidAmerican Energy Services | 1172.8 | 1.75 | 6.17 |  | 0% | 43% | 1% | 7% | 22% | 7% | 0% | 1% | 1% | 18% | 100% | [2]
1. Ethanol blend emissions factors calculated from gasoline and ethanol (this table) using energy fraction of each assuming ethanol volume fractions of 10% for E-10 and 74% for E-85. Heat factors by volume looked up from Heat table. | [6 empty] | 2008 | MidAmerican Energy Services | 1251.8 | 2.21 | 7.99 |  | 0% | 47% | 1% | 4% | 28% | 0% | 0% | 0% | 1% | 19% | 100% | [2]
[7 empty] | 2007 | MidAmerican Energy Services | 1513.1 | 1.88 | 4.53 |  | 0% | 55% | 0% | 4% | 17% | 0% | 0% | 5% | 0% | 19% | 100% | [2]
[7 empty] | 2005 | Ameren CIPS | 1982 | 1.71 | 7.795 |  | 0% | 97.5% | 0% | 0.5% | 0% | 0% | 0% | 0% | 0% | 2% | 100% | [2]
Chemical GWP Metrics [5] | [6 empty] | 2005 | Ameren IP | 1336 | 0.9 | 3.51 |  | 0% | 65% | 0% | 1% | 31% | 0% | 0% | 0% | 0% | 3% | 100% | [2]
Name | Formula | Lifetime | GWP100 |  |  |  | 2019 | Southern Illinois Power Coop | 2455.463 | 0.91902 | 3.3936 | 0.24963 | 0% | 94.48% | 4.122% | 0.2245% | 0% | 0.04488% | 0% | 1.124% | 0% | 0% | 100% | [3], [4]
Carbon dioxide | CO2 | NA | 1 |  |  |  | 2005 | Southern Illinois Power Coop | 2908.2094 | 4.509 | 7.2578 | 0.032108 | 0% | 86.89% | 7.642% | 0.9678% | 0% | 4.495% | 0% | 0% | 0% | 0% | 100% | [3], [4]
Carbon monoxide | CO | NA | 1.692 |  |  |  | 2019 | Norris Coop | 2268.633 | 0.972 | 4.65 | 0.026 | 0% | 99.7% | 0% | 0% | 0% | 0.2972% | 0% | 0% | 0% | 0% | 100% | [3]
Methane | CH4 | 12.4 | 28 |  |  |  | 2005 | Norris Coop | 2285.0758 | 1.384 | 5.7692 | 0.025902 | 0% | 99.91% | 0% | 0% | 0% | 0.0897% | 0% | 0% | 0% | 0% | 100% | [3]
Nitrogen Oxides | NOx |  | -7.708
Nitrous Oxide | N2O | 121 | 265 |  |  |  | Notes:
HCFC-22 | CHClF2 | 11.9 | 1662 |  |  |  | 1. Norris Coop assumed to be 100% supplied by Newton plant, ORIS code 6017.
HFC-32 | CH2F2 | 5.2 | 677 |  |  |  | 2. Ameren Energy Marketing's Environmental Disclosures are not available from the ICC. AEM supplied electricity is assumed to have the same sources and emissions as AmerenCIPS for the same time period.
HFC-125 | CHF2CF3 | 28.2 | 3170 |  |  |  | 3. Southern Illinois Power Coop supplies electricity to Egyptian Electric, Tri-County, and Southern Illinois Electric Cooperatives.
HFC-134a | CH2FCF3 | 13.4 | 1300 |  |  |  | 4. 2016 data, the most recent eGRID data available, is used for FY2019 emissions factor calculation for SIPC and Norris.
HFC-143a | CH3CF3 | 47.1 | 4800
HFC-404a | 125/143a/134a (44/52/4) |  | 3942.8
HFC-410a | 32/125 (50/50) |  | 1923.5
Southern Illinois Power Cooperative Sources [4] (11/26/2019)
Plant | ORIS code | Share | Unit
Marion Plant | 976 | 422 | MW
Prairie State | 55856 | 125 | MW
Barkley Dam | 1371 | 28 | MW
Pioneer Trail | 57675 | 10 | MW
Sources:
[1] | U.S. EPA, Center of Corporate Climate Leadership, GHG Emissions Factors Hub, March 2018.
[2] | https://www.icc.illinois.gov/industry-reports/environmental-disclosure
[3] | U.S. EPA, Emissions & Generation Resource Integrated Database (eGRID)
[4] | https://www.sipower.org/power-supply/
[5] | IPCC, AR5, Climate Change 2013: The Physical Science Basis, Ch.8, App. 8.A: Lifetimes, Radiative Efficiencies and Metric Values
https://www.ipcc.ch/site/assets/uploads/2018/02/WG1AR5_Chapter08_FINAL.pdf
Note on G2: Harrell, Justin M: CO2e combines the CO2, CH4, and N2O emissions factors using the 100-year global warming potential factors (GWP100) from the table below.
Note on I8: Harrell, Justin M: Year end 6/30/2014 report unavailable. Data averaged across year end 3/31/2014 and 9/30/2014 reports.
Note on I16: Harrell, Justin M: Year end 6/30/2005 report unavailable. Data averaged across year end 3/31/2005 and 9/30/2005 reports.
Note on D20: Harrell, Justin M: Table 8.A.4
Note on D22: Harrell, Justin M: Table 8.A.3
Note on D24: Harrell, Justin M: Includes indirect GWP100 reduction due to ozone depletion. (Table 8.A.2)