## Formula Worksheet_Energy
ENERGY Portion of Survey: | Consumption | Units |  | MMBtu
Grid Purchased Electricity - Baseline Year (FY10/11) | 36738876 | kWh |  | 125353.0449
Grid Purchased Electricity - Performance Year (FY15/16) | 33557450 | kWh |  | 114498.0194
Produced/Consumed
District (on-site) Steam/Hot Water - Baseline Year (FY10/11) | 277743466 | Lbs. |  | 331625.6984
District (on-site) Steam/Hot Water - Performance Year (FY15/16) | 267118000 | Lbs. |  | 318938.892
District = produce steam/hot water from central plant
Energy from all other sources - Baseline Year (FY10/11) | 363025 | Dthm | 363025
Energy from all other sources - Performance Year (FY15/16) | 313727 | Dthm | 313727
Natural Gas = Heating Plant
Energy from all other sources - Baseline Year (FY10/11) | 262863 | Therm | 26286.3
Energy from all other sources - Performance Year (FY15/16) | 216858 | Therm | 21685.8
Domestic Gas
TOTAL - Energy all other sources - Baseline Year (FY10/11) |  |  |  | 389311.3
TOTAL - Energy all other sources - Performance Year (FY15/16) |  |  |  | 335412.8
TOTAL MMBtu Baseline Year (FY10/11) |  |  |  | 846290.0433
TOTAL MMBtu Performance Year (15/16) |  |  |  | 768849.7114
Source Site Ratio for grid-purchased electricity | 1
Degree Days - Performance Year (FY15/16)
Heating | 8414
Cooling | 268
8682
Degree Days - Baseline Year (FY10/11)
Heating | 9032
Cooling | 274
9306
Baseline Year:
Total Building Energy Consumption (source energy): | (A x B) +C + (D X E) + F | = |  | 1180870.6991
A= Grid Purchased Electricity (MMBtu) | 125353.0449
B=Source-Site Ratio for Grid Purchased Electricity | 3.14
C=Electricity from On-Site renewables | 0
D=District Steam/Hot Water | 331625.6984
E=Source-Site Ratio for Grid Purchased District Steam/Hot Water | 1.2
F=Energy from All Other Sources | 389311.3
Performance Year: | (A x B) +C + (D X E) + F | = |  | 1077663.2513
A= Grid Purchased Electricity (MMBtu) | 114498.0194
B=Source-Site Ratio for Grid Purchased Electricity | 3.14
C=Electricity from On-Site renewables | 0
D=District Steam/Hot Water | 318938.892
E=Source-Site Ratio for Grid Purchased District Steam/Hot Water | 1.2
F=Energy from All Other Sources | 335412.8
Part 1: Points Earned: | 6 x (((A/B)-(C/D))/(A/B)) | = |  | 0.3616
A=Total Building Energy Consumption (source energy), baseline year | 1180870.6991
B=Gross square feet of building space, baseline year | 3483468
C=Total building energy consumption (source energy), performance year | 1077663.2513
D=Gross square feet of building space, performance year | 3382891
Part 2: Points Earned: | 3.5 x ((A)-((B/C)/D))/A | = |  | 3.5
A=Minimum performance threshold (MMBtu per square foot/degree day) | 0.00013369
B=total building energy consumption (site energy), performance year | 0
C=EUI-adjusted floor area, performance year (gross square foot) | 132438
D=Total degree days, performance year (heating + cooling) | 8682
Total Points Earned |  |  |  | 3.8616

## Formula Worksheet_Renewable
CLEAN AND RENEWABLE ENERGY Portion of Survey:
Performance Year FY13/14 |  |  | Mbtu
A. | Total Electricity (kWh) | 33911679 | 115706.6487 |  |  | Gas Breakdown: |  | therm | dthm
B. | Total Natural Gas (Dthm) | 478098 | 478098 |  |  | Domestic = |  | 278036 | 27803.6
| Total Wood (Tons) | 53723120 | 325868 |  |  | Heating Plant = |  |  | 450294
| TOTAL ENERGY CONSUMED |  | 919672.6487 | [5 empty] | 478097.6
| Total Clean Renewable Energy Generated On-Site | 954560 | 3256.9587
| Non-Electric Renewable Source (Steam) Produced | 295582000 | 295582
298838.9587
Points
|  | Factor |  | Energy Generated |  |  |  | Total Energy Consumption |  | Earned
| Option 1: Total Clean Renewable Energy Generated | 4 | X | 3256.9587 | = | 13027.8349 | ÷ | 919672.6487 | = | 0.014166
| Option 2: Non-Electric Renewable Source (Steam) | 4 | X | 295582 | = | 1182328 | ÷ | 919672.6487 | = | 1.2856
[9 empty] | TOTAL POINTS EARNED | 1.2998

## Summary Worksheet
SUMMARY WORKSHEET:
COST
| Electrical | Water | Domestic Fuel | Total Fuel (includes Natural Gas, Oil & Wood) | TOTAL
2015-2016 | 3517734 | 991989 | 132873 | 1414604 | 6057200
2014-2015 | 3230903 | 966274 | 199118 | 2004080 | 6400375
2013-2014 | 3095520 | 1029730 | 206618 | 2887796.85 | 7219664.85
2012-2013 | 2977988 | 918335.91 | 164953 | 2075862.2 | 6137139.11
2011-2012 | 2983324.22 | 979842 | 175455 | 2064310.21 | 6202931.43
2010-2011 | 2772646 | 851383 | 241566.78 | 2624222.52 | 6489818.3
2009-2010 | 2841618 | 733148 | 182673 | 2970007 | 6727446
2008-2009 | 2865966.63 | 634328.79 | 294534.89 | 4350016.13 | 8144846.44
2007-2008 | 2847288 | 667460 | 280898 | 3477184 | 7272830
2006-2007 | 2428026 | 663065 | 263617 | 3124912 | 6479620
2005-2006 | 2391782 | 671570 | 237156 | 4054140 | 7354648
2004-2005 | 2316971 | 594732 | 195727 | 3119328 | 6226758
2003-2004 | 2054311 | 624799 | 184348 | 1868037 | 4731495
Total | 36324077.85 | 10326656.7 | 2759537.67 | 36034499.91 | 85444772.13
13 year Average | 2794159.8346 | 794358.2077 | 212272.1285 | 2771884.6085 | 6572674.7792
Comsumption
| Electric/kWh | Water / CCF | Domestic Fuel/Thm | Total Fuel/MMBtu |  | Note:
2015-2016 | 33557450 | 87441 | 216858 | 313727 |  | Recording "billed" consumption starting in 2015/2016 to match monthly reporting
2014-2015 | 29170529 | 77673 | 245185 | 399094 |  | Billed Consumption in 2014/2015 = 33,613,103 kWh, 90,188 CCF
2013-2014 | 29753476 | 78599 | 278036 | 450294 |  | Billed Consumption in 2013/2014 = 33,910,465 kWh, 100,481 CCF
2012-2013 | 33439569 | 94618 | 241593 | 321664 |  | Billed Consumption in 2012/2013 = 33,439,713 kWh
2011-2012 | 35555154 | 106066 | 233722 | 320992 |  | Billed Consumption in 2011/2012 = 35,582,004 kWh
2010-2011 | 33587341 | 98338 | 262863 | 363025 |  | Billed Consumption in 2010/2011 = 36,738,876 kWh
2009-2010 | 37938940 | 106518 | 226023 | 359098 |  | Billed Consumption in 2009/2010 = 37,622,627 kWh
2008-2009 | 40059655 | 106793 | 262698 | 388777 |  | Billed Consumption in 2008/2009 = N/A, 105,961 CCF
2007-2008 | 41295864 | 129601 | 248704 | 376255 |  | Billed Consumption in 2007/2008 = N/A
2006-2007 | 41444887 | 114484 | 228623 | 367314 |  | Billed Consumption in 2006/2007 = N/A
2005-2006 | 41819682 | 125468 | 198193 | 355959 |  | Billed Consumption in 2005/2006 = N/A
2004-2005 | 41273883 | 120277 | 210598 | 413610 |  | Billed Consumption in 2004/2005 = N/A
2003-2004 | 39358295 | 122245 | 225259 | 382095 |  | Billed Consumption in 2003/2004 = N/A
Total | 478254725 | 1368121 | 3078355 | 4811904
13 year Average | 36788825 | 105240.0769 | 236796.5385 | 370146.4615
| Electrical Usage Change % | Water Usage Change % | Domestic Fuel Usage Change % | Total Fuel Usage Change %
2015-2016 | 15.04% | 12.58% | -11.55% | -21.39%
2014-2015 | -1.959% | -1.178% | -11.82% | -11.37%
2013-2014 | -11.02% | -16.93% | 15.08% | 39.99%
2012-2013 | -5.95% | -10.79% | 3.368% | 0.2094%
2011-2012 | 5.859% | 7.859% | -11.09% | -11.58%
2010-2011 | -11.47% | -7.679% | 16.3% | 1.094%
2009-2010 | -5.294% | -0.2575% | -13.96% | -7.634%
2008-2009 | -2.994% | -17.6% | 5.627% | 3.328%
2007-2008 | -0.3596% | 13.2% | 8.783% | 2.434%
2006-2007 | -0.8962% | -8.754% | 15.35% | 3.19%
2005-2006 | 1.322% | 4.316% | -5.89% | -13.94%
2004-2005 | 4.867% | -1.61% | -6.509% | 8.248%
% change is from the previous year

## Biomass Data_FY1516
CONVERSION KEY: | MMBtu = Thousand, Thousand Btu's (or) Million Btu's (MBtu)
Dthm = also equals an MMBtu (or Mbtu)
kWh = 3,412 Btu's (x 1,000 = MMBtu (or MBtu))
Gallon/#2 Fuel Oil x .141 = MMBtu (or MBtu)
MMBtu formula for wood = (8500 x (1- Moisture%)) x # of wood /1,000,000
HEATING PLANT FUEL DATA |  | Note: Corrected using new
| JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | TOTAL
Average Moisture Content | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 22.6% | 0% | 0% | 0% | 0% | 1.883%
Wood Consumed/lbs. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1584080 | 0 | 0 |  |  | 1584080
Wood Consumbed/Tons | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 792 | 0 | 0 | 0 | 0 | 792
MMBtu Wood Consumed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10421.6623 | 0 | 0 | 0 | 0 | 10421.6623
Wood Cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35641.8 | 0 | 0 | 0 | 0 | 35641.8
MMBtu $/Wood (Net) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.42 | 0 | 0 | 0 | 0 | 3.42
MMBtu Gas Consumed (off bill) | 18618 | 19210 | 20108 | 23671 | 27068 | 31936 | 41686 | 32537 | 33288 | 29452 | 18722 | 17430 | 313726
Gas Cost | 77937.36 | 79477.71 | 85913.43 | 100259.89 | 123878.94 | 150565.6 | 186889.26 | 159462.35 | 148723.23 | 121861.48 | 78276.22 | 69876.91 | 1383122.38
MMBtu $/Gas (Net) | 4.1861 | 4.1373 | 4.2726 | 4.2356 | 4.5766 | 4.7146 | 4.4833 | 4.901 | 4.4678 | 4.1376 | 4.181 | 4.009 | 4.3585 | Avg.
Dthm Gas/off bill | 3.54 | 3.54 | 3.65 | 3.63 | 3.83 | 3.97 | 3.76 | 3.76 | 3.73 | 3.64 | 3.54 | 3.36 | 3.6625 | Avg.
Oil Consumed (Gallons) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MMBtu/Oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Oil Cost (FIFO Method) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MMBtu $/Oil (Net) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Avg.
Total Fuel Cost | 77937.36 | 79477.71 | 85913.43 | 100259.89 | 123878.94 | 150565.6 | 186889.26 | 195104.15 | 148723.23 | 121861.48 | 78276.22 | 69876.91 | 1418764.18
Total Combined MMBtu Consumed | 18618 | 19210 | 20108 | 23671 | 27068 | 31936 | 41686 | 42958.6623 | 33288 | 29452 | 18722 | 17430 | 324147.6623
Total MMBtu $/Cost | 4.1861 | 4.1373 | 4.2726 | 4.2356 | 4.5766 | 4.7146 | 4.4833 | 4.5417 | 4.4678 | 4.1376 | 4.181 | 4.009 | 4.3286 | Avg.
Total Steam: Gas Boilers (MMBtu) | 16539000 | 17025000 | 17826000 | 20961000 | 20923000 | 25014000 | 34055000 | 26219000 | 26844000 | 23887000 | 17187000 | 15299000 | 261779000
Total Steam: Wood Boiler (MMBtu) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5339000 | 0 | 0 | 0 | 0 | 5339000
Total MMBtu of Steam Produced | 16539000 | 17025000 | 17826000 | 20961000 | 20923000 | 25014000 | 34055000 | 31558000 | 26844000 | 23887000 | 17187000 | 15299000 | 267118000
Total Cost per Pound of Steam | 4.7123e-06 | 4.6683e-06 | 4.8196e-06 | 4.7832e-06 | 5.9207e-06 | 6.0193e-06 | 5.4879e-06 | 6.1824e-06 | 5.5403e-06 | 5.1016e-06 | 4.5544e-06 | 4.5674e-06 | 5.3114e-06
Electricity Used:
Old Plant kWh | 59418 | 59418 | 58829 | 52394 | 50238 | 53848 | 59014 | 60280 | 55212 | 52113 | 49309 | 45826 | 655899
New Plant kWh | 13641 | 13641 | 10607 | 4663 | 1935 | 3501 | 11783 | 40287 | 3668 | 1929 | 569 | 451 | 106675
Electricity Produced kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Electricity Consumed/Produced (-) | 73059 | 73059 | 69436 | 57057 | 52173 | 57349 | 70797 | 100567 | 58880 | 54042 | 49878 | 46277 | 762574
Est. Cost at .096 per kWh | 7057.4994 | 7890.372 | 6665.856 | 5648.643 | 5217.3 | 6078.994 | 7646.076 | 10458.968 | 6341.376 | 5977.0452 | 5137.434 | 4766.531 | 78886.0946
Total Fuel and Electrical Cost | 84994.8594 | 87368.082 | 92579.286 | 105908.533 | 129096.24 | 156644.594 | 194535.336 | 205563.118 | 155064.606 | 127838.5252 | 83413.654 | 74643.441 | 1497650.2746
Past Steam Production (lbs.) | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE
FY2014/2015 | 15750000 | 15807000 | 17287000 | 21104000 | 31263000 | 41952000 | 31303000 | 40115000 | 31741000 | 23957000 | 17619000 | 23525000
FY2013/2014 | 12191000 | 10568000 | 17682000 | 21034000 | 21732000 | 36116000 | 42578000 | 37917000 | 37030000 | 26709000 | 17639000 | 14386000
FY2012/2013 | 12738000 | 13423000 | 16651000 | 20104000 | 24475000 | 29368000 | 34475000 | 32148600 | 30678000 | 23214000 | 14746000 | 14468000
FY2011/2012 | 18673000 | 17534000 | 20466000 | 21442000 | 22829000 | 29350000 | 31372000 | 28044000 | 22007000 | 20810000 | 14332000 | 13151000
FY2010/2011 | 21522000 | 20994000 | 22005000 | 22754000 | 24208000 | 31848000 | 36034000 | 30336000 | 29692300 | 22278000 | 15679000 | 18113000
FY2010/2009 | 22940000 | 22813000 | 24244000 | 23065000 | 23476000 | 29577000 | 29669000 | 27403300 | 25159000 | 18573000 | 16473000 | 18907000
Past Steam Production (MMBtu)
FY2014/2015 | 15750 | 15807 | 17287 | 21104 | 31263 | 41952 | 31303 | 40115 | 31741 | 23957 | 17619
FY2013/2014 | 12191 | 10568 | 17682 | 21034 | 21732 | 36116 | 42578 | 37917 | 37030 | 26709 | 17639 | 14386
FY2012/2013 | 12738 | 13423 | 16651 | 20104 | 24475 | 29368 | 34475 | 32149 | 30678 | 23214 | 14746 | 14468
FY2011/2012 | 18673 | 17534 | 20466 | 21442 | 22829 | 29350 | 31372 | 28044 | 22007 | 20810 | 14332 | 13151
FY2010/2011 | 21522 | 20994 | 22005 | 22754 | 24208 | 31848 | 36034 | 30336 | 29692 | 22278 | 15679 | 18113
FY2010/2009 | 22940 | 22813 | 24244 | 23065 | 23476 | 29577 | 29669 | 27403 | 25159 | 18573 | 16473 | 18907
Past Electrical Consumption (kWh)
FY2014/2015 | -1249 | 151915 | 15216 | -162322 | -165880 | -63087 | 94926 | 79866 | 86099 | 83594 | 63258 | 61461
FY2013/2014 | 55521 | 64935 | 62881 | 100058 | 129754 | -4461 | -101071 | -38766 | -27661 | 25296 | 120633 | 43891
FY2012/2013 | 80101 | 33949 | 77742 | 42762 | 51581 | 58691 | 54636 | 48150 | 56071 | 53726 | 44739 | 46238
FY2011/2012 | 49850 | 48364 | 47057 | 46629 | 50753 | 55310 | 55721 | 53659 | 45363 | 44507 | 40579 | 37774
FY2010/2011 | 44526 | 45219 | 43950 | 46353 | 52413 | 54249 | 60400 | 53477 | 55136 | 45788 | 45832 | 45161
FY2010/2009 | 46529 | 44132 | 43548 | 51463 | 39890 | 49754 | 49754 | 51287 | 51906 | 47887 | 46104 | 42606
Total Fuel Cost
FY2014/2015 | 86203.93 | 100018.8 | 109438.21 | 154513.56 | 232885.8 | 261203.27 | 255609.18 | 268470.11 | 200850.37 | 136671.51 | 102397.82 | 95818.58
FY2013/2014 | 77534.72 | 94790.66 | 135119.34 | 146868.44 | 208918.3 | 268646.97 | 372499.66 | 559437.29 | 568596.49 | 222174.98 | 131778.51 | 101431.49
FY2012/2013 | 111573.36 | 118212.69 | 138211.57 | 153507.92 | 187792.51 | 243320.24 | 284104.29 | 253680 | 252457.05 | 143739.59 | 100979.67 | 88183.31
FY2011/2012 | 133945.01 | 132381.86 | 145923 | 157531.38 | 184296.39 | 239336.8 | 255881.34 | 230222.72 | 210132.59 | 142024.8 | 116962.09 | 115672.23
FY2010/2011 | 160153.53 | 169907.13 | 179291.61 | 190239.75 | 231014.23 | 287952.2 | 341454.56 | 285240.66 | 280421.62 | 193491.17 | 144669.24 | 160304.72
FY2010/2009 | 194488.07 | 207897.39 | 220065.95 | 238262.09 | 257506.63 | 361045.83 | 364172.91 | 317786.89 | 274872.56 | 184635.09 | 161359.19 | 187824.12
132872.84
35642
1363122.98
3517733.74
991979.52
6041351.08

## Biomass Data_FY1314
HEATING PLANT FUEL DATA
| JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | TOTAL
Wood Consumed/lbs. | 590000 | 3782000 | 5538000 | 4476000 | 4687920 | 7666000 | 6132000 | 4140000 | 4630000 | 5326840 | 2562000 | 4192360 | 53723120
MBtu Wood Consumed | 3834.9041 | 24582.3854 | 35996.1001 | 29093.2727 | 30470.7182 | 49827.7543 | 39857.0036 | 26909.3273 | 30094.2476 | 34623.5944 | 16652.5837 | 27249.6588 | 349191.5502
MBtu Wood Consumed | 2908.7 | 18388.084 | 29750.136 | 23284.152 | 22792.667 | 39813.371 | 31794.42 | 20410.2 | 22865.255 | 25174.6458 | 13262.193 | 22948.9786 | 273392.8025
Average Moisture Content (JCI #'s) | 42% | 42.8% | 36.8% | 38.8% | 42.8% | 38.9% | 39% | 42% | 41.9% | 44.4% | 39.1% | 35.6% | 40.34%
Wood Cost | 9504 | 75390 | 116298 | 91404 | 84048 | 171670.41 | 147174.96 | 98116.32 | 105507.12 | 122097.8 | 61486.56 | 99267.43 | 1181964.6
Mbtu $/Wood (Net) | 3.2674 | 4.0999 | 3.9092 | 3.9256 | 3.6875 | 4.3119 | 4.629 | 4.8072 | 4.6143 | 4.85 | 4.6362 | 4.3256 | 4.2553 | Avg.
Mbtu Gas Consumed (off bill) | 14162 | 2826 | 2519 | 9687 | 10637 | 17051 | 29688 | 28468 | 25575 | 13218 | 10174 | 0 | 164005
Gas Cost | 68030.72 | 19400.66 | 18821.34 | 55464.44 | 59768.62 | 96976.56 | 214047.52 | 390662.97 | 421945.37 | 82540.71 | 70291.95 | 2164.06 | 1500114.92
Mbtu $/Gas (Net) | 4.8038 | 6.8651 | 7.4718 | 5.7257 | 5.6189 | 5.6874 | 7.2099 | 13.7229 | 16.4984 | 6.2446 | 6.909 | 0 | 7.2298 | Avg.
Dthm Gas/off bill | 3.95 | 3.73 | 3.99 | 4.61 | 4.43 | 4.77 | 6.47 | 12.98 | 15.56 | 5.56 | 6.17 | 0 | 6.0183 | Avg.
Oil Consumed (Gallons) | 0 | 0 | 0 | 0 | 30742 | 0 | 5334 | 34578 | 15053 | 5754 | 0 | 0 | 91461
Mbtu/Oil | 0 | 0 | 0 | 0 | 4334.622 | 0 | 752.094 | 4875.498 | 2122.473 | 811.314 | 0 | 0 | 12896.001
Oil Cost (FIFO Method) | 0 | 0 | 0 | 0 | 65101.68 | 0 | 11277.18 | 70658 | 41144 | 17536.47 | 0 | 0 | 205717.33
Mbtu $/Oil (Net) | 0 | 0 | 0 | 0 | 15.019 | 0 | 14.9944 | 14.4925 | 19.3849 | 21.6149 | 0 | 0 | 7.1255 | Avg.
Total Fuel Cost | 77534.72 | 94790.66 | 135119.34 | 146868.44 | 208918.3 | 268646.97 | 372499.66 | 559437.29 | 568596.49 | 222174.98 | 131778.51 | 101431.49 | 2887796.85
Total Combined Mbtu Consumed | 17070.7 | 21214.084 | 32269.136 | 32971.152 | 37764.289 | 56864.371 | 62234.514 | 53753.698 | 50562.728 | 39203.9598 | 23436.193 | 22948.9786 | 450293.8035
Total Mbtu $/Cost | 4.542 | 4.4683 | 4.1873 | 4.4545 | 5.5322 | 4.7243 | 5.9854 | 10.4074 | 11.2454 | 5.6672 | 5.6229 | 4.4199 | 5.938 | Avg.
Total Steam: Gas Boilers | 12191 | 2241 | 1666 | 7672 | 10152 | 12260 | 23997 | 26080 | 23154 | 11955 | 10026 | 0 | 141394
Total Steam: Wood Boiler | 0 | 8327 | 16015 | 13363 | 11578 | 23856 | 18581 | 11837 | 13876 | 14749 | 7613 | 14386 | 154181
Total Mbtu of Steam Produced | 12191 | 10568 | 17682 | 21034 | 21732 | 36116 | 42578 | 37917 | 37030 | 26709.6672 | 17639 | 14386 | 295582.6672
Total Cost per Pound of Steam | 0.00636 | 0.0089696 | 0.0076416 | 0.0069824 | 0.0096134 | 0.0074384 | 0.0087486 | 0.014754 | 0.015355 | 0.0083181 | 0.0074709 | 0.0070507 | 0.0097698
Note: Mbtu of wood calculated assuming 20% moisture content
Electricity Used:
Old Plant kWh | 55521 | 64935 | 62881 | 68607 | 81134 | 89910 | 96445 | 93056 | 89225 | 81031 | 71161 | 69800 | 923706
New Plant kWh | 0 | n/a | n/a | 68116 | 92725 | 85340 | 11543 | 43684 | 55928 | 69476 | 60820 | 51764 | 539396
Electricity Produced kWh | 0 | n/a | n/a | -36665 | -44105 | -179711 | -209059 | -97974 | -172814 | -125211 | -11348 | -77673 | -954560
Net Electricity Consumed/Produced | 55521 | 64935 | 62881 | 100058 | 129754 | -4461 | -101071 | 38766 | -27661 | 25296 | 120633 | 43891 | 508542
Est. Cost at .085 per kWh | 4719.285 | 5519.475 | 5344.885 | 8504.93 | 11029.09 | -379.185 | -8591.035 | 3295.11 | -2351.185 | 2150.16 | 10253.805 | 3730.735 | 43226.07
Note: Started reading plant meter correctly on 11/15; incomplete data for new plant through Dec….
Total Fuel and Electrical Cost | 82254.005 | 100310.135 | 140464.225 | 155373.37 | 219947.39 | 268267.785 | 363908.625 | 562732.4 | 566245.305 | 224325.14 | 142032.315 | 105162.225 | 2931022.92
Past Steam Production (lbs.) | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE
FY2012/2013 | 12738000 | 13423000 | 16651000 | 20104000 | 24475000 | 29368000 | 34475000 | 32148600 | 30678000 | 23214000 | 14746000 | 14468000
FY2011/2012 | 18673000 | 17534000 | 20466000 | 21442000 | 22829000 | 29350000 | 31372000 | 28044000 | 22007000 | 20810000 | 14332000 | 13151000
FY2010/2011 | 21522000 | 20994000 | 22005000 | 22754000 | 24208000 | 31848000 | 36034000 | 30336000 | 29692300 | 22278000 | 15679000 | 18113000
FY2010/2009 | 22940000 | 22813000 | 24244000 | 23065000 | 23476000 | 29577000 | 29669000 | 27403300 | 25159000 | 18573000 | 16473000 | 18907000
Past Steam Production (Mbtu)
FY2012/2013 | 12738 | 13423 | 16651 | 20104 | 24475 | 29368 | 34475 | 32149 | 30678 | 23214 | 14746 | 14468
FY2011/2012 | 18673 | 17534 | 20466 | 21442 | 22829 | 29350 | 31372 | 28044 | 22007 | 20810 | 14332 | 13151
FY2010/2011 | 21522 | 20994 | 22005 | 22754 | 24208 | 31848 | 36034 | 30336 | 29692 | 22278 | 15679 | 18113
FY2010/2009 | 22940 | 22813 | 24244 | 23065 | 23476 | 29577 | 29669 | 27403 | 25159 | 18573 | 16473 | 18907
Past Electrical Consumption (kWh)
FY2012/2013 | 80101 | 33949 | 77742 | 42762 | 51581 | 58691 | 54636 | 48150 | 56071 | 53726 | 44739 | 46238
FY2011/2012 | 49850 | 48364 | 47057 | 46629 | 50753 | 55310 | 55721 | 53659 | 45363 | 44507 | 40579 | 37774
FY2010/2011 | 44526 | 45219 | 43950 | 46353 | 52413 | 54249 | 60400 | 53477 | 55136 | 45788 | 45832 | 45161
FY2010/2009 | 46529 | 44132 | 43548 | 51463 | 39890 | 49754 | 49754 | 51287 | 51906 | 47887 | 46104 | 42606
Total Fuel Cost
FY2012/2013 | 111573.36 | 118212.69 | 138211.57 | 153507.92 | 187792.51 | 243320.24 | 284104.29 | 253680 | 252457.05 | 143739.59 | 100979.67 | 88183.31
FY2011/2012 | 133945.01 | 132381.86 | 145923 | 157531.38 | 184296.39 | 239336.8 | 255881.34 | 230222.72 | 210132.59 | 142024.8 | 116962.09 | 115672.23
FY2010/2011 | 160153.53 | 169907.13 | 179291.61 | 190239.75 | 231014.23 | 287952.2 | 341454.56 | 285240.66 | 280421.62 | 193491.17 | 144669.24 | 160304.72
FY2010/2009 | 194488.07 | 207897.39 | 220065.95 | 238262.09 | 257506.63 | 361045.83 | 364172.91 | 317786.89 | 274872.56 | 184635.09 | 161359.19 | 187824.12

## FY1011_Water Consumption
WATER | (Actual)
CONSUMPTION | 2010-07-08 | 2010-08-08 | 2010-09-08 | 2010-10-08 | 2010-11-08 | 2010-12-08 | 2011-01-09 | 2011-02-09 | 2011-03-09 | 2011-04-09 | 2011-05-09 | 2011-06-09 | FY10/11
Secondary Water Allocation | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Cost | TOTAL
Building | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF
PEIF | 131.2 | 276.2 | 249.6 | 299.4 | 229.3 | 204.8 | 408.3 | 184.9 | 216.5 | 400 | 100 | 350 | 3050.2
Berry Events Center | 276.1 | 259.4 | 337.1 | 337.1 | 163.1 | 176.1 | 236 | 165.5 | 211.3 | 279.7 | 115.4 | 316.5 | 2873.3
Cohodas - Main | 581.4 | 514.8 | 417.5 | 185.3 | 78.7 | 67.9 | 142.9 | 108.1 | 66.8 | 42.7 | 64.7 | 304.9 | 2575.7
Cohodas - Sprinkler | 85 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 223
Carey Hall | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lee Hall | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
Art Annex | 20.58 | 51.68 | 91.15 | 98.31 | 64.09 | 94.9 | 290.63 | 182.73 | 233.69 | 171.05 | 65.28 | 43.04 | 1407.13
Hedgcock Fieldhouse | 324.9 | 323.4 | 250.9 | 116.4 | 45 | 61.1 | 181.4 | 105.3 | 147.1 | 123.9 | 215.6 | 185.8 | 2080.8
Fine Arts - Main | 60.1 | 50 | 55.3 | 77.1 | 89.3 | 104.4 | 143.3 | 24.4 | 98.8 | 111.4 | 263.1 | 342.3 | 1419.5
Fine Arts - AC | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 142.2 | 252.5 | 396.9
New Science Facility | 1025 | 848.8 | 650.4 | 518.8 | 338.1 | 418.2 | 455 | 244.7 | 359.2 | 176.9 | 674.9 | 701.1 | 6411.1
West Science Facility | 34.6 | 68.9 | 65.2 | 58.7 | 30.3 | 33.8 | 68.3 | 31.8 | 60.3 | 29.9 | 32.2 | 39.4 | 553.4
Learning Resources | 564.9 | 826.8 | 741.7 | 264.8 | 82.6 | 53 | 145.4 | 66.2 | 138.7 | 71.2 | 581 | 486.4 | 4022.7
Jamrich Hall | 122.71 | 298.45 | 196.12 | 129.28 | 41.54 | 35.76 | 165.34 | 44.59 | 100.45 | 50.56 | 86.27 | 118.37 | 1389.44
Gries Hall | 48.3 | 25 | 35.6 | 35.6 | 21.1 | 18.2 | 37.8 | 19.1 | 35.5 | 22.2 | 17 | 16.1 | 331.5
Whitman Hall | 6 | 16 | 16 | 15 | 9 | 7 | 15 | 9 | 16 | 8 | 6 | 8 | 131
| 3280.79 | 3595.13 | 3106.57 | 2135.79 | 1192.13 | 1275.16 | 2289.37 | 1186.32 | 1684.34 | 1490.01 | 2363.65 | 3267.41 | 26866.67
Quad I - Housing (63%) | [12 empty] | 0
Gant Hall (25% of 63%) | 35.9415 | 386.3948 | 380.3468 | 425.1555 | 278.1135 | 172.7145 | 360.738 | 264.5842 | 426.699 | 177.0772 | 41.9738 | 57.33 | 3007.0687
Spalding Hall (25% of 63%) | 35.9415 | 386.3948 | 380.3468 | 425.1555 | 278.1135 | 172.7145 | 360.738 | 264.5842 | 426.699 | 177.0772 | 41.9738 | 57.33 | 3007.0687
Payne Hall (25% of 63%) | 35.9415 | 386.3948 | 380.3468 | 425.1555 | 278.1135 | 172.7145 | 360.738 | 264.5842 | 426.699 | 177.0772 | 41.9738 | 57.33 | 3007.0687
Halverson Hall (25% of 63%) | 35.9415 | 386.3948 | 380.3468 | 425.1555 | 278.1135 | 172.7145 | 360.738 | 264.5842 | 426.699 | 177.0772 | 41.9738 | 57.33 | 3007.0687
Quad I - Food Service (37%) | 84.434 | 907.721 | 893.513 | 998.778 | 653.346 | 405.742 | 847.448 | 621.563 | 1002.404 | 415.991 | 98.605 | 134.68 | 7064.225
Magers (Quad II) TOTALIZER | 22.385 | 304.745 | 317.9 | 259.375 | 318.48 | 115.02 | 291.05 | 200.995 | 325.295 | 126 | 40 | 30 | 2351.245
Meyland | 22.385 | 304.745 | 317.9 | 259.375 | 318.48 | 115.02 | 291.05 | 200.995 | 325.295 | 126 | 40 | 28 | 2349.245
University Center/Food Service (Split 86%) | 674.756 | 700 | 1250 | 281.6 | 766.3202 | 66.8736 | 510.926 | 352.858 | 447.544 | 484.266 | 623.586 | 728 | 6886.7298
University Center (Split 14%) | 109.844 | 150 | 270 | 281.6 | 124.7498 | 10.8864 | 83.174 | 57.442 | 72.856 | 78.834 | 101.514 | 119 | 1459.9002
Dome (North) | 35.6 | 60.1 | 68 | 57.1 | 52 | 21.3 | 68.3 | 41.6 | 88.9 | 61.1 | 20.3 | 54.7 | 629
Dome (South) | 30.3 | 76.6 | 100.6 | 75 | 85 | 54.6 | 96.2 | 70.8 | 96 | 75.8 | 54.4 | 70.5 | 885.8
West Hall | 23.4 | 312.8 | 343.63 | 388 | 244.93 | 101.95 | 276.52 | 197.9 | 291.58 | 149.55 | 23.32 | 45.53 | 2399.11
Spooner Hall | 74.2 | 1487.3 | 154.64 | 206.11 | 157.08 | 112.54 | 182.08 | 186.95 | 215.01 | 142.36 | 40 | 95 | 3053.27
1601 Lincoln Apt. (100 CF) | 150 | 100 | 117 | 146 | 108 | 115 | 209 | 99 | 147 | 84 | 68 | 103 | 1446
1701 Lincoln Apt. (100 CF) | 207 | 273 | 194.5 | 210.5 | 156 | 112.5 | 154 | 121.5 | 169 | 118 | 142 | 286 | 2144
Summit Apt. (100 CF) x10 | 253 | 551 | 444 | 501 | 419 | 365 | 461 | 454 | 576 | 457 | 345 | 394 | 5220
| 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0
Norwood Apt. (100 CF) | 58 | 170 | 145 | 205 | 125 | 73 | 121 | 91 | 134 | 78 | 86 | 111 | 1397
Hunt | 4.95 | 238.7 | 248.8 | 281.6 | 182.1 | 84.4 | 259.45 | 171.9 | 279.45 | 105.35 | 40 | 23 | 1919.7
Van Antwerp | 4.95 | 238.7 | 248.8 | 281.6 | 182.1 | 84.4 | 259.45 | 171.9 | 279.45 | 105.35 | 40 | 25 | 1921.7
Woodland Apts (high meter) | 64.86 | 26 | 26 | 32 | 18 | 9 | 23 | 15 | 39 | 236.69 | 86.23 | 65.61 | 641.39
Woodland Apts (low meter) | 1 | 319.48 | 317.23 | 384 | 236.52 | 175.19 | 315.6 | 247 | 579 | 19 | 1 | 1 | 2596.02
| 1964.83 | 7766.47 | 6598.5533 | 6549.26 | 5259.56 | 2763.28 | 5892.2 | 4360.74 | 6774.58 | 3571.6 | 2017.85 | 2543.34 | 56392.61
TOTAL | 5245.62 | 11361.6 | 9705.1233 | 8685.05 | 6451.69 | 4038.44 | 8181.57 | 5547.06 | 8458.92 | 5061.61 | 4381.5 | 5810.75 | 83259.28
Note variances in usage: Building accumulations are off building meters/primary meter is direct billed from City
MASTER CONSUMPTION (FY1011) | 6517 | 10892 | 9580 | 10247 | 6784 | 4167 | 11061 | 4165 | 8957 | 6351 | 3863 | 6070 | 88654
MASTER CONSUMPTION (FY0910) | 6626 | 14006 | 10477 | 8531 | 6063 | 4181 | 8317 | 7130 | 8752 | 6159 | 6151 | 6383 | 92776
VARIANCE BETWEEN MASTER & METERS | -1271.38 | 469.6 | 125.1233 | -1561.95 | -332.31 | -128.56 | -2879.43 | 1382.06 | -498.08 | -1289.39 | 518.5 | -259.25 | -5394.72
| 2010-07-08 | 2010-08-08 | 2010-09-08 | 2010-10-08 | 2010-11-08 | 2010-12-08 | 2011-01-09 | 2011-02-09 | 2011-03-09 | 2011-04-09 | 2011-05-09 | 2011-06-09 | FY10/11
| Usage | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Usage | Cost | TOTAL
Direct Billed Water | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF | 100 CF
Kaye House (Presidents res.) 1440 Center St. | 25 | 17 | 4 | 7 | 6 | 4 | 7 | 7 | 4 | 6 | 6 | 25 | 118
1716 Presque Isle - Rental | 13 | 10 | 7 | 8 | 7 | 8 | 11 | 11 | 7 | 8 | 8 | 13 | 111
Grounds Butler/1321 Wright Street | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0
Heating Plant - Main | 974 | 678 | 522 | 536 | 532 | 619 | 902 | 800 | 782 | 693 | 650 | 1749 | 9437
Heating Plant - Blowdown | 2 | 2 | 2 | 2 | -7 | 1 | 0 | 0 | 2 | 1 | 2 | 1 | 8
Heating Plant - Brine | 0 | 0 | 0 | 0 | 1 | 0 | 5 | 5 | 0 | 0 | 0 | 5 | 16
Service Building (2074 Sugarloaf) | 248 | 184 | 26 | 33 | 30 | 31 | 43 | 43 | 36 | 32 | 107 | 214 | 1027
Jacobetti Center - Main | 450 | 1147 | 450 | 96 | 141 | 76 | 231 | 231 | 224 | 122 | 208 | 200 | 3576
1010 Wright Street | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
1230 Center Street Apt. | 23 | 0 | 0 | 64 | 83 | 53 | 138 | 138 | 51 | 0 | 0 | 0 | 550
1500 Wilkinson | 8 | 8 | 8 | 8 | 1 | 0 | 1 | 1 | 0 | 2 | 3 | 5 | 45
300 Waldo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1716 Schaffer Ave. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2075 Sugarloaf Ave. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1422 Presque Isle (Hardee's Building) | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 7 | 53 | 76
DIRECT BILLED TOTAL | 1743 | 2046 | 1019 | 754 | 794 | 792 | 1338 | 1236 | 1106 | 864 | 984 | 2212 | 14888
DIRECT BILLED TOTAL FY0910 | 1355 | 1303 | 972 | 613 | 725 | 662 | 930 | 745 | 1152 | 556 | 2802 | 2123 | 13742
VARIANCE | 28.63% | 57.02% | 4.835% | 23% | 9.517% | 19.64% | 43.87% | 65.91% | -3.993% | 55.4% | -64.88% | 4.192%
TOTAL FY1011 | 8260 | 12938 | 10599 | 11001 | 7578 | 4959 | 12399 | 5401 | 10063 | 7215 | 4847 | 8282 | 103542
TOTAL FY0910 | 7981 | 15309 | 11449 | 9144 | 6778 | 4843 | 9247 | 7875 | 9904 | 6715 | 6715 | 6715
VARIANCE | 3.496% | -15.49% | -7.424% | 20.31% | 11.8% | 2.395% | 34.09% | -31.42% | 1.605% | 7.446% | -27.82% | 23.34%
CUMMULATIVE TOTAL FY1011 | 8260 | 21198 | 31797 | 42798 | 50376 | 55335 | 67734 | 73135 | 83198 | 90413 | 95260 | 103542

## FY1516 Water Information
WATER CONSUMPTION |  | June | May | April | March | February | January | December | November | October | September | August | July |  |  | WATER COST ALLOCATION |  | June | May | April | March | February | January | December | November | October | September | August | July
|  | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf |  |  |  |  | CCF | CCF | CCF | CCF | CCF | CCF | CCF | CCF | CCF | CCF | CCF | CCF
|  | (6/15-7/15) | (5/15-6/15) | (4/15-5/15) | (3/15-4/15) | (2/15-3/15) | (1/15-2/15) | (12/15-01/15) | (11/15-12/15) | (10/15-11/15) | (9/15-10/15) | (8/15-9/15) | (7/15-8/15) | TOTAL |  |  |  | (6/15-7/15) | (5/15-6/15) | (4/15-5/15) | (3/15-4/15) | (2/15-3/15) | (1/15-2/15) | (12/15-11/15) | (11/15-12/15) | (10/15-11/15) | (9/15-10/15) | (8/15-9/15) | (7/15-8/15) | TOTAL |  | September
State Academic Building | [15 empty] | State Academic Building | [15 empty] | ccf
Art & Design North |  | 15 | 22 | 98 | 158 | 116 | 136 | 42 | 38 | 56 | 23 | 30 | 21 | 755 |  | Art & Design North |  | 228.613 | 424.2742 | 1314.2385 | 3152.5018 | 1797.5079 | 2146.5314 | 335.4634 | 623.9952 | 767.7783 | 294.8385 | 301.8809 | 190.4026 | 11578.0256 |  | (9/15-10/15)
Berry Events Center & Generator/Roof Top Units |  | 179 | 133 | 161 | 229 | 244 | 323 | 195 | 191 | 347 | 292 | 314 | 197 | 2805 |  | Berry Events Center & Generator/Roof Top Units |  | 2728.1147 | 2564.9303 | 2159.1061 | 4569.1323 | 3780.9649 | 5098.012 | 1557.5087 | 3136.3969 | 4757.4831 | 3743.1672 | 3159.6872 | 1786.1576 | 39040.6612
Cohodas |  | 149 | 84 | 36 | 21 | 21 | 15 | 13 | 14 | 25 | 80 | 313 | 249 | 1020 |  | Cohodas |  | 2270.8888 | 1619.956 | 482.7815 | 419.0034 | 325.4109 | 236.7498 | 103.8339 | 229.893 | 342.7582 | 1025.5253 | 3149.6245 | 2257.6307 | 12464.0559 | Art & Design North | 23
Gries Hall/Gries Link & Health Center |  | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 420 |  | Gries Hall/Gries Link & Health Center |  | 533.4303 | 674.9817 | 469.3709 | 698.339 | 542.3515 | 552.4162 | 279.5529 | 574.7324 | 479.8614 | 448.6673 | 352.1944 | 317.3376 | 5923.2356 | Berry Events Center & Generator/Roof Top Units | 292
Heating Plant | Direct Billed | 422 | 380 | 309 | 431 | 347 | 516 | 397 | 348 | 90 | 93 | 66 | 136 | 3535 |  | Heating Plant | Direct Billed | 5091.22 | 4590.16 | 3743.13 | 5198.59 | 4196.47 | 10212.64 | 4792.97 | 4208.4 | 1130.46 | 1166.25 | 790.68 | 1569.08 | 46690.05 | Cohodas | 80
Hedgcock & TFA/Hedgcock Link |  | 24 | 29 | 136 | 32 | 33 | 38 | 21 | 25 | 38 | 93 | 333 | 289 | 1091 |  | Hedgcock & TFA/Hedgcock Link |  | 365.7807 | 559.2705 | 1823.8412 | 638.4814 | 511.36 | 599.7661 | 167.7317 | 410.5232 | 520.9924 | 1192.1731 | 3350.8785 | 2620.3022 | 12761.1011 | Gries Hall/Gries Link & Health Center | 35
Jacobetti Center & Storage | Direct Billed | 347 | 240 | 231 | 225 | 195 | 214 | 225 | 306 | 421 | 469 | 515 | 497 | 3885 |  | Jacobetti Center & Storage | Direct Billed | 4221.47 | 2944.96 | 2837.59 | 2766.01 | 2408.11 | 2634.78 | 2766.01 | 3732.34 | 5104.29 | 5676.93 | 5808.56 | 5608.4 | 46509.45 | Heating Plant | 93
Jamrich Hall |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 |  | Jamrich Hall |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | Hedgcock & TFA/Hedgcock Link | 93
New Jamrich Hall |  | 82 | 25 | 52 | 68 | 52 | 85 | 26 | 37 | 118 | 753 | 175 | 830 | 2303 |  | New Jamrich Hall |  | 1249.7509 | 482.1298 | 697.351 | 1356.7729 | 805.7794 | 1341.5821 | 207.6678 | 607.5743 | 1617.8185 | 9652.7566 | 1760.9722 | 7525.4355 | 27305.591 | Jacobetti Center & Storage | 469
Learning Resources Center |  | 38 | 21 | 49 | 54 | 48 | 71 | 98 | 75 | 76 | 55 | 67 | 40 | 692 |  | Learning Resources Center |  | 579.1528 | 404.989 | 657.1192 | 1077.4373 | 743.7964 | 1120.6156 | 782.748 | 1231.5695 | 1041.9848 | 705.0486 | 674.2008 | 362.6716 | 9381.3336 | Jamrich Hall | N/A
Lee Hall / Lee Hall Pavillion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Lee Hall / Lee Hall Pavillion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | New Jamrich Hall | 753
New Science Facility |  | 868 | 488 | 197 | 157 | 158 | 211 | 126 | 150 | 150 | 481 | 439 | 1885 | 5310 |  | New Science Facility |  | 13229.0702 | 9411.173 | 2641.8876 | 3132.5492 | 2448.3297 | 3330.2803 | 1006.3903 | 2463.1389 | 2056.5489 | 6165.9707 | 4417.5245 | 17090.8987 | 67393.7621 | Learning Resources Center | 55
PEIF |  | 140 | 98 | 174 | 235 | 212 | 291 | 164 | 184 | 283 | 230 | 212 | 116 | 2339 |  | PEIF |  | 2133.721 | 1889.9487 | 2333.4439 | 4688.8476 | 3285.1007 | 4592.9458 | 1309.9048 | 3021.4504 | 3880.0223 | 2948.3851 | 2133.292 | 1051.7476 | 33268.8098 | Lee Hall / Lee Hall Pavillion | 0
PFA/McClintock/Forest Roberts |  | 226 | 130 | 98 | 44 | 26 | 52 | 18 | 15 | 50 | 47 | 44 | 55 | 805 |  | PFA/McClintock/Forest Roberts |  | 3444.4353 | 2507.0748 | 1314.2385 | 877.9119 | 402.8897 | 820.7326 | 143.77 | 246.3139 | 685.5163 | 602.4961 | 442.7587 | 498.6734 | 11986.8113 | New Science Facility | 481
Services Building | Direct Billed | 58 | 19 | 28 | 17 | 16 | 25 | 16 | 18 | 19 | 18 | 42 | 144 | 420 |  | Services Building | Direct Billed | 720.7 | 282.73 | 390.8 | 259.57 | 247.64 | 355.01 | 247.64 | 271.5 | 283.43 | 268 | 508.15 | 1569.37 | 5404.54 | PEIF | 230
Superior Dome & PEIF/Dome Link & Storage |  | 41 | 90 | 139 | 126 | 101 | 133 | 47 | 88 | 107 | 100 | 97 | 56 | 1125 |  | Superior Dome & PEIF/Dome Link & Storage |  | 624.8754 | 1735.6671 | 1864.073 | 2514.0204 | 1565.0715 | 2099.1814 | 375.3995 | 1445.0415 | 1467.0049 | 1281.9066 | 976.0817 | 507.7402 | 16456.0634 | PFA/McClintock/Forest Roberts | 47
West Science & LRC/WS Tunnel |  | 44 | 30 | 39 | 53 | 60 | 64 | 24 | 30 | 71 | 56 | 70 | 78 | 619 |  | West Science & LRC/WS Tunnel |  | 670.598 | 578.5557 | 523.0133 | 1057.4848 | 929.7455 | 1010.1324 | 191.6934 | 492.6278 | 973.4331 | 717.8677 | 704.3889 | 707.2096 | 8556.7502 | Services Building | 18
Whitman |  | 3 | 5 | 9 | 13 | 8 | 17 | 7 | 6 | 15 | 13 | 15 | 4 | 115 |  | Whitman |  | 45.7226 | 96.426 | 120.6954 | 259.3831 | 123.9661 | 268.3164 | 55.9106 | 98.5256 | 205.6549 | 166.6479 | 150.9405 | 36.2672 | 1628.456 | Superior Dome & PEIF/Dome Link & Storage | 100
TOTAL |  | 2671 | 1829 | 1791 | 1898 | 1672 | 2226 | 1454 | 1560 | 1901 | 2838 | 2767 | 4632 | 27239 |  | TOTAL |  | 38137.5438 | 30767.2267 | 23372.6799 | 32666.0349 | 24114.4942 | 36419.6922 | 14324.195 | 22794.0223 | 25315.037 | 36056.6307 | 28681.815 | 43699.3246 | 356348.6964 | West Science & LRC/WS Tunnel | 56
Auxilary Buildings | [15 empty] | Auxilary Buildings | [14 empty] | Whitman | 13
1422 Presque Isle (Temaki & Tea) | Direct Billed | 47 | 54 | 51 | 63 | 53 | 32 | 31 | 40 | 51 | 62 | 50 | 39 | 573 |  | 1422 Presque Isle (Temaki & Tea) | Direct Billed | 576.47 | 62.85 | 624.19 | 830.2 | 648.05 | 397.52 | 385.59 | 492.96 | 624.19 | 705.2 | 571.76 | 508.18 | 6427.16 | TOTAL | 2276
1500 Wilkinson | Direct Billed | 6 | 4 | 6 | 5 | 5 | 6 | 3 | 5 | 5 | 5 | 7 | 8 | 65 |  | 1500 Wilkinson | Direct Billed | 82.34 | 58.48 | 82.34 | 70.41 | 70.41 | 82.34 | 46.55 | 70.41 | 70.41 | 70.41 | 88.6 | 99.72 | 892.42 | Auxilary Buildings
Center Apartments | Direct Billed | 40 | 43 | 67 | 80 | 72 | 85 | 37 | 65 | 94 | 85 | 85 | 27 | 780 |  | Center Apartments | Direct Billed | 511.96 | 547.75 | 834.07 | 989.16 | 893.72 | 1048.81 | 476.17 | 810.21 | 1156.18 | 1048.81 | 979.96 | 335 | 9631.8 | 1422 Presque Isle (Temaki & Tea) | 62
Gant Hall (25% of 68% QI) |  | 32 | 22 | 221 | 165 | 229 | 388 | 340 | 184 | 447 | 324 | 409 | 33 | 2794 |  | Gant Hall (25% of 68% QI) |  | 487.7077 | 424.2742 | 2963.7419 | 3292.1696 | 3548.5285 | 6123.9278 | 2715.6563 | 3021.4504 | 6128.5157 | 4153.3773 | 4115.6436 | 299.2041 | 37274.197 | 1500 Wilkinson | 5
Halverson Hall (25% of 68% QI) |  | 32 | 22 | 221 | 165 | 229 | 388 | 340 | 184 | 447 | 324 | 409 | 33 | 2794 |  | Halverson Hall (25% of 68% QI) |  | 487.7077 | 424.2742 | 2963.7419 | 3292.1696 | 3548.5285 | 6123.9278 | 2715.6563 | 3021.4504 | 6128.5157 | 4153.3773 | 4115.6436 | 299.2041 | 37274.197 | Center Apartments | 85
Hunt Hall (50% of Van Anterwp) |  | 5 | 71 | 250 | 248 | 189 | 164 | 160 | 300 | 329 | 228 | 289 | 10 | 2243 |  | Hunt Hall (50% of Van Anterwp) |  | 76.2043 | 1369.2485 | 3352.6492 | 4948.2306 | 2928.6982 | 2588.4643 | 1277.9559 | 4926.2778 | 4510.6973 | 2922.747 | 2908.1198 | 90.6679 | 31899.9609 | Gant Hall (25% of 68% QI) | 324
Lincoln Apt.'s/Laundry |  | 110 | 138 | 158 | 166 | 151 | 273 | 161 | 145 | 307 | 262 | 321 | 214 | 2406 |  | Lincoln Apt.'s/Laundry |  | 1676.4951 | 2661.3563 | 2118.8743 | 3312.1221 | 2339.8594 | 4308.8461 | 1285.9431 | 2381.0343 | 4209.0701 | 3358.5952 | 3230.1261 | 1940.293 | 32822.6152 | Halverson Hall (25% of 68% QI) | 324
Magers Hall (50% of Meyland) |  | 15 | 15 | 140 | 241 | 241 | 173 | 150 | 131 | 337 | 229 | 294 | 9 | 1975 |  | Magers Hall (50% of Meyland) |  | 228.613 | 289.2779 | 1877.4836 | 4808.5628 | 3734.4776 | 2730.5142 | 1198.0836 | 2151.1413 | 4620.3799 | 2935.5661 | 2958.4333 | 81.6011 | 27614.1343 | Hunt Hall (50% of Van Anterwp) | 228
Meyland Hall (50% of Magers) |  | 15 | 15 | 140 | 241 | 241 | 173 | 150 | 131 | 337 | 229 | 294 | 9 | 1975 |  | Meyland Hall (50% of Magers) |  | 228.613 | 289.2779 | 1877.4836 | 4808.5628 | 3734.4776 | 2730.5142 | 1198.0836 | 2151.1413 | 4620.3799 | 2935.5661 | 2958.4333 | 81.6011 | 27614.1343 | Lincoln Apt.'s/Laundry | 262
Norwood |  | 27 | 10 | 60 | 71 | 57 | 104 | 51 | 66 | 113 | 103 | 116 | 151 | 929 |  | Norwood |  | 411.5033 | 192.8519 | 804.6358 | 1416.6305 | 883.2582 | 1641.4652 | 407.3484 | 1083.7811 | 1549.2668 | 1320.3638 | 1167.273 | 1369.0853 | 12247.4634 | Magers Hall (50% of Meyland) | 229
Payne Hall (25% of 68% QI) |  | 32 | 22 | 221 | 165 | 229 | 388 | 340 | 184 | 447 | 324 | 409 | 33 | 2794 |  | Payne Hall (25% of 68% QI) |  | 487.7077 | 424.2742 | 2963.7419 | 3292.1696 | 3548.5285 | 6123.9278 | 2715.6563 | 3021.4504 | 6128.5157 | 4153.3773 | 4115.6436 | 299.2041 | 37274.197 | Meyland Hall (50% of Magers) | 229
Quad I/ Food Service (32% of QI) |  | 59 | 42 | 414 | 312 | 428 | 732 | 640 | 342 | 840 | 610 | 774 | 58 | 5251 |  | Quad I/ Food Service (32% of QI) |  | 899.211 | 809.978 | 5551.9871 | 6225.1934 | 6632.1844 | 11553.3895 | 5111.8235 | 5615.9567 | 11516.6739 | 7819.6302 | 7788.5284 | 525.8738 | 70050.4298 | Norwood | 103
Quad II |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | Quad II |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Payne Hall (25% of 68% QI) | 324
Spalding Hall (25% of 68% QI) |  | 32 | 22 | 221 | 165 | 229 | 388 | 340 | 184 | 447 | 324 | 409 | 33 | 2794 |  | Spalding Hall (25% of 68% QI) |  | 487.7077 | 424.2742 | 2963.7419 | 3292.1696 | 3548.5285 | 6123.9278 | 2715.6563 | 3021.4504 | 6128.5157 | 4153.3773 | 4115.6436 | 299.2041 | 37274.197 | Quad I/ Food Service (32% of QI) | 610
Spooner Hall |  | 14 | 15 | 44 | 50 | 41 | 65 | 16 | 58 | 109 | 49 | 49 | 19 | 529 |  | Spooner Hall |  | 213.3721 | 289.2779 | 590.0663 | 997.6271 | 635.3261 | 1025.9157 | 127.7956 | 952.4137 | 1494.4255 | 628.1342 | 493.0722 | 172.269 | 7619.6954 | Quad II | N/A
Summit Apartments |  | 170 | 123 | 290 | 311 | 334 | 566 | 547 | 350 | 523 | 433 | 433 | 421 | 4501 |  | Summit Apartments |  | 2590.9469 | 2372.0784 | 3889.0731 | 6205.2408 | 5175.5831 | 8933.3585 | 4369.0117 | 5747.3241 | 7170.5005 | 5550.6555 | 4357.1483 | 3817.1185 | 60178.0396 | Spalding Hall (25% of 68% QI) | 324
University Center |  | 984 | 678 | 486 | 564 | 489 | 489 | 493 | 620 | 773 | 1062 | 1274 | 1138 | 9050 |  | University Center (86% to FS/14% to Hse) |  | 14997.0105 | 13075.3592 | 6517.5501 | 11253.2341 | 7577.4256 | 7718.043 | 3937.7016 | 10180.9741 | 10598.082 | 13613.8479 | 12819.8775 | 10318.0068 | 122607.1124 | Spooner Hall | 49
Van Antwerp Hall (50% of Hunt) |  | 5 | 71 | 250 | 248 | 189 | 164 | 160 | 300 | 329 | 228 | 289 | 9 | 2242 |  | Van Antwerp Hall (50% of Hunt) |  | 76.2043 | 1369.2485 | 3352.6492 | 4948.2306 | 2928.6982 | 2588.4643 | 1277.9559 | 4926.2778 | 4510.6973 | 2922.747 | 2908.1198 | 90.67 | 31899.963 | Summit Apartments | 433
West Hall |  | 2 | 2 | 200 | 300 | 200 | 300 | 85 | 250 | 385 | 375 | 250 | 20 | 2369 |  | West Hall |  | 30.4817 | 38.5704 | 2682.1194 | 5985.7628 | 3099.1516 | 4734.9957 | 678.9141 | 4105.2315 | 5278.4755 | 4807.1497 | 2515.6746 | 181.3358 | 34137.8627 | University Center (86% to FS/14% to Hse) | 1062
Woodland Apartments |  | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 20 | 405 |  | Woodland Apartments |  | 533.4303 | 674.9817 | 469.3709 | 698.339 | 542.3515 | 552.4162 | 279.5529 | 574.7324 | 479.8614 | 448.6673 | 352.1944 | 181.3358 | 5787.2337 | Van Antwerp Hall (50% of Hunt) | 228
|  | 1662 | 1404 | 3475 | 3595 | 3641 | 4913 | 4079 | 3574 | 6355 | 5291 | 6196 | 2284 | 46469 |  |  |  | 25083.6862 | 25797.6833 | 46479.5101 | 70666.1851 | 56017.7858 | 77130.7678 | 32921.105 | 58255.6677 | 86923.353 | 67701.5993 | 62559.895 | 20989.5743 | 630526.8125 | West Hall | 25
On Campus Non-Academic | [15 empty] | On Campus Non-Academic | [14 empty] | Woodland Apartments | 35
1010 Wright Street (Chase Levy Bldg.) | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1010 Wright Street (Chase Levy Bldg.) | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4789
1020 Wright Street (Storage Bldg.) | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1020 Wright Street (Storage Bldg.) | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bus Garage (1901 Enterprise) | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus Garage (1901 Enterprise) | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7065
Grounds Butler (Wright Street) | Direct Billed | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 |  | Grounds Butler (Wright Street) | Direct Billed | 10.69 | 60.76 | 0 | 0 | 0 | 0 | 0 | 61.5 | 65.69 | 5.76 | 5.76 | 5.76 | 215.92
Kaye House | Direct Billed | 55 | 16 | 6 | 5 | 3 | 5 | 4 | 5 | 4 | 15 | 20 | 42 | 180 |  | Kaye House | Direct Billed | 405.91 | 136.64 | 80.34 | 75.41 | 51.55 | 75.41 | 63.48 | 68.41 | 63.48 | 138.71 | 192.52 | 300.24 | 1652.1
Off Campus Non-Academic | [15 empty] | Off Campus Non-Academic
LRC Signal Tower (Morgan Meadows #1) | Direct Billed | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | LRC Signal Tower | Direct Billed | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LRC Signal Tower (Morgan Meadows #2) | Direct Billed | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | LRC Signal Tower | Direct Billed | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
U.S. 41 Tower | Direct Billed | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | U.S. 41 Tower | Direct Billed | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
5 M.V.L. | Direct Billed | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | 5 M.V.L. | Direct Billed | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1400 Presque Isle (Mbank Bldg) | Direct Billed | 3 | 6 | 4 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 24 |  | 1400 Presque Isle (Mbank Bldg.) | Direct Billed | 46.55 | 82.34 | 58.48 | 45.69 | 34.62 | 22.69 | 22.69 | 22.69 | 22.69 | 21.88 | 33 | 43.37 | 456.69
Rentals | [15 empty] | Rentals
1716 Presque Isle | Direct Billed | 10 | 7 | 11 | 7 | 12 | 6 | 4 | 7 | 9 | 6 | 27 | 24 | 130 |  | 1716 Presque Isle | Direct Billed | 190.46 | 160.04 | 202.39 | 160.04 | 214.32 | 142.74 | 124.25 | 154.67 | 178.53 | 142.74 | 369.6 | 336.24 | 2376.02
1716 Presque Isle, Apt. #1 | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1716 Presque Isle, Apt. #1 | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1716 Schaffer Ave. | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1716 Schaffer Ave. | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1804 Tracey Avenue | Direct Billed | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 1804 Tracey Avenue | Direct Billed | 0 | 0 | 47.44 | 29.74 | 0 | 22.32 | 0 | 0 | 0 | 0 | 0 | 0 | 99.5
2075 Sugarloaf | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2075 Sugarloaf | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
300 Waldo | Direct Billed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 300 Waldo | Direct Billed | 25.86 | 25.86 | 25.86 | 29.74 | 25.86 | 25.86 | 25.86 | 25.86 | 25.86 | 25.41 | 25.41 | 25.41 | 312.85
|  | 69 | 29 | 22 | 13 | 17 | 13 | 9 | 13 | 15 | 22 | 49 | 67 | 338 |  | TOTAL OTHER |  | 679.47 | 465.64 | 414.51 | 340.62 | 326.35 | 289.02 | 236.28 | 333.13 | 356.25 | 334.5 | 626.29 | 711.02 | 5113.08
UNIVERSITY TOTAL (including directs) |  | 4402 | 3262 | 5288 | 5506 | 5330 | 7152 | 5542 | 5147 | 8271 | 8151 | 9012 | 6983 | 74046 |  | UNIVERSITY TOTAL |  | 63900.7 | 57030.55 | 70266.7 | 103672.84 | 80458.63 | 113839.48 | 47481.58 | 81382.82 | 112594.64 | 104092.73 | 91868 | 65399.9189 | 991988.5889
NMU (METERD) BUILDING TOTAL FY15/16 |  | 3413 | 2493 | 4574 | 4672 | 4625 | 6261 | 4824 | 4352 | 7576 | 7397 | 8198 | 6065 | 64450 | [9 empty] | Corrected Quad I on 4/22/16
READS: (Difference between master & NMU) |  | -1142 | 17 | 479 | -1707 | -484 | -1460 | 1622 | -1203 | 863 | -893 | 1242 | -1802 | -372.3333 | Avg. | ON-CAMPUS
NMU MASTER METER READ TOTAL FY15/16 |  | 3733 | 4279 | 5554 | 5965 | 5408 | 6668 | 4707 | 4632 | 9490 | 8574 | 10362 | 4005 | 73377 |  | State Academic & Services Buildings |  | 32650.8327 | 24576.6806 | 17016.057 | 20894.0347 | 15483.3571 | 24629.5529 | 11081.382 | 15191.1336 | 15210.5267 | 28083.1717 | 22412.754 | 40353.6792 | 267583.1621
CITY MASTER TOTAL FY15/16 (Off Bill) |  | 4875 | 4262 | 5075 | 7672 | 5892 | 8128 | 3085 | 5835 | 8627 | 9467 | 9120 | 5807 | 77845 |  | Athletic Buildings |  | 5486.7112 | 6190.5462 | 6356.6229 | 11772.0003 | 8631.1371 | 11790.1393 | 3242.8131 | 7602.8887 | 10104.5103 | 7973.459 | 6269.061 | 3345.6454 | 88765.5343
DIRECT BILLED TOTAL FY15/16 |  | 989 | 769 | 714 | 834 | 705 | 891 | 718 | 795 | 695 | 754 | 814 | 918 | 9596 |  | Auxilary Buildings - Housing |  | 8528.6546 | 11791.0161 | 33703.4429 | 52287.1476 | 41089.7158 | 57379.4754 | 23439.4398 | 41895.3669 | 64113.9971 | 45492.5113 | 41379.7291 | 9637.5137 | 430738.0103
|  | 5864 | 5031 | 5789 | 8506 | 6597 | 9019 | 3803 | 6630 | 9322 | 10221 | 9934 | 6725 | 87441 |  | Auxilary Buildings - Dining |  | 16472.6915 | 13948.1872 | 12693.7272 | 18308.6275 | 14857.6599 | 19668.9524 | 9435.1151 | 16289.8908 | 22738.9459 | 22138.6781 | 21180.166 | 11352.0606 | 199084.7022
[8 empty] | Corrected Quad I & West Hall 5/25/16 | [7 empty] | Other |  | 761.81 | 524.12 | 496.85 | 411.03 | 396.76 | 371.36 | 282.83 | 403.54 | 426.66 | 404.91 | 626.29 | 711.02 | 5817.18
READS: (Difference between master & NMU) |  | -1375 | -25 | 1258 | -643 | 1713 | 19 | -320 | 534 | -707 | -482 | 1512 | -293 | 99.25 |  | REPORT TOTAL |  | 63900.7 | 57030.55 | 70266.7 | 103672.84 | 80458.63 | 113839.48 | 47481.58 | 81382.82 | 112594.64 | 104092.73 | 91868 | 65399.9189 | 991988.5889
NMU MASTER METER READ TOTAL FY14/15 |  | 3317 | 2814 | 7139 | 7353 | 8276 | 8503 | 3485 | 7273 | 7913 | 8223 | 10287 | 4749 | 79332 |  | Campus Building Total (Check figure w/ Master) |  | 52017.07 | 48077.98 | 61340.07 | 93218.28 | 71667.88 | 98819.36 | 38530.37 | 71463.87 | 103869.43 | 94822.63 | 82494 | 54999.1489 | 871320.0889
CITY MASTER TOTAL FY14/15 (Off Bill) |  | 4692 | 2839 | 5881 | 7996 | 6563 | 8484 | 3805 | 6739 | 8620 | 8705 | 8775 | 5042 | 78141 |  | CAMPUS MASTER BILL FY15/16 |  | 52017.07 | 48077.98 | 61340.07 | 93218.28 | 71667.88 | 98819.36 | 38530.37 | 71463.87 | 103869.43 | 94822.63 | 82494 | 54990.08 | 871311.02
DIRECT BILLED TOTAL FY14/15 |  | 644 | 820 | 1027 | 941 | 1077 | 912 | 945 | 1192 | 1017 | 1032 | 1302 | 1138 | 12047 |  | DIRECT BILLS |  | 11883.63 | 8952.57 | 8926.63 | 10454.56 | 8790.75 | 15020.12 | 8951.21 | 9918.95 | 8725.21 | 9270.1 | 9374 | 10400.77 | 120668.5
|  | 5336 | 3659 | 6908 | 8937 | 7640 | 9396 | 4750 | 7931 | 9637 | 9737 | 10077 | 6180 | 90188 |  | TOTAL |  | 63900.7 | 57030.55 | 70266.7 | 103672.84 | 80458.63 | 113839.48 | 47481.58 | 81382.82 | 112594.64 | 104092.73 | 91868 | 65390.85 | 991979.52
[16 empty] | Journal Entries Total: |  | 24537.7916 | 26864.2704 | 46802.983 | 71290.4355 | 55970.6773 | 77701.2792 | 32388.1945 | 58327.1292 | 86539.5779 | 67159.0859 | 61895.6567 | 20554.4145 | 630031.4958
READS: (Difference between master & NMU) |  | -668 | 731 | -115 | -1839 | 1422 | 21 | 1405 | -648 | -70 | 932 | -4137 | 2575 | -3258% |  | Storm Water: |  | 6010.1 | 5533.78 | 6015.48 | 5658.89 | 6010.1 | 6010.1 | 6004.73 | 6010.05 | 5518.99 | 6009.59 | 5644.63 | 5701.48 | 70127.92
NMU MASTER METER READ TOTAL FY13/14 |  | 3173 | 4041 | 7139 | 7353 | 8276 | 8132 | 5783 | 7327 | 9409 | 10789 | 6154 | 7526 | 85102
CITY MASTER TOTAL FY13/14 (Off Bill) |  | 3841 | 3310 | 7254 | 9192 | 6854 | 8111 | 4378 | 7975 | 9479 | 9857 | 10291 | 4951 | 85493 |  | Campus Building Total (Check figure w/ Master) |  | 35125.88 | 26373.88 | 67249.04 | 90474.44 | 74762.04 | 96090.08 | 44007.44 | 76679.16 | 97478.52 | 87829.6 | 87439.35 | 44447.91 | 827957.34
DIRECT BILLED TOTAL FY13/14 |  | 937 | 1123 | 776 | 1664 | 1415 | 1316 | 1335 | 1544 | 1155 | 973 | 1537 | 1213 | 14988 |  | CAMPUS MASTER BILL FY14/15 |  | 35125.88 | 26373.88 | 67249.04 | 90474.44 | 74762.04 | 96090.08 | 44007.44 | 76679.16 | 97478.52 | 87829.6 | 87439.35 | 44447.91 | 827957.34
|  | 4778 | 4433 | 8030 | 10856 | 8269 | 9427 | 5713 | 9519 | 10634 | 10830 | 11828 | 6164 | 100481 |  | DIRECT BILLS |  | 7538.37 | 9548.53 | 11798.09 | 10936.79 | 12765.96 | 10522.95 | 10975.11 | 13892.35 | 11836.35 | 11902.95 | 14182.3 | 12417.35 | 138317.1
[16 empty] | TOTAL |  | 42664.25 | 35922.41 | 79047.13 | 101411.23 | 87528 | 106613.03 | 54982.55 | 90571.51 | 109314.87 | 99732.55 | 101621.65 | 56865.26 | 966274.44
NMU MASTER TOTAL FY12/13 |  | 5700 | 7900 | 8900 | 11785 | 6857 | 8687 | 2059 | 7754 | 8783 | 8282 | 7463 | 6323 | 90493 |  | Journal Entries Total: |  | 14301.1165 | 12151.0916 | 47834.4503 | 72445.3782 | 57595.3819 | 70641.2833 | 29618.4417 | 64404.3723 | 78428.1095 | 69774.0376 | 63557.4646 | 31857.7256 | 612608.8532
CITY MASTER TOTAL FY12/13 (Off Bill) |  | 5599 | 2922 | 8900 | 7663 | 6464 | 8274 | 2805 | 6955 | 8991 | 9795 | 8272 | 6971 | 83611 |  | Storm Water: |  | 5622.64 | 6013.98 | 5617.63 | 6190.48 | 5522.61 | 5792.34 | 5522.61 | 5528.77 | 5518.99 | 5518.99 | 5256.84 | 5253.72 | 67359.6
DIRECT BILLED TOTAL FY12/13 |  | 741 | 733 | 1086 | 673 | 834 | 1164 | 603 | 839 | 749 | 1080 | 1361 | 1144 | 11007
|  | 6340 | 3655 | 9986 | 8336 | 7298 | 9438 | 3408 | 7794 | 9740 | 10875 | 9633 | 8115 | 94618 |  | Campus Building Total (Check figure w/ Master)
|  | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf | ccf |  |  | CAMPUS MASTER BILL FY13/14
FY15/16 |  | (06/15-07/15) | (05/15-06/15) | (04/15-05/15) | (03/15-04/15) | (02/15-03/15) | (01/15-02/15) | (12/15-01/15) | (11/15-12/15) | (10/15-11/15) | (9/15-10/15) | (8/15-9/15) | (7/15-8/15) |  |  | DIRECT BILLS
Chiller & Irrigation Meters: | [15 empty] | TOTAL
Berry Cooling Tower |  | 34 | 28 | 19 | 68 | 19 | 16 | 24 | 17 | 22 | 24 | 37 |  | 308 |  | Journal Entries Total:
Cohodas Cooling Tower |  | 142 | 116 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 317 |  | 668 |  | Storm Water:
Cohodas Irrigation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Hedgcock Cooling Tower |  | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 304 |  | 324 |  | Campus Building Total (Check figure w/ Master) |  | 53584.69 | 29740.98 | 63539.37 | 82776.46 | 70306.08 | 89605.96 | 31433.07 | 74626.69 | 97067.01 | 88982.04 | 82525.18 | 67186.14 | 831373.67
Jacobetti Cooling Tower |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  | CAMPUS MASTER BILL FY12/13 |  | 53584.69 | 29740.98 | 63539.37 | 82776.46 | 70306.08 | 89605.96 | 31433.07 | 74626.69 | 97067.01 | 88982.04 | 82525.18 | 67186.14 | 831373.67
Jamrich Hall Cooling Tower |  | 0 | 763 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 1450 |  | 2296 |  | DIRECT BILLS |  | 6183.08 | 5856.36 | 9596.68 | 5347.65 | 5894.31 | 7715.82 | 4820.94 | 6063.7 | 6062.47 | 8479.72 | 11159.33 | 9782.12 | 86962.18
Learning Resources Cooling Tower |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | TOTAL |  | 59767.77 | 35597.34 | 73136.05 | 88124.11 | 76200.39 | 97321.78 | 36254.01 | 80690.39 | 103129.48 | 97461.76 | 93684.51 | 76968.26 | 918335.85
New Science Facility Cooling Tower |  | 180 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 201 | 1222 |  | 1625 |  | Journal Entries Total: |  | 23689.1162 | 17207.8451 | 51170.0067 | 63517.9026 | 54212.5293 | 70646.335 | 20400.6261 | 59445.4395 | 75503.8635 | 66922.2858 | 55661.6586 | 38124.9202 | 596502.5285
T/FA Cooling Tower |  | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 63 | 0 | 0 | 138 |  | Storm Water: | [13 empty] | 0
Services Building Irrigation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
University Center Irrigation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 252 | 0 |  | 252 |  | CAMPUS MASTER BILL FY11/12 |  | 43973.05 | 51111.27 | 82160.65 | 92889.99 | 65812.83 | 84096.24 | 35796.63 | 82163.77 | 96962.82 | 83343.45 | 106978.65 | 50265.88 | 875555.23
University Center Cooling Tower |  | 0 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 |  | 265 |  | DIRECT BILLS |  | 8208.84 | 7036.32 | 5340 | 5026.46 | 6105.01 | 7539 | 7031.68 | 6444.18 | 6757.29 | 11358.66 | 35085.67 | 11620.86 | 117553.97
|  | 376 | 1081 | 151 | 68 | 19 | 16 | 24 | 17 | 35 | 661 | 3430 | 0 | 5878 |  | TOTAL |  | 52181.89 | 58147.59 | 87500.65 | 97916.45 | 71917.84 | 91635.24 | 42828.31 | 88607.95 | 103720.11 | 94702.11 | 142064.32 | 61886.74 | 993109.2
(+) Hose Bib Credit for Summer |  | 0 | 0 | 0 | 0 | 0
|  | 376 | 1081 | 151 | 68 | 19 | 16 | 24 | 17 | 35 | 661 | 3430 | 0
Building Secondary Total |  | 3413 | 2493 | 4574 | 4672 | 4625 | 6261 | 4824 | 4352 | 7576 | 7397 | 8198 | 6065 | 64450