## Introduction
V47
Psi from THERM blank calculation sheet
This collection of sheets has been designed to perform the necessary calculation
to transform THERM model outputs to Psi value for thermal bridges in buildings
It is offered free but with obvious caveats as to its use
- no claims are made for its accuracy or correctness
The first sheets are designed to record the details of the construction (sketches)
this needs to be enough information to enable the calculation to be repeated :
all dimensions
all conductivities
all surface resistances
position of measurement planes ( v imp for external dims)
The following sheets are designed for the following particular situations:
| GROUND | PARTY | PARTITION
[5 empty] | AMBIENT | any junction not involving ground or neighbours (party). Used for junction of two different thermal elements
| 1 |  |  |  | GROUND FLOOR - WALL | wall to ground joints, unventilated floors
| 1 |  |  |  | SUSPENDED FLOOR - WALL | wall to ground joints, ventilated floors
| 1 |  | 1 |  | PARTITION - GROUND FLOOR | for floor insulation penetrations - counts both sides in psi
|  |  | 1 |  | PARTITION - AMBIENT | for wall or roof insulation penetrations - counts both sides in psi
| 1 | 1 | 1 |  | PARTY WALL - GFLOOR PH METHOD | Party walls to ground floor - same U and temperatures each side - counts both sides for psi
|  | 1 |  |  | PARTY-AMBIENT EQUAL | Party wall or floor to ambient - same U values and Temps each side - counts both sides for psi
|  | 1 |  |  | PARTY-AMBIENT UNEQUAL | Party wall or floor to ambient - different U values or Temperatures each side - counts only one side for psi
[5 empty] | WINDOW INSTALLATION | window to wall, simplified case when you know window Uf and dims
[5 empty] | ALICLAD WINDOW INST. | Ali clad timber window to wall, simplified case when you know window Uf and dims
| 1 |  |  | THRESHOLD GROUND BEARING |  | Door threshold where the slab is ground bearing
| 1 |  |  | THRESHOLD SUSPENDED FLOOR |  | Door threshold for a suspended ground floor
Each has space for a THERM view of the elements, construction, isotherm & flux
Use Print Screen to grab the image, and crop/reduce in size to fit in the relevant box on the results sheet
We also suggest you paste in a picture of the finished component layout (no calc displayed)
including red lines for internal reference planes, blue lines for external reference planes
The Therm report function is pasted into the columns to the right,
one column for each component U value, and one for the L2D results.
Note:where U-factor name cells are coloured RED after information is pasted in you will need to enter a different row number in the relevant column K cell.
We run training courses using THERM to calculate thermal models
contact Ingrid.
Any errors you spot - please let us know! office@peterwarm.co.uk
version history
24 | clarification added to window installation case
25 | Formula changed to work with open office
26 | Layout changed to include elements
27 | All party walls now to be analysed both sides to cope with asymmetric constructions
All outputs now reported to 2 decimal places, but result to 3 visible
Isotherm scale added to all bases
28 | Added suspended floor check that Internal L2D is being used.
Added Flux scale to each sheet
29 | correct internal conditional formatting in susp floor ( see 28)
correct wall /void height definition
30 | corrected formula in ground and party ground sheet P27 replace 0.427 with 0.457 (thanks Andrew Lundeberg)
31 | Window installation N35 IF command added
34 | Corrected Ground Party Wall unequal (cells O53,61), added Wall Party wall unequal
35 | Renamed most sheets and added different sheets for party and partition use
36 | Updated WARM company address and provided space for end-user company address/logo
37 | added ali clad window, defined ground width of 4m internally
38 | corrected/simplified unequal party wall/ground
39 | PHI Method Party Wall/ground
40 | Logo removed from 'modelled by' and email updated
V41 | Correct cells J37 and J45 on GroundFloor - Wall
V42 | Updated version number and linked to each page
V43 | Threshold tabs added, out of data party wall tabs removed and instructions updated. Some illustrations updated.
V44 | Add to Pete's comment to cell O36 in Suspended Floor - Wall, to clarify what formula is being followed (someone queried it, so recording in case it comes up again!)
V44 | Suspended threshold tab updated- unneccessary door L2D row removed from top section
V45 | ?????????????
V46 | Threshold Suspended Floor sheet: update WARM address. Correct cell L29. Correct cell J15. Delete column V.
V47 | Make sheets blank, generally tidy up.
future
add un heated basement to floor void temp calc
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on B23: Pete Warm: Any Thermal Bridge involving the ground as part of heat loss
Note on C23: Pete Warm: Any Thermal bridge involving a party (neighbours) wall, roof or floor in the heat loss. Can be either same construcion and temperatures; (EQUAL), or if neighbours house is less insulated or run at a lower temperature (UNEQUAL)
Note on D23: Pete Warm: Any Thermal Bridge that is a break in the thermal envelope of a single insulation layer

## Sketch (Element 1)
V47
Garage Floor to family room floor
| NON STANDARD VALUES |  | derivation | Value | Library code
ext Rse
A
B
int Rsi
Name
TW1

## Sketch (Junction)
Sketch (Junction)
V47
| NON STANDARD VALUES |  | derivation | Value | Library code
ext Rse
A
int Rsi
Name
TW1

## Ambient Junction
| Calculation sheet provided by | Calculation carried out by
V47 |  | Ambient Junction
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Ambient Junction |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 |  |  | #VALUE! | #VALUE!
|  | T | 16 |  |  | #VALUE! | #VALUE!
|  | U | 16 | L2D |  | #VALUE! | #VALUE! | #VALUE!
U-value calculation for data row
Check surface resistances correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
U-value calculation for data row
Check surface resistance correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
| Isotherms |  | Length times U-value: |  |  | none | 0
| (Lines of constant temp) |  | Length times U-value: |  |  | none | 0
#VALUE!
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
|  |  | Length times U-value: |  |  | none | 0
|  |  | Length times U-value: |  |  | none | 0
#VALUE!
[5 empty] | Psi external | #VALUE! |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
| Junction (inc reference planes) | Elements
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk

## GroundFloor - Wall
| Calculation sheet provided by | Calculation carried out by
V47 |  | GroundFloor - Wall
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | GroundFloor - Wall |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | Wall |  | #VALUE! | #VALUE!
|  | T | 16 | Floor Cassette |  | #VALUE! | #VALUE!
|  | U | 16 | L2D |  | #VALUE! | #VALUE! | #VALUE!
|  | U-value calculation for data row |  |  | Wall
Check surface resistances correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | U-value calculation for data row |  |  | Floor Cassette
Check surface resistance correct ( zero under)
Checl total length correct
[7 empty] | Floor cassette modelling U-value ( W/m2K) | none
GROUND BEARING ground floor calculation using ISO 13770, check values below
|  |  | Areas m2 | 4 | m2 | Perimeter | 1 | m
|  |  | Wall thick | 0 | m | Ground k | 2 | W/m2K
|  |  | dg | #VALUE! |  | B' | 8
| Isotherms | [5 empty] | Floor modelling U-value ( W/m2K) | #VALUE!
(Lines of constant temp)
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
|  | Wall | Length times U-value: |  |  | none | 0
|  | Floor | Length times U-value: |  |  | #VALUE! | 0
#VALUE!
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
|  | Wall | Length times U-value: |  |  | none | 0
|  | Floor | Length times U-value: |  |  | #VALUE! | 0
#VALUE!
[5 empty] | Psi external | #VALUE! |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
| Junction (inc reference planes) | Elements
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on K29: pete: default 4 m2 for perimeter 1m, measured INTERNALLY, yeilds charactaristic width of 8m
Note on K30: pete: default 0 for PH external measurements
Note on K31: pete: Total equivalent thickness of ground
Note on N31: pete: Characteristic dimension of floor
Note on O31: pete: standard is 8m, ie floor width of 4m to middle of model

## Suspended Floor - Wall
| Calculation sheet provided by | Calculation carried out by
V47 |  | Suspended Floor - Wall
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Suspended Floor - Wall |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | Wall |  | #VALUE! | #VALUE!
|  | T | 16 | Floor Cassette |  | #VALUE! | #VALUE!
|  | U | 16 | L2D |  | #VALUE! | #VALUE! | #VALUE!
|  | U-value calculation for data row |  |  | Wall
Check surface resistances correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | U-value calculation for data row |  |  | Floor Cassette
Check surface resistance correct ( zero under)
Checl total length correct
[7 empty] | Floor cassette modelling U-value ( W/m2K) | none
VENTED ground floor calculation using ISO 13770, check values below
|  |  | Ventilation opening | 0.0015 |  | Windspeed | 5
|  |  | Wind shielding | 0.05 |  | Ground k | 2 | W/m2K
|  |  | Areas m2 | 4 | m2 | Perimeter | 1 | m
| Isotherms |  | Wall thick | 0 | m | Rgins | 0
| (Lines of constant temp) |  | Void height above ground | 0.3 | m | Uwall | 2
|  |  | dg | 0.42 |  | B' | 8
|  |  | Ug | 0.6431 |  | Vcpro | 0.27214
[7 empty] | Floor void temperature (20/0) C | #VALUE!
[7 empty] | Floor modelling U-value ( W/m2K) | #VALUE!
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
|  | Wall | Length times U-value: |  |  | none | 0
|  | Floor | Length times U-value: |  |  | #VALUE! | 0
#VALUE!
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
|  | Wall | Length times U-value: |  |  | none | 0
|  | Floor | Length times U-value: |  |  | #VALUE! | 0
#VALUE!
[5 empty] | Psi external | #VALUE! |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
| Junction (inc reference planes) | Elements
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on K29: pete: area of opening per perim length, m/m2
Note on N29: pete: design wind speed at 10m in m/s
Note on K30: pete: city centre 0.02 avg 0.05 exposed 0.1
Note on K31: pete: default 4 m2 for perimeter 1m, measured INTERNALLY, yeilds charactaristic width of 8m
Note on K32: pete: default 0 for PH external measurements
Note on N32: pete: Resistance of any insulation below void - normally zero
Note on K33: pete: measure from internal floor height to ground level
Note on K34: pete: Total equivalent thickness of ground
Note on N34: pete: Characteristic dimension of floor
Note on O34: pete: standard is 8m, ie floor width of 4m to middle of model
Note on K35: pete: Thermal transmittance for heat flow through the ground
Note on N35: pete: Specific loss from ventilation
Note on O36: pete: with internal at 20C and external 0C Liam: formula E.1 from Annex E, rearranged with Theta(e) = Theta(v) as per section E.3, "Natural ventilation".

## Partition - Ambient
| Calculation sheet provided by | Calculation carried out by
V47 |  | Partition - Ambient
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Partition - Ambient |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 |  |  | #VALUE! | #VALUE!
|  | T | 16 | L2D |  | #VALUE! | #VALUE! | #VALUE!
U-value calculation for data row
Check surface resistances correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
|  |  | Length times U-value: |  |  | none | 0
#VALUE!
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
| Isotherms |  | Length times U-value: |  |  | none | 0
| (Lines of constant temp) | [5 empty] | #VALUE!
[5 empty] | Psi external | #VALUE! |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
Note: Psi-value is for both sides of partition
Internal equals external measurement, both includes partition thickness
Elements
Junction (inc reference planes)
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
Internal
Internal
External
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on M25: Pete Warm: include partiton thickness
Note on M32: Pete Warm: include partition thickness

## Party Wall to GFloor PH Method
| Calculation sheet provided by | Calculation carried out by
V47 |  | PartyWall to GFloor Equal
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Party Wall to GFloor PH Method |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | L2D Floor |  | #VALUE! | #VALUE! | #VALUE!
|  | T | 16 | L2D Party wall |  | #VALUE! | #VALUE! | #VALUE!
|  | Psi calculation |  |  |  |  | Heat flow | Psi-value
[7 empty] | W/mK | W/mK
|  | L2D Party wall |  |  |  |  | #VALUE!
|  | L2D Floor |  |  |  |  | #VALUE!
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  |  |  |  | Heat flow | Psi-value
[7 empty] | W/mK | W/mK
|  | L2D Party wall |  |  |  |  | #VALUE!
|  | L2D Floor |  |  |  |  | #VALUE!
[5 empty] | Psi External PHPP(Grp17) | #VALUE! |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
Isotherms
(Lines of constant temp)
Notes: 20 m ground as with perimeter modelling. First model is slab and perimeter, second model includes the party wall. The difference in the L2Ds is the Psi-value. This may not be suitable for SAP assessments as a 3D model is required. For further information please see notes on the right of this tab (not printed when converted into PDF).
Junction (inc reference planes)
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on M19: pete: length to internal surface of wall
Note on M26: pete: length to internal surface of wall

## Party-Ambient EQUAL
| Calculation sheet provided by | Calculation carried out by
V47 |  | Party-Ambient EQUAL
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Party-Ambient EQUAL |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | Wall |  | #VALUE! | #VALUE!
|  | T | 16 | L2D |  | #VALUE! | #VALUE! | #VALUE!
|  | U-value calculation for data row |  |  | Wall
Check surface resistance correct ( zero under)
Check total length correct
[7 empty] | Wall modelling U-value (W/m2K) | none
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
|  | Wall | Length times U-value: |  |  | none | 0
#VALUE!
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D |  |  |  |  | #VALUE!
| Isotherms | Wall | Length times U-value: |  |  | none | 0
| (Lines of constant temp) | [5 empty] | #VALUE!
[5 empty] | Psi external | #VALUE! |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
Note: Psi-value is for both sides. Halve for single side, eg one dwelling.
For Intermed. Floor, internal measurement includes floor thickness
For Party Floor, internal measure excludes party floor thickness
Assign "internal" to only one side, "Party" (neighbour) to other
Note: Psi-value is for one side. Double for both sides, eg party wall in mid-terrace block.
Internal measure excludes party wall thickness
External measurement is to centre of wall
Both sides assumed SAME temperature, ie 20 C
| Junction (inc reference planes) | Elements
Vertical Section for Party floor to wall,
Rotate for Party wall to roof
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
Party ( Neighbour)
Internal
External
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on M25: pete: length to internal surface of floor/ceiling
Note on M32: pete: length to cente of party floor

## Party-Ambient UNEQUAL
| Calculation sheet provided by | Calculation carried out by
V47 |  | Party-Ambient UNEQUAL
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Party-Ambient UNEQUAL |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | Party wall |  | #VALUE! | #VALUE!
|  | T | 16 | 1st wall |  | #VALUE! | #VALUE!
|  | U | 16 | 2nd wall |  | #VALUE! | #VALUE!
|  | V | 16 | L2D |  | #VALUE! | #VALUE! | #VALUE!
|  | U-value calculation for data row |  |  | Party wall
Check surface resistances correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | U-value calculation for data row |  |  | 1st wall
Check surface resistances correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | U-value calculation for data row |  |  | 2nd wall
| Isotherms |  | Check surface resistances correct
| (Lines of constant temp) |  | Checl total length correct
|  | Informative only |  |  |  |  | Modelling U-value (W/m2K) | none
|  | Temperatures and Ft factors |  |  |  |  | Ft
|  |  | Building of interest | 20 | C | Party wall | 0.15
|  |  | Neighbours | 17 | C
|  |  | External | 0 | C
|  | Psi calculation |  | Length | Ft | U-value/L2D1 | Heat flow | Psi-value
|  |  |  | mm |  | W/m2K | W/mK | W/mK
|  | L2D |  |  | 1 |  | #VALUE!
|  | 1st wall |  |  | 1 | none | 0
|  | Party wall |  |  | 0.15 | none | 0
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  | Length | Ft | U-value/L2D1 | Heat flow | Psi-value
|  |  |  | mm |  | W/m2K | W/mK | W/mK
|  | L2D |  |  | 1 |  | #VALUE!
|  | 1st wall |  |  | 1 | none | 0
|  | Party wall |  |  | 0.15 | none | 0
[5 empty] | Psi external | #VALUE! |  | W/mK
Junction (inc reference planes)
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
Note: Psi-value is for single side, eg one dwelling, typically warmest
Party wall only, internal Psi excludes party wall thickness
External Psi is to middle of party element
Side one 20C
Neighbours set at different temperature, typically 17C if not insulated
Heat Loss is calculated as follows:
Model each wall cassette, obtain U values, assumed different
Model party element - obtain U-value
L2D with temps 20, 17 and external 0C temperature.
Ensure only heat from heated house is counted
Psi value is L2D heat from one building,
less wall U times A's
less party element U times A times Ftground
Internal is corrected for Ft
External PHPP does not - entering as Group 17 does this automatically in PHPP
Elements
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
Party ( Neighbour) 17C
Internal 20C
External 0C 0.04 m2K/W
U factor names
0.1 m2K/W
0.17 m2K/W
0.13 m2K/W
0.13 m2K/W
Arrows indicate measurements
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on L44: pete: length to internal surface of floor
Note on L45: pete: length to internal surface of wall
Note on L52: pete: length to internal surface of floor
Note on L53: pete: length to internal surface of wall

## AliTmbWindow Installation
| Calculation sheet provided by | Calculation carried out by
V47 |  | Window Installation
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | AliTmbWindow Installation |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | Wall |  | #VALUE! | #VALUE!
|  | T | 16 | Wall+Frame |  | #VALUE! | #VALUE! | #VALUE!
|  | U-value calculation for data row |  |  | Wall
|  |  | Check surface resistances correct |  |  |  | y
|  |  | Check total length correct |  |  |  | y
[7 empty] | Modelling U-value (W/m2K) | #VALUE!
|  | Data for window frame |  |  | Dimension | U-value | Conductivity
[5 empty] | mm | W/m2K | W/mK
Frame width w
Overall thickness t
|  |  |  | Aluminium cladding thickness | 3
Uf
Homogenous frame (apart from alu clad)?
|  |  | External surface resistance |  |  | 0.04
|  |  | Internal surface resistance |  |  | 0.13
[6 empty] | Thick mm | k W/mK
| Isotherms |  |  |  | Aluminium | 3 | 160
| (Lines of constant temp) |  |  |  | Frame | -3 | #N/A
Psi window installation according to Passivhaus
[5 empty] | Length | U-value | Heat flow
[5 empty] | mm | W/m2K | W/mK
|  | Wall and frame |  |  |  |  | #VALUE!
|  | Wall |  |  |  | #VALUE! | 0
|  | Simplified frame |  |  | 0 | 0 | 0
#VALUE!
[5 empty] | Installation Psi | #N/A |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
Junction (inc reference planes)
Elements
thickness
width
Jamb, lintel or cill section - each may be different
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on L24: pete: glazing (sight) line to wall junction as per PHPP see sketch below
Note on M24: pete: default 100mm
Note on L25: pete: of window frame see sketch below
Note on M25: pete: default 100mm
Note on N27: pete: from window manufacturer
Note on N28: pete: cannot simply calculate conductivty if aluminium clad window
Note on N29: pete: standard values
Note on N30: pete: standard values

## Window Installation
| Calculation sheet provided by | Calculation carried out by
V47 |  | Window Installation
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Window Installation |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | Wall |  | #VALUE! | #VALUE!
|  | T | 16 | Wall+Frame |  | #VALUE! | #VALUE! | #VALUE!
|  | U-value calculation for data row |  |  | Wall
Check surface resistances correct
Check total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | Data for window frame |  |  | Dimension | U-value | Conductivity
[5 empty] | mm | W/m2K | W/mK
Frame width w
Thickness t
Uf
Homogenous frame?
|  |  | External surface resistance |  |  | 0.04
|  |  | Internal surface resistance |  |  | 0.13
[5 empty] | Frame conductivity | #N/A | W/mK
Isotherms
| (Lines of constant temp) | Psi window installation according to Passivhaus
[5 empty] | Length | U-value | Heat flow
[5 empty] | mm | W/m2K | W/mK
|  | Wall and frame |  |  |  |  | #VALUE!
|  | Wall |  |  |  | none | 0
|  | Simplified frame |  |  | 0 | 0 | 0
#VALUE!
[5 empty] | Installation Psi | #N/A |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
| Junction (inc reference planes) | Elements
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on L24: pete: glazing (sight) line to wall junction as per PHPP see sketch below
Note on M24: pete: default 100mm
Note on L25: pete: of window frame see sketch below
Note on M25: pete: default 100mm
Note on N26: pete: from window manufacturer
Note on N27: pete: cannot simply calculate conductivty if aluminium clad window
Note on N28: pete: standard values
Note on N29: pete: standard values

## Threshold Ground Bearing
| Calculation sheet provided by | Calculation carried out by
V47
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Threshold Ground Bearing |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | Wall |  | #VALUE! | #VALUE!
|  | T | 16 | Floor |  | #VALUE! | #VALUE!
|  | U | 16 | L2D All |  | #VALUE! | #VALUE! | #VALUE!
|  | U-value calculation for data row |  |  | Wall
Check surface resistances correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | U-value calculation for data row |  |  | Floor
Check surface resistance correct ( zero under)
Checl total length correct
[7 empty] | Floor cassette modelling U-value ( W/m2K) | none
GROUND BEARING ground floor calculation using ISO 13770, check values below
|  | See Sketch | Area m2 | 4 | m2 | Perimeter | 1 | m | t
|  | See Sketch | Wall thick | 0 | m | Ground k | 2 | W/m2K
|  |  | dg | #VALUE! |  | B' | 8
| Isotherms | [5 empty] | Floor modelling U-value ( W/m2K) | #VALUE!
(Lines of constant temp)
|  | Simplified window/door frame data |  |  | Dimension | U-value | Conductivity
[5 empty] | mm | W/m2K | W/mK
Frame width w
Thickness t
Uf
Homogenous frame?
|  |  | External surface resistance |  |  | 0.04
|  |  | Internal surface resistance |  |  | 0.13
[5 empty] | Frame conductivity | #N/A | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D All |  |  |  |  | #VALUE!
|  | Window/door U-value |  |  | 0 | 0 | 0
|  | Floor | Length times U-value: |  |  | #VALUE! | 0
#VALUE!
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D All |  |  |  |  | #VALUE!
|  | Window/Door U-value |  |  | 0 | 0 | 0
| Junction (inc reference planes) | Wall | Height times U-value: |  |  | none | 0
|  | Floor | Length times U-value: |  |  | #VALUE! | 0
#VALUE!
[5 empty] | Psi external | #VALUE! |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
Note on K29: pete: default 4 m2 for perimeter 1m
Note on K30: pete: default 0 for PH external measurements
Note on K31: pete: Total equivalent thickness of ground
Note on N31: pete: Characteristic dimension of floor
Note on O31: pete: standard is 8m, ie floor width of 4m to middle of model
Note on L36: pete: glazing (sight) line to wall junction as per PHPP see sketch below
Note on M36: pete: default 100mm
Note on L37: pete: of window frame see sketch below
Note on M37: pete: default 100mm
Note on N38: pete: from window manufacturer
Note on N39: pete: cannot simply calculate conductivty if aluminium clad window
Note on N40: pete: standard values
Note on N41: pete: standard values
Note on K57: Karl Parsons: see sketch

## Threshold Suspended Floor
| Calculation sheet provided by | Calculation carried out by
V47
| Heat Flux | Software: | Therm 6.3 |  |  | Date:
| (Heatflow through materials) | Job Name: |  |  |  | Job No:
|  | Tab name: | Threshold Suspended Floor |  |  | Completed by:
|  | Descrip: |  |  |  | Checked by:
|  | Data column | Row | Name | U-factor name | Length mm | U-factor | L2D W/Km
|  | S | 16 | Wall |  | #VALUE! | #VALUE!
|  | T | 16 | Floor Cassette |  | #VALUE! | #VALUE!
|  | U | 16 | L2D All |  | #VALUE! | #VALUE! | #VALUE!
|  | U-value calculation for data row |  |  | Wall
Check surface resistances correct
Checl total length correct
[7 empty] | Modelling U-value (W/m2K) | none
|  | U-value calculation for data row |  |  | Floor Cassette
Check surface resistance correct ( zero under)
Checl total length correct
[7 empty] | Floor cassette modelling U-value ( W/m2K) | none
VENTED ground floor calculation using ISO 13770, check values below
|  |  | Ventilation opening | 0.0015 |  | Windspeed | 5
|  |  | Wind shielding | 0.05 |  | Ground k | 2 | W/m2K
| Isotherms | See Sketch | Area m2 | 4 | m2 | Perimeter | 1 | m
| (Lines of constant temp) | See Sketch | Wall thick | 0 | m | Rgins | 0
|  |  | Void height above ground | 0 | m | Uwall | 0
|  |  | dg | 0.42 |  | B' | 8
|  |  | Ug | 0.6431 |  | Vcpro | 0.27214
[7 empty] | Floor void temperature (20/0) C | #VALUE!
[7 empty] | Floor modelling U-value ( W/m2K) | #VALUE!
|  | Simplified window/door frame data |  |  | Dimension | U-value | Conductivity
[5 empty] | mm | W/m2K | W/mK
Frame width w
Thickness t
Uf
Homogenous frame?
|  |  | External surface resistance |  |  | 0.04
|  |  | Internal surface resistance |  |  | 0.13
[5 empty] | Frame conductivity | #N/A | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D All |  |  |  |  | #VALUE!
|  | Window/door U-value |  |  | 0 | 0 | 0
|  | Floor | Length times U-value: |  |  | #VALUE! | 0
#VALUE!
[5 empty] | Psi internal | #VALUE! |  | W/mK
|  | Psi calculation |  |  | Length | U-value/L2D1 | Heat flow | Psi-value
[5 empty] | mm | W/m2K | W/mK | W/mK
|  | L2D All |  |  |  |  | #VALUE!
| Junction (inc reference planes) | Window/door U-value |  |  | 0 | 0 | 0
|  | Wall | Height times U-value: |  |  | none | 0
|  | Floor | Length times U-value: |  |  | #VALUE! | 0
#VALUE!
[5 empty] | Psi external | #VALUE! |  | W/mK
|  | Error in calculation: |  |  |  | From Therm report - worst cell |  | %
Cold Outside (0°C)
Warm Inside (20°C)
Black = no heat flow
White = high heat flow
1WARM: Low Energy Building Practice
3 Admirals Hard, Plymouth PL1 3RJ - 01752 542 546 - www.peterwarm.co.uk
Note on K29: pete: area of opening per perim length, m/m2
Note on N29: pete: design wind speed at 10m in m/s
Note on K30: pete: city centre 0.02 avg 0.05 exposed 0.1
Note on K31: pete: default 4 m2 for perimeter 1m
Note on K32: pete: default 0 for PH external measurements
Note on N32: pete: Resistance of any insulation below void - normally zero
Note on K33: pete: measure from internal floor height to ground level
Note on K34: pete: Total equivalent thickness of ground
Note on N34: pete: Characteristic dimension of floor
Note on O34: pete: standard is 8m, ie floor width of 4m to middle of model
Note on K35: pete: Thermal transmittance for heat flow through the ground
Note on N35: pete: Specific loss from ventilation
Note on O36: pete: with internal at 20C and external 0C Liam: formula E.1 from Annex E, rearranged with Theta(e) = Theta(v) as per section E.3, "Natural ventilation".
Note on L41: pete: glazing (sight) line to wall junction as per PHPP see sketch below
Note on M41: pete: default 100mm
Note on L42: pete: of window frame see sketch below
Note on M42: pete: default 100mm
Note on N43: pete: from window manufacturer
Note on N44: pete: cannot simply calculate conductivty if aluminium clad window
Note on N45: pete: standard values
Note on N46: pete: standard values
Note on K62: Karl Parsons: see sketch